INTER-UNIVERSITY CENTRE FOR

ASTRONOMY AND ASTROPHYSICS

T E N D E R

FOR

SUPPLY, INSTALLATION AND COMMISSIONING OF HYDRO PNEUMATIC SYSTEM FOR DOMESTIC AND DRINKING WATER

AT IUCAA CAMPUS, GANESHKHIND,

PUNE 411 007, INDIA.

Technical Bid – Part- A

TENDER FOR SUPPLY, INSTALLATION AND COMMISSIONING OF HYDRO PNEUMATIC SYSTEM FOR DOMESTIC AND DRINKING WATER

THE INTER UNIVERSITY CENTER FOR ASTRONOMY & ASTROPHYSICS (IUCAA)

POST BAG 4, GANESHKHIND, PUNE UNIVERSITY CAMPUS,

PUNE 411 007, INDIA

Name of Work: 				        	       Hydro Pneumatic System – AT IUCAA

A.	Name of Vendor / Firm / Company		____________________________

____________________________

Postal Address					____________________________

____________________________

Telephone Nos.				____________________________

Telex / Fax					____________________________

Email ID					____________________________

Signature & seal of bidder

| Technical Bid Form |
| --- |
| TENDER FOR SUPPLY, INSTALLATION AND COMMISSIONING OF HYDRO PNEUMATIC SYSTEM FOR DOMESTIC AND DRINKING WATER |
| Client : Inter University Centre for Astronomy & Astrophysics, Pune |
| 1 | Bidder’s Name & Address (Company Name) |  |
| 2 | Minimum 5 years experience in the same field for supply, installation and commissioning |  |
| 3 | Authorised Dealership Certificate from Manufacturer (Attach Copy) |  |
| 4 | Nature of Business & Establishment Year |  |
| 5 | Telephone Nos. |  |
|  | Mobile No. : |  |
|  | Fax Nos. : |  |
|  | E-mail : |  |
| 6 | Contact Person |  |
|  | Name : |  |
|  | Designation : |  |
|  | Mobile No : |  |
|  | E-mail : |  |
| 7 | Organizational Capability (staff strength) | Name Qualification Experience |
|  | Project Managers : |  |
|  | Supervisors : |  |
|  | Safety Engineers : |  |
|  | Quality Engineers : Technicians : |  |
| 8 | Proposed Team for this Project |  |
| i | Project Managers : |  |
| ii | Supervisors : |  |
| iii | Safety Engineers : |  |
| iv | Quantity Surveyors / Billing Engineer : |  |
| v | Quality Engineers : |  |
| 9 | (Provide similar details of all sub-contractors proposed to be used on project) |  |
| 10 | Financial Capacity over last 3 years (Turnover & Profit) |  |
|  | Financial year 2009-10 |  |
|  | Financial year 2010-11 |  |
|  | Financial year 2011-12 |  |
| 11 | Provide following details of three major/best jobs completed above Rs.35 Lakhs value in last Two year (You may be required to arrange for inspections of at least two such projects) |  |
| a. | Name of the project : |  |
|  | Consultant : |  |
|  | Completion year : |  |
|  | Value : |  |
|  | Scope of Work : |  |
|  | Project proposed for inspection : |  |
|  | Client contact details (Name with tele / fax and e-mail). |  |
| b. | Name of the project : |  |
|  | Consultant. : |  |
|  | Completion year : |  |
|  | Value : |  |
|  | Scope of Work : |  |
|  | Project proposed for inspection : |  |
|  | Client contact details (Name with tele / fax and e-mail). |  |
| c. | Name of the project : |  |
|  | Consultant. : |  |
|  | Completion year : |  |
|  | Value : |  |
|  | Scope of Work : |  |
|  | Project proposed for inspection : |  |
|  | Client contact details (Name with tele / fax and e-mail). |  |
| 12 | Work in hand (provide details in following format - Attach additional sheets if required) |  |
|  | Name of the project |  |
|  | Consultant |  |
|  | %age completed/status |  |
|  | Completion time |  |
|  | Value. |  |
|  | Name of the project |  |
|  | Consultant |  |
|  | %age completed/status |  |
|  | Completion time |  |
|  | Value. |  |
| 13 | Infrastructure/ Equipment/ Machinery details: |  |
| 14 | Insurance Cover : |  |
|  | Provide details of cover availed. |  |
| 15 | PF/ESI Details : |  |
|  | Reg. No. PF |  |
|  | Reg. No. ESI |  |
|  | Reg. No. Service Tax |  |
|  | Reg. No. VAT |  |
|  | Reg No. CST |  |
|  | Reg No of Profession Tax Certificate |  |
| 16 | PAN Details : |  |
|  | PAN No. |  |
|  | Photocopy of PAN |  |
|  | Latest Income tax clearance certificate |  |
| 17 | Quality Assurance |  |
|  | Provide details of methodology adopted. |  |
| 18 | A brief enlistment of Consultants with whom your organization has worked |  |
| 19 | Infrastructure facilities required from IUCAA |  |
|  | for installation and commissioning |  |
| 20 | Solvency certificate from Nationalised / Scheduled Bank for minimum worth Rs.30 Lakhs ( Issued after January 2012 ) |  |
| 21 | List any arbitration cases/ legal disputes on Current/ previous projects - Mention name of project, reason for dispute, party filing the suit and current status) |  |
| 22 | Accreditation to quality control and quality |  |
|  | management (please attach certificate) |  |
| 23 | List any awards, recognitions on previously executed projects |  |
| 24 | Any other documentation relevant to Pre-qualification (Contractors can modify the tables to create additional space for information if required) |  |
| 25 | Address of Service Center at Pune |  |
|  | (Please specify whether marketing/ |  |
|  | / distributing / servicing the products) |  |
| 26 | Response time from office after |  |
|  | launching a complaint |  |
| 27 | Response time for required spare parts from service centre / office after launching a complaint |  |
| 28 | Attach list of customers supported |  |
|  | from Pune office / outside pune |  |
| 29 | Make and Model Name/No. of Pumps & system |  |
|  | Technical specifications / literature / brochure to be attached |  |
| 30 | Total work completion period after LOI/WO |  |
| 31 | Prepared and Submitted by (Name & Signature) |  |
| Notes - 1) The Inter University Centre for Astronomy & Astrophysics, Pune reserves the right to accept or reject any or all applications without assigning any reasons. 2) The offers from reputed agencies/contractor only will be considered. 3) Every statement made in the above format should be supported by documentary proof for consideration. Otherwise the tender is liable to be rejected. Please support Work in hand and completed work information with copy of the Purchase/ Work order from the client. |

REF:  IUCAA /AO(P) /MRF-M12-0595DT.25.10.12                          DATE:   31/10/2012

TO: M/s …………………………………………

……………………………………………………

……………………………………………………

SUB    :  Invitation to tender for supply, installation and commissioning of Hydro- pneumatic system for domestic and drinking water at IUCAA Campus, Ganeshkhind, Pune : 411 007, India.

SIR,

We invite you to tender lump sum Quotations for carrying out the Installation and Commissioning of Hydro Pneumatic System for Domestic And Drinking Water at IUCAA Campus, Ganeshkhind, Pune: 411 007. The work is proposed to commence by five days from the date of issue of LOI/WO.

The mechanical and electrical components of the Hydro Pneumatic System shall be strictly as per the specifications and contractor shall be responsible for the proper functioning of the system as per design and layout.

Tenders are to be returned on or before 1500 hrs 23rd November 2012, with EMD of Nationalised bank by Demand Draft as specified within the Tender Document,

TO:

The Administrative officer (Purchase)

IUCAA, Pune University campus,

Post Bag-4, Ganeshkhind,

PUNE – 411 007.

Salient features of the Tender are attached herewith for advance information.

Thanking You,

Yours sincerely,

Administrative Officer (Purchase)

Encl: Appendix to form of  the Tender

INDEX

| SR. NO. | CONTENTS | PAGE NO. |
| --- | --- | --- |
| 01. | Cover Sheet | 0 |
| 02. | Technical Bid Form | 2-9 |
| 03. | Index | 10 |
| 04. | Copy of Tender Advertisement | 11 |
| 05. | Tender Information | 12 |
| 06. | NIT | 13-14 |
| 07. | Appendix to Form of Tenders | 15-16 |
| 08. | General Conditions of Contract | 17-50 |
| 09. | Technical Specifications | 51-77 |
| 10. | List of Approved Makes | 78 |
| 11. | Articles of Agreement | 79-80 |
| 13. | Financial Bid Cover Page |  |
| 14. | Summary of Cost |  |
| 15. | Bill of Quantities |  |

## Copy of News paper Advertisement

NOTICE INVITING TENDER

Inter-University Centre for Astronomy and Astrophysics

Post Bag – 4,  Ganeshkhind ,  Pune – 411 007, Phone - 25604100, Fax - 25604699

NOTICE INVITING TENDER (NIT)

Sealed tenders are invited under two bid system from eligible bidders for “SUPPLY, INSTALLATION AND COMMISSIONING OF HYDRO PNEUMATIC SYSTEM FOR DOMESTIC AND DRINKING WATER” The tender document and all details can be viewed and downloaded from 31/10/2012 to 02/11/2012 from our website www.iucaa.ernet.in/tenders

Administrative Officer (Purchase)

TENDER  INFORMATION

Inter-University Centre for Astronomy and Astrophysics (IUCAA), Post Bag 4, Ganeshkhind, Pune 411 007, invites sealed tenders in “Technical & Financial Bid”  from eligible and qualified tenderers for “SUPPLY, INSTALLATION AND COMMISSIONING OF HYDRO PNEUMATIC SYSTEM FOR DOMESTIC AND DRINKING WATER” IUCAA, PUNE”.

Date of sale of tender enquiry document	:  From 31/10/2012 to 02/11/2012   during							          	   11:30 hrs to 15:30 hrs.

Place of sale of tender enquiry documents	:  Cashier’s office, IUCAA

Submission of questionnaire for Pre-Bid	:  08/11/2012 up to 1700 hrs

Pre-Bid Meeting				:  09/11/2012 at 1500 hrs

Closing date & time for receipt of tender	:  23/11/2012 at 15:00 hrs.

Tender opening date & time			:  23/11/2012 at 15:30 hrs.

Place of tender opening			:  IUCAA’s office

Earnest Money Deposit			:  Rs.75,000/-  (Rs. Seventy Five Thousand Only)

1.	Tender enquiry documents may be purchased on payment of a non-refundable fee of Rs. 2000/- (Rupees Two Thousand Only) per set in the form of cash or an account payee demand draft drawn on a Nationalised / Scheduled / Commercial Bank, in favour of  Inter-University Centre for Astronomy and Astrophysics (IUCAA) payable at Pune. Tender fees will be waived in case of firms registered under National Small Industries Corporation ( NSIC )

2.	Tenderers shall ensure that their tenders, complete in all respects, are dropped in the tender box located at the address given above on or before the closing date and time indicated as above, failing which the tenders will be treated as late and rejected.

3.	In the event of any of the above mentioned dates being declared as a holiday / closed day for IUCAA, the tenders will be sold/received/opened on the next working day at the appointed time.

4.	The tender enquiry documents are not transferable.

5.        IUCAA reserves the right to reject any or all of the tenders without assigning any reasons.

Administrative Officer (Purchase)

Inter-University Centre for

Astronomy and Astrophysics,

Post Bag 4, Ganeshkhind,

Pune 411 007

Tel. (020) 25604100 / 25691414

Fax (020) 25604699

INFORMATION

SUBJECT : 	NOTICE INVITING TENDER (NIT) For “SUPPLY, INSTALLATION AND COMMISSIONING OF HYDRO PNEUMATIC SYSTEM FOR DOMESTIC AND DRINKING WATER” IUCAA, PUNE ”

1. Owner : INTER-UNIVERSITY CENTRE FOR ASTRONOMY AND ASTROPHYSICS, PUNE

2. SITE ADDRESS :  Post Bag 4, Ganeshkhind, Pune University Campus, Pune - 411007

3. Description of work  : SUPPLY, INSTALLATION AND COMMISSIONING OF HYDRO PNEUMATIC SYSTEM FOR DOMESTIC AND DRINKING WATER”.

4.  Schedule of work  -  4 weeks from the date of LOI/WO

5. Form of Contract  -    Item Rate

6. Bid Documents  -  General Conditions of contract, Technical specifications, Drawings and the BOQ in hard copy is being issued with this  tender documents.

7. Receipt of Bids

Bids should be submitted in sealed envelope marked as ‘TECHNICAL & COMMERCIAL BID’ for “SUPPLY, INSTALLATION AND COMMISSIONING OF HYDRO PNEUMATIC SYSTEM FOR DOMESTIC AND DRINKING WATER” IUCAA, PUNE” will be received up to 1500 hrs on 23/11/2012 and same will be opened at 1530 hrs on 23/11/2012.

8. Earnest Money Deposit / Security Deposit :

EMD of Rs. 75,000/-  in the form of DD in favour of IUCAA from a nationalized bank should be submitted along with the Technical  bid. The successful bidder can opt to adjust the EMD amount towards payment of Security Deposit. SD will be 5% of the contract value. However, the balance amount of SD has to be deposited separately by DD. Bid security amount will be waived in case of firms registered under National Small Industries Corporation (NSIC)

9. Acceptance / Rejection of Tenders –

Tenders missing or with incorrect, inaccurate calculations or generally not complying with the conditions will be rejected. Tenderers  must return back all documents issued to them as part of Tender documents. Each document must be stamped and signed as token of acceptance. If the original documents are not returned, the bid shall be summarily rejected. The tenderer must fill the “vendor checklist for tender submission”, attached as part of Instructions to tenderers and submit it with the tender documents. Tenderers should quote their rates with the totals both in figures & in words. The total of each page along with carried over figures of the previous page shall be given in ink and signed by the tenderer. No blank space shall be left. No over writing or cutting will be accepted. In such cases the quote will be rejected without any other consideration. No alterations, amendments or modifications shall be made by the tenderer in the Notice Inviting Tenders, Instructions to the Contractors, Contract Form, Conditions of the Contract, Drawings and Specification and if any such alterations are made or any special conditions attached, the tender is liable to be rejected without reference to the tenderer. The acceptance of a tender shall rest with the Owner or its authorized representative who does not bind itself to accept the lowest tender and reserves to itself the right to reject any or all the tenders received without assigning any reason(s) whatsoever. Non acceptance of any tender shall not make the Owner liable for compensation or damages.

At any time prior to the Tender submission date, the Owner may, for any reason, whether on its own initiative or in response to a clarification requested by a tenderer amend the Tender documents by an Addendum (The “Addendum”) or issue Clarification memo.

The Addendum as well as clarification memo will be notified in writing to all Tenderers. Tenderers shall promptly acknowledge receipt thereof to the same person at the same address. Only amendments and clarifications to the Tender Documents made through Addendum or clarification memo will form part of the Tender Document.

10. If you have any questions /clarifications etc. it should be sent to administrative officer purchase on email (purchase@iucaa.ernet.in)

This notice inviting tender will form part of the tender document and the agreement executed by the successful tenderer.

Please note that there is an emphasis on completion of all works by the scheduled date of completion with strict adherence to quality and safety norms.

For further information or clarifications, the tenderer may contact the undersigned or IUCAA.

Kind regards,

Administrative Officer (Purchase)

Inter-University Centre for

Astronomy and Astrophysics,

Post Bag 4, Ganeshkhind,

Pune 411 007

Tel. (020) 25604100 / 25691414

Fax (020) 25604699

2.      APPENDIX TO FORM OF TENDER

SUMMARY OF COMMERCIAL TERMS :

( Please refer Conditions of Contract for detailed explanation of Commercial Terms )

| Sr. No. | ITEM |  | DETAIL |
| --- | --- | --- | --- |
| 1 | Name and site of work |  | SUPPLY, INSTALLATION AND COMMISSIONING OF HYDRO PNEUMATIC SYSTEM FOR DOMESTIC AND DRINKING WATER” IUCAA, PUNE” |
| 2 | Scope of work |  | Supply, installation and commissioning of Hydro Pneumatic system for domestic and drinking water. |
| 3 | Earnest Money |  | Rs. 75,000/- (Rupees Seventy Five Thousand only) in the form of Nationalized / Scheduled Bank / Commercial Bank Demand Draft in favour of Inter-University Centre For Astronomy and Astrophysics payable at Pune in separate sealed envelope. |
| 4 | Mobilisation Advance |  | NIL |
| 5 | Security Deposit |  | 5 % of Contract Value by a Demand Draft within 10 days of issue of LOI / WO which will be converted into Retention Money. |
| 6 | Retention money against total works |  | Retention money will be 5% of the final bill amount. In case of short fall after adjusting Security Deposit, same will be recovered from the final bill. |
| 7 | Payment Terms |  | 1) IUCAA will pay 50% secured advance against approved materials/full set of equipments brought at site by contractor on submission of invoice. 2) An amount of 25% will be released after satisfactory installation, commissioning and testing to the satisfaction of the IUCAA/consultant. 3)An amount of 20% will be released after trial period of the system for one month. 4) an amount of 5% (Retention) will be released only after defect liability period. |
| 8 | Time of Work Completion |  | One calendar month from the date of LOI / WO. |
| 9 | Compensation for Delay / Liquidated Damages |  | Half percent of Contract Price per week of Delay subject to a ceiling of 5% of final Contract Price. |
| 10 | Maintenance / Defect Liability Period for total Works |  | 14 Months from the date of Completion of all Works and acceptance by Owner or Manufacturer’s warranty period whichever is more. |
| 11 | Interim Bills Periodicity |  | As mentioned in the column No.7 |
| 12 | Time within which payment of Interim Running bill to be made after Project Manager’s Certification |  | Project Manager’s certification within 14 days of receiving the correct Interim invoice. Payment by Owner within 14 days of the issue of certificate for payment by the Project Manager. |
| 13 | Time within which payment of Final bill to be made after Project Manager’s Certification |  | Project Manager’s certification within 30 days of receiving the correct Interim invoice. Payment by Owner within 45 days of the issue of certificate for payment by the Project Manager. |

| 14 | Minimum Amount of Third Party Insurance (CAR Insurance Policy) |  | Bodily injury and Property damage not less than Rs. 1,00,000/- (Rs. One Lakh only) in each accident at each job site and not less than Rs. 5,00,000/- (Rs. Five Lakh only) for all accidents at all job sites as per prevailing Laws. |
| --- | --- | --- | --- |
| 15 | Workman’s Compensation Insurance |  | As per prevailing Laws Contractor must have policy against this law. |
| 16 | ESI, PF & other regulatory rules & laws. |  | Contractor to cover his workers & staff under ESI, & PF scheme and comply with local laws & statutes dealing with employment of persons Necessary reports to be submitted. |
| 17 | Workers accommodation |  | Contractor to make his own arrangements for accommodation of his workers & staff including site office, godown, storage yard, etc. outside site i.e. not with Owners premises. |
| 18 | All Inclusive Rates |  | Rates to be inclusive of all taxes & duties including. octroi, works contract/ turn over tax, etc. till the completion of work. |
| 19 | Venue of Arbitration and Arbitrator |  | Pune. Sole Arbitrator i.e. The Director, Inter University Centre For Astronomy and Astrophysics, Pune. |
| 20 | Date, time and place of issue of blank tender documents |  | At IUCAA as mentioned in tender information and it can be downloaded from our website: www.iucaa.ernet.in/tenders |
| 21 | Date, time and place of submission of tender docs. |  | Not later than 1500 hrs on 23/11/2012 in the tender box kept at main reception. |
| 22 | Jurisdiction of Courts |  | Pune. |
| 23 | Pre-bid meeting |  | On 09/11/2012 at 1500 hrs at IUCAA |

3.  COVERING LETTER FOR SUBMISSION OF THE TENDER

( Draft of letter to be submitted by the Contractor / Firm on LETTERHEAD with the Tender )

REF :                                         				                                           DATE :

The Administration Officer (Purchase)

Inter – University Center for  Astronomy and Astrophysics,

Post Bag 4, Ganeshkhind, Pune – 411 007.

SUB    :  Installation and Commissioning of VFD Based Hydro Pneumatic System for Domestic And

Drinking Water at IUCAA Campus, Ganeshkhind, Pune : 411 007.

REF     :  Your invitation to Tender - IUCAA /AO(P)/MRF-M12-0595DT.25.10.12  Dated.   31/10/2012

Sir / Madam,

- I / We hereby offer to execute the works specified in the under mentioned

Memorandum within the time limit specified and at the rates mentioned in the schedule of probable quantities in all respects as per specifications and instructions mentioned in this tender and as per instructions received in the course of the work from the “IUCAA” officials.

M E M O R A N D U M

| a) | Name of work | Installation and Commissioning of Hydro Pneumatic System for Domestic And Drinking Water at IUCAA Campus, Ganeshkhind, Pune : 411 007. |
| --- | --- | --- |
| b) | Security Deposit | Total 5% of the accepted tender amount including EMD and later on it will be converted to retention money. |
| c) | Retention percentage | The SD will be converted to retention money at the time of final payment which will be 5% of the final bill value |
| d) | Time limit | 4 Weeks from Letter of Intent. |

2.  	Should this Tender be accepted I/We hereby agree to abide by all instructions and fulfill all the terms and conditions of this Tender.

3. 	I / We are hereby depositing with “IUCAA” a sum of Rs. 75,000/- (Rs. Seventy Five Thousand only) by Demand Draft No.______________ dated _______________ drawn on__________________ in favour of “IUCAA” towards prescribed Earnest Money Deposit, (EMD) without liability of any interest. Should I/We fail to commence the work within eight days from the receipt of your formal Letter of intent / Work Order awarding the Contract,    I / We hereby agree that this EMD amount shall be forfeited by me / us to “IUCAA” without any claims or conditions.

SIGNATURE & FULL NAME OF THE CONTRACTOR / AUTHORIZED SIGNATORY

Name,

Address

Tel. /Fax  No.

4.  LETTER OF OFFER

To,

The Administration Officer (Purchase)

Inter – University Center for  Astronomy and Astrophysics,

Post Bag 4, Ganeshkhind, Pune – 411 007.

Sir / Madam,

With reference to the Tender invited by you for the supply,  installation and commissioning of VFD Based Hydro Pneumatic System for domestic and drinking water at IUCAA Campus, Ganeshkhind, Pune : 411 007, we do hereby offer to perform as Contractors, and provide, execute, and complete the works in conformity with the drawing, terms of the Tender, Articles of Agreement,  Conditions of Contract , Specifications and Bill of Quantities for the sum of Rs.__________________ i.e. In Words Rs. ________________________________________________________________ ) at the respective rates quoted in the bills of quantities annexed hereto.

We have satisfied ourselves as to the location of site, examined the drawings and read the conditions of contract and the specifications etc. and we understand that the works are to be completed within 4 weeks from the date of Letter of Intent in all respects.  We agree to satisfactorily complete the scope of work specified, within the stipulated time period from the date of your Letter of Intent / Work Order.  We understand and are fully aware that timely completion and highly superior quality will be the essence of this contract.

In the event of any defects occurring within one year from the date of actual completion, we agree to repair / replace and rectify the same to the complete satisfaction of “IUCAA”.

Yours faithfully,

Signature of the contractor  		         (Name & Seal of the Firm / Company)

(for and on behalf of ……………………………  )

NAME: ______________

Date :                                           			Place :

SPECIAL INSTRUCTIONS AND CONDITIONS OF TENDER

A]  PRE-QUOTATION RESPONSIBILITY OF THE CONTRACTOR:

The contractor shall study thoroughly the contents of this tender document, item specifications and especially these special instructions and all the conditions of contract BEFORE quoting the item rates. The contractor is also expected to personally visit the site of the proposed work and consider the prevailing conditions and constraints prior to submission of his quotation.

B] INSTRUCTIONS TO BE FOLLOWED BY THE CONTRACTOR BEFORE SUBMISSION OF THE TENDER:

B-1) The Contractor must sign each and every page of the quotation including the declarations and attached tender purpose drawings. Any tender not bearing such signature on all pages is liable to be rejected. Seal of the Contractor should be placed near the signature below the summary of quotations as well as on all drawings.

B-2) The Contractor must quote the lump sum rates of items and total amounts in clear figures. Page totals must be written on each and every page of the annexed Schedules.

B-3) Quotations submitted in the Tender should be WITHOUT any conditions, stipulations or provisos. Quoted rates shall be deemed to be totally unconditional.

B-4) Tenders are to be submitted in a sealed envelope superscribed

“QUOTATION FOR SUPPLY, INSTALLATION AND COMMISSIONING OF VFD BASED HYDRO PNEUMATIC SYSTEM FOR DOMESTIC AND DRINKING WATER” at IUCAA Campus, Ganeshkhind, Pune : 411 007.

B-5) The Earnest Money Deposit Draft should NOT be enclosed within the sealed envelope containing the Tender, but should be separately submitted with the Tender i.e. in envelope -A.

B-6) Tenders should reach “IUCAA” not later than the date and time stipulated even if sent by post. They should be preferably be sent by hand or by courier service to :

The Administrative Officer ( Purchase)

Inter – University Centre for Astronomy and Astrophysics,

Post Bag 4, Ganeshkhind, Pune – 411 007.

C] 	SPECIFIC CONDITIONS OF CONTRACT:

01) TYPE OF CONTRACT: This Contract shall be an amount of lump sum Contract.

02) PERIOD OF TIME FOR COMPLETION OF THE WORK:

4 Weeks from the date of issue of Letter of Intent.

03) AMOUNT OF EARNEST MONEY DEPOSIT (E.M.D.)

The Contractor shall pay as Earnest Money a sum of Rs. 75,000.00 (Rupees Seventy Five Thousand only) By Demand Draft (Nationalised bank only) drawn in favour of “IUCAA” PUNE.  A tender submitted without the EMD will NOT be considered. Please note that the Earnest money deposit shall NOT be sealed within, but should be handed over to “IUCAA” separately - outside the sealed Tender document.

The Earnest Money Deposit shall be returned to the Contractor, without any interest, if his tender is NOT accepted. If the tender is accepted, the EMD amount shall be en-cashed by “IUCAA” and the amount retained and adjusted towards the initial Security Deposit amount.

04) DATE OF COMMENCEMENT OF WORK:

Next day of issue of the Letter of Intent/work order by “IUCAA”.If the contractor fails to commence the work as per this Clause, the EMD amount shall be forfeited and “IUCAA” shall be at liberty to award the work to any other Contractor. “IUCAA” is NOT bound to serve any Notice in such eventuality.

05) DATE OF COMPLETION:

4 weeks from the date of issue of “IUCAA”s Letter of Intent.

06 ) RETENTION PERCENTAGE :

5% amount of the final bill value will be deduced from final bill value.

07) REFUNDS OF RETAINED AMOUNTS:

The retention amount will be refunded back only after completion of the defect liability Period i.e. 14 months from the date of certification of the final bill.

This refund, however, shall be subject to satisfactory repairs and rectification by the contractor, at his own cost, of any faults or defects brought to notice by “IUCAA” in the 14 months period of Defects Liability.

08) DEFECTS LIABILITY PERIOD:

This period shall be calculated as 14 (Fourteen) months from the date of certification of the final bill / completion of the project whichever is later.

Successful commissioning of system as per written certificate

09)  LIQUIDATED DAMAGES:

TIME being the essence of this contract, “IUCAA” shall levy Liquidated Damages on the contractor in the event of the work NOT being completed on the scheduled date and time stipulated in above. These Liquidated Damages shall be levied at the rate of Rs. 3500/- per day (Max. 5% of contract value), from the due date of completion OR from such subsequent date which “IUCAA” may extend at its complete discretion if found genuinely necessary. If such delay, with penalty, extends beyond TEN Days, “IUCAA” shall be at liberty to terminate the Contract without notice, confiscate the entire Retention Amount, and get the balance of work completed from any other agency at the cost of the Contractor.

10) VALUE OF WORK FOR INTERIM CERTIFICATE:

This is as per the “Appendix to form of tender” Sr. No.7.

11) PERIOD OF HONOURING CERTIFICATE:

Payment against R.A.Bill (except for the Final Bill which shall be paid as per Clause 12 below) shall be released within FIFTEEN days from the date of submission to “IUCAA”. 75% amount will be paid as Ad-hoc payment against the RA Bills on the assessed bill value on submission of the proper bill.

12) PERIOD OF FINAL MEASUREMENT AND VALUATION:

Maximum of  30 Days ( Thirty Days ) from the date of presentation of the Final Bill of work to “IUCAA” for payment, subject to receipt of all documents, test reports, reconciliation statements and compliance of undertakings, if any, from the contractor. An amount equivalent to 75 % of the Final Bill shall, however, be released as ad-hoc payment by “IUCAA” and the balance payment shall be released within the 30 days stipulated.

13) VISIT TO SITE OF WORK

The Contractor is expected to visit the site of work and personally see the site conditions regarding water, labor conditions, leads, lifts, LOADING / UNLOADING/ STORAGE and all other factors affecting the work before submitting the quotation. Leads, lifts and permissibility for disposal of excavated material shall also be studied and considered in the quotations. No extras or escalation shall be granted on account of any error of judgment or miscalculation or misunderstanding of scope of the work.

14) ESSENTIAL / IMPORTANT CONSIDERATIONS:

a) The submission of the tender by the Contractor implies that he has read these instructions, the conditions of contract etc, and has made himself aware of the scope and specifications of the work to be done and local conditions and other factors bearing on the execution of the work. “IUCAA” will NOT, after acceptance of contract rates, pay any extra charges for lead, lift, testing, or any such other reasons.

b) The contractor must arrange for the transport of all materials and equipment required for construction, erection, installation, testing etc..and include all such costs in the quotation of rates. Disposal of waste materials shall also be at the Contractors cost.

c) Although specific items of work have been included in the Schedule annexed hereto, the contractor should note that all incidental and allied works arising out of the scheduled items are deemed to be included in the said items. The contractor shall take into account while quoting that miscellaneous allied works, such as cleaning of the premises, finishing of edges and corners, repairing of any adjacent work / area damaged due to the work in hand, finishing of surfaces in immediately adjacent areas etc..shall be done without any extra charge or liability to “IUCAA”. No extras shall be payable on account of any such work which may or may not be specifically included in the BOQ.

d)  The Contractor should take into account that NO Labor will be allowed to stay overnight in “IUCAA” premises, and canteen / mess facility will NOT be available.

e)  The contractor should appoint site supervisor for daily supervision and co-ordination and extra claim will NOT be allowed by “IUCAA” for the same.

15)  WATER AND POWER FOR WORK:

Water and Power required for construction / renovation work shall be provided by “IUCAA” FREE OF COST to the Contractor from ONE source. The contractor, however, shall have to make his own arrangements at his own cost to tap and utilize the water and power from the source indicated by “IUCAA”.

16) EXTRA ITEMS AND VARIATION IN QUANTITIES OR SPECIFICATIONS:

[A] A schedule of quantities and specifications is included in the tender document.   It shall be clearly and definitely understood that “IUCAA” does NOT accept any responsibility for the correctness of this schedule which is liable to alterations by omissions, deductions and/or additions to any extent.  Neither the probable quantities, nor the value of individual items, nor the total value of work will form part of the Contract

[B]  In the event of any Extra Item of work, if found to be genuinely necessary, being introduced during the course of the work by “IUCAA” or by the Architects,  the Contractor shall be bound to submit a quotation of such Item/s with rate analysis, and obtain formal approval of “IUCAA” prior to execution of any such Item. However, plant and machinery charges, overhead expenses, Works Contract and all other taxes and the Contractor’s profit shall be collectively computed at 15 % in the analysis of any such extra item. No variation shall be made by the contractor in the specification of any Item, without prior written permission of the Architects.

[C] Claims for any extra items, if inevitable in the course of the construction, shall be filed SEPARATELY with “IUCAA” along with the authorization, description, reason, measurements &detailed rate analysis  (Material & Labor cost plus 15 %) of every such item. No claims for Extra items shall be included in Work.

17) PAYMENT OF OCTROI AND STORAGE OF MATERIAL:

As an IMPORTANT stipulation of this tender, all material brought by the Contractor into “IUCAA” premises shall be fully OCTROI PAID. All materials required for the work shall be unloaded, stacked properly and stored on the project site only at specific allocated locations during the period of work. The Contractor should take into consideration the protection of all material at his own cost, and “IUCAA” shall not be liable for the loss or damage of any material at any time. No material brought on site shall be permitted to be removed or carried away without written permission of an authorized representative of “IUCAA”. Care shall be taken to preserve and protect all materials from weather and damage of any kind.

18)  SUB-LETTING OF ITEMS IN THE CONTRACT:

The Contract or any part thereof shall NOT be sublet without the written permission of “IUCAA”. Approval shall also be obtained from “IUCAA” to employ, engage and hire for use within “IUCAA” premises, any heavy machinery, earth moving equipment, rock cutting and drilling equipment from outside agencies. “IUCAA”, however, reserves the right to appoint and engage different agencies for different purposes on the site during the course of work and the Contractor shall be bound to extend co-operation and support for the operations of any such agency.

19) PAYMENT OF TAXES:

All royalties shall be paid by the Contractor and also all tolls, local and other taxes essential for execution of the work, INCLUDING the Works Contract /  Service Tax / Sales Tax / VAT / Octroi etc. as may be applicable during the period of construction. “IUCAA” shall NOT bear any liability or responsibility in this respect and NO additional payment shall be made by “IUCAA” towards Works Contract or Sales Tax. Contractors should note that it shall be presumed in the evaluation of tenders that the amounts quoted by the Contractor are INCLUSIVE of the Works Contract/ Sales Tax as may be applicable.

20)  ACCEPTANCE OR REJECTION OF TENDERS:

“IUCAA”. Is hereby empowered to accept any tender, and shall have the absolute indisputable right to reject any or all of the Tenders. “IUCAA” also hereby reserves the right to sub-divide and allot parts of the Tender to different agencies, if deemed expedient. The award of this Contract shall remain subject to the acceptance of this clause & condition.

21)  PERIOD OF DECISION:

The tenders shall remain open for acceptance for a period of 45 days from the date on which they are due for submission, or any other extended date for their receipt, and during this period no Contractor shall be allowed to withdraw his tender.

22)  INSURANCE AND STATUTORY / LEGAL MATTERS:

The Contractor to whom the work is assigned is expected to insure all material and labor from all damages, accidents and injury to persons and pay an appropriate premium for the purpose. No Separate consideration shall be paid to the Contractor on account of payment of any such Insurance premiums. Quotations should include any such amounts in the rate.

“IUCAA” will NOT be liable for any compensation or re-imbursement to the Contractor for any accident, damage or injury to material or personnel. The Contractor is expected to engage personnel fully insured against injury and death on account of any accident on the project site.

The Contractor shall also abide with all statutory regulations in respect of Labor payments and follow all directives of the Government under ESIS, Labor Laws or any other requirement.”IUCAA” shall NOT bear any legal liability in any such statutory matters. The Contractor shall be expected to resolve all such matters at his own cost.

“IUCAA” shall also remain completely indemnified in respect of all matters relating to statutory levies such as ESIC, Provident Fund, Gratuity, etc.of all your employees on the project site. All records and books pertaining to these matters as per statutory requirements shall be maintained on the project site and these shall be available for inspection on demand by any Government or “IUCAA” Official at all times. Any financial liability in these matters shall be borne entirely by the Contractor and NO compensation or extra payments shall be made by “IUCAA” on any such account.

23)  CONTRACT DOCUMENTS:

These special instructions to Contractors shall also form part of the contract document along with the Bill of Quantities, Preambles to Item specifications and Drawings.

24)  VALIDITY OF QUOTATION:

The rates quoted in the Tender by the Contractor shall remain valid and effective over the complete period of the project up to its final completion, including extended periods, if any, up to a minimum period of SIX MONTHS, irrespective of the period of time originally stipulated for execution of the Contract. Contractors are advised to take into account any fluctuations in the market that may occur in this period while quoting the rates. “IUCAA” will NOT be responsible for any error of judgment in this respect on the part of the Contractor, and any loss suffered by the Contractor as a result of incorrect judgment in quotation of rates will NOT be compensated by “IUCAA”.

25)  TESTING OF MATERIAL AND EXECUTED WORK

If called upon by “IUCAA” the Contractor should be prepared to get any material or work TESTED for performance standards and quality. Any such tests carried out shall be at the Contractors cost and “IUCAA” will NOT reimburse any charges or expenses incurred for testing of any material or work.

26) PROJECT SCHEDULING: (TO BE SUBMITTED WITH THE TENDER)

The Contractor shall submit with the tender quotation, a detailed time schedule of activity planning within the given time frame. A list of personnel to be allocated for supervision on the project along with their names, qualifications, designation and scope of function should also be submitted to “IUCAA”. Confirmation and Approval shall be obtained from “IUCAA” to the proposed work schedule and the approved schedule shall be very strictly adhered to up to final completion.

27) SAFETY AND SECURITY MEASURES:

The Contractor shall take all necessary precautions to ensure the safety and security of all personnel and material on the project site. Safety Belts and Helmets shall be provided for all employed labor (casual, temporary, permanent or sub-contracted) and all visitors in the project site. No worker shall be permitted to work above 3 M from the adjacent floor / ground level without safety belts and helmets. The Contractor shall be fully responsible for the safety and security of his personnel on the project site. The use or storage of explosives or any explosive, inflammable, hazardous material is categorically PROHIBITED within “IUCAA” premises.

28)  MISCELLANEOUS CONDITIONS AND STIPULATIONS:

A]  During the entire course of this Contract, “IUCAA” is and shall remain in continuous and uninterrupted possession of the premises at all times. This Contract agreement only permits the Contractor to work in “IUCAA” during

the Contract period, with temporary and revocable consent of “IUCAA”, up to the completion of the specific assignment. At NO time shall the Contractor engage in any activity on the site other than that specified in the Contract agreement. No visitors shall be permitted on the project site without written permission / authorization by “IUCAA”, and Contractor  should ensure that NO laborers is allowed to wander in “IUCAA” premises into any area except the premises allocated for the present work.

B]  Quality of Workmanship, Economy in Time and Cost, Accuracy and precision and Efficiency of operations in the assigned work shall be the guiding factors and objectives set for the Contractor. The Contractor shall be presumed to have taken these factors into consideration while quoting the item rates by including any anticipated expenses and making provision for contingencies in order to achieve the set objectives.

C] These special conditions and instructions of Contract shall supersede and prevail over any corresponding or contradictory terms and conditions anywhere in this Contract document.

D] These Special Instructions and Conditions of Contract shall form part of the Contract document along with the annexed schedule of quantities, Articles of Agreement, Specifications and Drawings.

DECLARATION TO BE SIGNED WITH SEAL & STAMP OF OFFICE / FIRM:

I / We hereby declare that I / We have read and studied in detail the special instructions and conditions of this Contract in the above Clauses, and understood the scope of the project and my/our fundamental duties and responsibilities under this Contract. I / We unconditionally accept and agree to abide by them.

------------------------------------------------

Signature & Seal of Contractor

Name of Authorized Signatory: ___________________

Place:	 _____________

Date:	___________

##### Instructions to contractors

##### SUPPLY,Installation and commissioning of Hydro Pneumatic System for domestic and drinking water at iucaa, pune

- Contractor’s has to visit the site before quoting the rates to see the material stacking arrangement and access to the site.

- Contractor’s has to fill the tender in two different envelopes.

The Envelope – B will contain only price bid along with tender document.

The envelope – A will contain following papers in the given sequence only.

- EMD of amounting Rs. 75000.00 by Demand Draft (Nationalised bank only)

- Copy Name and details of the firm

- Copy Company registration

- Copy Shop act license

- Copy Service tax registration

- Copy of Pan card

- Copy of VAT Details

- Copy Latest Income tax clearance certificate for the last three years / IT returns

- List of works in Hand (in details – Name of the client, Amount of the contract value, status of the work, completion date as per work order)

- List of work done during last two years (In details – Name of the client, amount of the contract value, final bill value, completion time)

Minimum 3 orders of 35 lakhs each contract value should be successfully completed during two financial years.

- Work done certificates from client/ architects

- Technical Bid form duly filled and signed.

- Pre-Bid Meeting : The Tenderer must go through all the drawings, specifications and other tender documents. Any further clarifications in the drawings and documents can be had at the time of pre-bid meeting which is scheduled on 09/11/2012 at 1500 hrs

If you have any questions / clarifications etc. it should be sent to administrative officer purchase on email (purchase@iucaa.ernet.in)

Any amendments and changes in tender specifications/ drawings discussed during pre-bid meeting will be a part of tender and any such changes finalised during pre-bid will be communicated to all the tenderers. These changes will override all earlier specifications / drawings

- Tender will be opened on 23/11/2012 at 1530 hrs.

- Total time period for the work is 4 weeks (Next day of issue of Letter of Intent / work order)

- Given quantities in the BOQ are approximate. Quantity may increase or decrease. Payment will be made on actual measurement basis.

- IUCAA has right to decrease or increase in quantity or to remove entire item from the BOQ.

- Agency has to make himself sure for the availability of material specified in the tender before quoting the rates.

- Water and Electricity will be provided free of cost by IUCAA

- No Advance payment shall be made before starting the work.

1) IUCAA will pay 50% secured advance against approved materials/full set of

equipments brought at site by contractor on submission of invoice.

2) An amount of 25% will be released after satisfactory installation, commissioning and

testing to the satisfaction of the IUCAA/consultant.

3)An amount of 20% will be released after trial period of the system for one month.

4) an amount of 5% (Retention) will be released only after defect liability period.

- The rates should be inclusive of all the required material, workmanship, all the taxes etc.

- No extra payment will be made for wastage / balance material.

- Any damages during the work will be recovered by the agency.

- The EMD of successful bidder will be converted as Security Deposit (SD) which is 5 % of the accepted contract value. The SD will be adjusted in to retention money which is 5% of the final bill value and this amount will be deducted from final bill value.

- 5% amount from the final bill value will be kept as retention amount and will be returned after defect liability period i.e. 14 months from the date of certification of the final bill. Any repair during this period has to carry out free of cost by the agency for IUCAA.

- Please read all the tender document / specifications and drawings carefully before quoting the rates