Inter-University Centre for

Astronomy and Astrophysics

Internal Electrification work of New Telescope Building at IUCAA GIRAVALI OBSERVATORY

Taluka : Ambegaon, District : Pune,

INDEX

| SR. NO. | CONTENTS | PAGE NO. |
| --- | --- | --- |
| 01. | Cover Sheet | 01 |
| 02. | Index | 02 |
| 03 | Technical Bid Form | 03-06 |
| 04 | Tender Notice | 07 |
| 05 | Tender Information | 08-11 |
| 06 | Appendix to Form of Tender | 12-13 |
| 07 | General Condition of Contract | 14-46 |
| 08 | Undertaking - Form I | 47 |
| 09 | Declaration - Form II | 48 |
| 10 | EMD Refund Request - Form III | 49 |
| 11 | Annexure A | 50 |
| 12 | Technical Specification - Schedule B | 51-86 |
| 13 | Proforma For Contract Agreement ( Articles of Agreement ) | 87-88 |

Technical Bid - Part  A

TENDER FOR INTERNAL ELECTRIFICATION WORK OF NEW TELESCOPE BUILDING AT IUCAA GIRAVALI OBSERVATORY

TALUKA : AMBEGAON, DISTRICT : PUNE

THE INTER-UNIVERSITY CENTRE FOR ASTRONOMY & ASTROPHYSICS (IUCAA)

POST BAG 4, GANESHKHIND, PUNE UNIVERSITY CAMPUS,

PUNE 411 007, INDIA

Name of Work: 		INTERNAL ELECTRIFICATION WORK   –  AT IGO

A.	Name of Vendor  / Firm / Company		____________________________

____________________________

Postal Address					____________________________

____________________________

Telephone Nos.				____________________________

Telex / Fax					____________________________

Email ID					____________________________

Signature & Seal of Bidder

| Technical Bid Form |
| --- |
| NAME OF WORK : Internal Electrification work of New Telescope Building at IGO, Giravali. (TO BE FILLED IN BY THE INTENDING TENDERER AT THE TIME OF SUBMISSION OF THE TENDER) |
| Client : Inter-University Centre for Astronomy & Astrophysics, Pune |
| 1 | Company Name |  |
| 2 | Electrical Contractor's License No. and Validity Period/Date |  |
| 3 | Contractor 'A' Class PWD Registration No. & Validity Period/Date |  |
| 4 | Establishment Year |  |
| 5 | Address |  |
| 6 | Telephone Nos. |  |
|  | Mobile no. |  |
|  | Fax Nos. E-mail |  |
| 7 | Contact Person Name Designation Mobile # E-mail |  |
| 8 | Organizational Capability (Staff Strength) i.Project Managers ii.Supervisors (PWD License Holder for LT & HT) iii. Safety Engineers iv.Quality Engineers v.Technicians (PWD License Holder for LT Work) | Name Qualification Experience |
| 9 | Proposed Team for this Project i. Project Managers ii. Supervisors iii. Safety Engineers iv. Quantity Surveyors/Billing Engineer v. Quality Engineers (Provide similar details of all sub-contractors proposed to be used on project) |  |
| 10 | Financial Capacity over last 3 years (Turnover & Profit) Financial year 2011-12 Financial year 2012-13 Financial year 2013-14 |  |
| 11 a) b) c) d) e) | Provide following details of Five major/best jobs completed of similar nature (Rs. 10 Lacs & above) (You may be required to arrange for inspections of at least two such projects). Name of the project Consultant. Completion year Work Size Value Scope of Work Project proposed for inspection Client contact details ( Name with tele /fax and e-mail) Name of the project Consultant. Completion year Work Size Value Scope of Work Name of the project Client contact details ( Name with tele /fax and e-mail) Name of the project Consultant. Completion year Work Size Value Scope of Work Project proposed for inspection Client contact details (Name with tele / fax and e-mail) Name of the project Consultant. Completion year Work Size Value Scope of Work Project proposed for inspection Client contact details (Name with tele / fax and e-mail) Name of the project Consultant. Completion year Work Size Value Scope of Work Project proposed for inspection Client contact details (Name with tele / fax and e-mail). |  |
| 12 | Work in hand (provide details in following format - Attach additional sheets if equired) Name of the project Consultant %age completed/status Completion time Size (sq.ft.) Value of Work Name of the project Consultant %age completed/status Completion time Size (sq.ft.) Value of Work |  |
| 13 | Infrastructure/ Equipment/ Machinery details: |  |  |
| 14 | Insurance Cover. (Provide details of cover availed.) |  |
| 15 | PF/ESI details :- Reg. No. PF Reg. No. ESI Reg. No. WCT. Reg. No. Service Tax Reg. No. VAT Reg No. CST Reg No of Profession Tax Certificate |  |
| 16 | PAN Details: PAN No: Photocopy of PAN Latest Income tax return copy |  |
| 17 | Solvency Certificate from Nationalised Bank of Rs.Ten Lacs Issued after Dec-2014 |  |
| 17 | Quality Assurance (Provide details of methodology adopted) |  |
| 18 | A brief enlistment of Architects/ Consultants with whom your organization has worked. |  |
| 19 | Major suppliers on previous projects. |  |
| 20 | Major suppliers proposed for this project. |  |
| 21 | List any arbitration cases/ legal disputes on Current/ previous projects - Mention name of project, reason for dispute, party filing the suit and current status) |  |
| 22 | Is the company ISO Certified? |  |
| 23 | List any awards, recognitions on previously executed projects |  |
| 24 | Any other documentation relevant to tender (Contractors can modify the tables to create additional space for information if required) |  |
| 25 | Prepared and submitted by |  |

Notes -  1) The Inter-University Centre for Astronomy & Astrophysics, Pune reserves the right to accept or reject any or all tenders without assigning any reasons.                                                                                                                                                                                                                                                           2) Every statement made in the technical bid format should be supported by documentary proof for consideration.  Otherwise the tender is liable to be rejected.                                                                                                                        3) Please support Work in hand and completed work information with copy of the Purchase/ Work order from the client.

4) Please note that our IGO, Girvali site  is 100 kms away from Pune and it is on hilltop of 1000 mtr above sea level.

## TENDER NOTICE

The Director, IUCAA invites sealed technical & commercial bids in 2 bid format from reputed vendors/bidders for “INTERNAL ELECTRIFICATION WORK OF NEW TELESCOPE BUILDING AT IUCAA GIRAWALI OBSERVETORY”.  Tender documents can be obtained from our CASH OFFICE between 1130 hrs - 1530 hrs during 27/01/2015 to 29/01/2015 on payment of Rs.1000/- (Rs. One Thousand Only) as non refundable tender cost for each tender  in cash or demand draft in favour of IUCAA, payable at Pune.

Tender document can also be downloaded from web site http://www.iucaa.ernet.in/tenders and demand draft of Rs.1000/- to be enclosed with technical bid as non refundable tender cost.

The technical & financial bid along with the EMD of Rs.20,000/- ( Rs. Twenty Thousand Only ) should be submitted to Administrative Officer (Purchase), up to 1500 hrs on 23/02/2015 and the technical  bids will be opened at 1530 hrs on the same day in  presence of the vendors.

IUCAA reserves the right to reject any or all of the tenders without assigning any reasons.

TENDER  INFORMATION

Inter-University Centre for Astronomy and Astrophysics (IUCAA), Post Bag 4, Ganeshkhind, Pune 411007, invites sealed tenders in separate  “Technical and Financial Bid”  from eligible and qualified tenderers for Electrification work of “Internal Electrification work of New Telescope Building at IGO, Giravali”

Date of sale of tender enquiry document	:  From 27/01/2015 to 29/01/2015 during 								   	   11:30 hrs to 15:30 hrs.

Place of sale of tender enquiry documents	:  Cashier’s office, IUCAA

Pre Bid Meeting				:  10/02/2015 at 15:00 hrs.

Closing date & time for receipt of tender	:  23/02/2015 at 15:00 hrs.

Tender opening date & time			:  23/02/2015 at 15:30 hrs.

Place of tender opening			:  IUCAA’s office

Earnest Money Deposit	: Rs. 20,000/- (Rs. Twenty Thousand only)

1. Tender enquiry documents may be purchased on payment of a non-refundable fee of Rs. 1000/-    (Rupees One Thousand Only) per set in the form of cash or an account payee demand draft 	drawn on a Nationalised Bank, in favour of Inter-University Centre for Astronomy and 	Astrophysics (IUCAA) payable at Pune. Tender fees will be waived in case of firms 	registered under National Small Industries Corporation (NSIC)

2. Tenderers shall ensure that their tenders, complete in all respects, are dropped in the tender box    located at the address given above on or before the closing date and time indicated as above, 	failing which the tenders will be treated as late and rejected.

3. EMD should be attached along with the Technical bid only. The Demand draft for EMD should  be  drawn on Nationalized bank only  in favour of  “ IUCAA”  payable at Pune. Demand draft from other banks will not be accepted and the tender will be summarily rejected.

4.  In the event of any of the above mentioned dates being declared as a holiday / closed day for IUCAA, the tenders will be sold/received/opened on the next working day at the appointed time.

5. The tender enquiry documents are not transferable. Tender document without EMD shall be summarily  rejected. Envelope - 1 should contain (Part –I) the "Technical Bid" & "Earnest Money Deposit" the said envelope shall be  sealed and marked as “Technical Bid". Envelope - 2 should contain "Commercial Bid ". The said envelope shall be 	marked 	as "Commercial Bid." In case of any 	correction/addition/ alteration/ omission in original tender document shall be treated as non - responsive and shall be summarily rejected.

6. The Administrative Officer (Purchase), IUCAA, Pune - 411007 on behalf of IUCAA reserves the  right to postpone the date of opening of tender without assigning any reason.

7. Tender in which any of the prescribed condition (s) is not fulfilled or any condition including that of conditional rebate is put forth by the tenderers, shall be summarily rejected. However, the tenders with unconditional rebate will be acceptable.

8.  Tenders shall neither be issued nor accepted by post/courier.

9.  Principal Chief Engineer (Civil), Bharat Sanchar Nigam Ltd. (BSNL), Mumbai has been appointed as  project Management Consultancy for the work and the work will be carried out under technical supervision of the Estate Manager, IUCAA and Executive Engineer (Electrical), Bharat Sanchar Nigam Ltd. (BSNL) or his authorized representative. The scope of work of Project Management Consultant is defined in the MOU between IUCAA & BSNL which is binding to the Contractor.

10.  IUCAA reserves the right to reject any or all of the tenders without assigning any reasons.

Administrative Officer (Purchase)

Inter-University Centre for

Astronomy and Astrophysics,

Post Bag 4, Ganeshkhind,

Pune 411 007

Tel. (020) 25604100 / 25691414

Fax (020) 25604699

INFORMATION ABOUT TENDER

- Agreement shall be drawn with the successful tenderers on prescribed format mentioned in the tender.

- The time allowed for carrying out the work will be Eight months from the 7th (seventh) day after the date of issue of letter of award of work, or  from the first day of handing over of the site, whichever is later, in accordance with phasing, if any, indicated in the tender documents.

3.0	Tenderers are advised to inspect and examine the site and its surroundings and satisfy themselves before submitting their tenders as to the nature of the ground and sub-soil (so far as 	is practicable), the form and nature of the site, the means of access to the site, the accommodation they may require and in general, shall themselves obtain all necessary information as to risks, contingencies and other circumstances which may influence or affect their tender. A tenderer shall be deemed to have full knowledge of the site whether he inspects it or not and no extra charges consequent on any misunderstanding or otherwise shall be allowed. The tenderer shall be responsible for arranging and maintaining at his own cost all materials tools & plants, water, electricity, access facilities for workers and on all other services required for executing the work unless otherwise specifically provided for in the contract  documents. Submission of tender by a tenderer implies that he has read this notice and all other contract documents and has made himself aware of the scope and specifications of the work to be done and local conditions and other factors having a bearing on the execution of the work.

4.0	Canvassing whether directly or indirectly, in connection with tenders is strictly prohibited and the tenders submitted by the contractors who resort to canvassing will be liable to rejection.

5.0	The competent authority on behalf of IUCAA reserves with himself the right of accepting the whole or any part of the tender and the tenderer shall be bound to perform the same at the rate quoted.

6.0	The company or firm or any other person shall not be permitted to tender for works in IUCAA in which his near relative (s) (directly recruited or on deputation in IUCAA is/are posted in any capacity either non-executive or executive employee. Near relative (s) for this purpose is/are defined as:

(i)	Member of Hindu Undivided family (HUF).

(ii)	They are Husband and Wife.

(iii)The one is related to other in the manner as father, mother, son(s) & Son’s wife (daughter-in-law), Daughter(s), Daughter’s husband (son-in-law), brother(s), brother’s wife, sister(s), sister’s husband (brother-in-law).

The contractor shall also intimate the names of persons who are working with him in any capacity or are subsequently employed by him and who are near relative to any executive employee/ gazetted officer in the IUCAA.

All the intending tenderers will have to give a certificate that none of his/her such near relative (s) as defined above is/are working in the concerned IUCAA where he is going to apply for tender/work. The format of the certificate is as under:-

I, _______________________ s/o Shri _______________________________ Resident of ____________________________hereby certify that none of my relative (s) as defined above is/are employed in IUCAA. In case at any stage, it is found that the information given by me is false/incorrect, IUCAA shall have the absolute right to take any action as deemed fit without any prior intimation to me”.

The certificate in case of Proprietorship Firm shall be given by the proprietor; for Partnership Firm certificate shall be given by all partners and in case of Limited Company, by all Directors of the company. However, Government of India/Financial Institutions nominees and independent non-official part-time Directors appointed by Govt. of India or the Governor of the State are excluded from the purview of submission of this certificate while submitting tenders by Limited Companies.

Any breach of these conditions by the Company or Firm or any other person, the tender/work will be cancelled and Earnest Money/ Security Deposit will be forfeited at any stage, whenever it is so noticed. IUCAA will not pay any damages to the company or Firm or the concerned person but damages arising on account of such cancellation to be borne by the contractor. The Company or Firm or the person will also be debarred for further participation in the tender in the IUCAA. Further, any breach of this condition by the tenderer would also render him liable to be removed from the approved list of contractors of IUCAA. If however, the contractor is registered in any other Department he shall also be debarred from tendering in IUCAA for any breach of this condition.

7.0	The tender for the work shall remain open for acceptance for a period of 90 (Ninety) days from the date of opening of the tenders. If any tenderer withdraws his tender before the said period or issue of letter of acceptance/intent, whichever is earlier, or, makes any modifications in the terms and conditions of the tender which are not acceptable to the IUCAA, then the IUCAA shall, without prejudice to any other right or remedy, be at liberty to forfeit 50% of the said earnest money as aforesaid.

8.0	This Notice Inviting Tender (IUCAA ) shall form a part of the Contract Document. In accordance with clause 1 of the contract, the letter of acceptance shall be issued first in favour of the successful Tenderer/ Contractor.  The contract shall be deemed to have come into effect on issue of letter of acceptance of the tender. On issue of letter of award, the successful Tenderer/ Contractor shall, within 10 days from such date, formally sign the agreement consisting of:

a) 	The Notice Inviting Tender, all the documents including additional conditions, specifications and drawings, if any, forming part of the tender, and, as issued at the time of invitation of tender and  acceptance thereof together with any correspondence leading thereto.

b) 	Agreement signed on non-judicial stamp paper as per Performa annexed to the tender document.

Signature

A.O. (Purchase)

IUCAA, Pune-07

##### APPENDIX TO FORM OF TENDER

SUMMARY OF COMMERCIAL TERMS :

(Please refer Conditions of Contract for detailed explanation of Commercial Terms)

| Sr. No. | ITEM | DETAIL |
| --- | --- | --- |
| 1 | Earnest Money | Rs. 20000/- (Rs. Twenty Thousand only) in the form of Demand draft drawn on Nationalised Bank in favour of Inter-University Centre For Astronomy and Astrophysics payable at Pune in a separate sealed envelope. |
| 2 | Mobilisation Advance | NIL |
| 3 | Security Deposit | The contractor should deposit 5 % of Contract Value within 10 days of issue of LOI. The EMD amount will be adjusted against security deposit. |
| 4 | Retention money against total works | The Retention Money will be held @ 5% of the final bill value. Security Deposit will be converted to Retention amount and it will be released only after completion of defect liability period of one year. |
| 5 | Advance against Materials brought to site | Employer may pay only 50 % secured advance against approved materials brought at site by contractor. For point wiring, the break up for payment purpose shall be as follows: Conduiting – 25% Wiring – 25% Switches & Termination – 50% |
| 6 | Time of Completion | Eight months from the 7th (Seventh) day after the date of issue of letter of award of work |
| 7 | Compensation for Delay / Liquidated Damages | Half percent of Contract Price per week of Delay subject to a ceiling of 5% of final Contract Price. |
| 8 | Maintenance/ Defect Liability Period for total Works | 12 Months from the date of Completion of all Works and acceptance by Owner. |
| 9 | Interim Bills Periodicity | Maximum once a month |
| 10 | Time within which payment of Interim Running bill to be made after Project Manager’s Certification | Project Manager’s certification within 14 days of receiving the correct Interim invoice. Payment by Owner within 14 days of the issue of certificate for payment by the Project Manager. |
| 11 | Time within which payment of Final bill to be made after Project Manager’s Certification | Project Manager’s certification within 30 days of receiving the correct Interim invoice. Payment by Owner within 45 days of the issue of certificate for payment by the Project Manager. |
| 12 | Minimum Amount of Third Party Insurance (CAR Insurance Policy) | Bodily injury and Property damage not less than Rs. 1,00,000/- (Rs. One Lakh only) in each accident at each job site and not less than Rs. 5,00,000/- (Rs. Five Lakh only) for all accidents at all job sites as per prevailing Laws. |
| 13 | Workman’s Compensation Insurance | As per prevailing Laws Contractor must have policy against this law. |
| 14 | ESI, PF & other regulatory rules & laws. | Contractor to cover his workers & staff under ESI, & PF scheme and comply with local laws & statutes dealing with employment of persons necessary reports to be submitted. |
| 15 | Workers accommodation | Contractor to make his own arrangements for accommodation of his workers & staff including site office, godown, storage yard, etc. outside site i.e. not with Owners premises. |
| 16 | All Inclusive Rates | Rates to be inclusive of all taxes & duties including. octroi, works contract/ turn over tax, etc. till the completion of work. |
| 17 | Venue of Arbitration and Arbitrator | Pune. Sole Arbitrator i.e. The Director, Inter-University Centre For Astronomy and Astrophysics, Pune. |
| 18 | Jurisdiction of Courts | Pune. |

General Conditions of Contract

DEFINITIONS:

In the Contract (as herein after defined) the following words and expressions shall have meanings here by assigned to them, except where the context otherwise requires: (In alphabetical order)

  - Approved/Approval:  Approved/Approval shall mean approved/approval in writing

  - Approved Equal:  Approved Equal shall mean an alternative product or service approved by the Project consultant being equivalent to that specified in the Contract Documents with prior approval of the Owner.

  - Construction Programme: ‘Construction Programme’ shall mean the programme to be furnished by the Contractor along with the Tender as prescribed in Notice Inviting Tender.

  - Contract: The Contract shall mean the agreement between the Owner and the Contractor for the proper execution and successful completion of the Work in accordance with the Contract Documents and further documents as may be expressly incorporated in the letter of intent/ acceptance.

  - Contractor: The Contractor shall mean the person or persons, firm, company or consortium whose tender has been accepted by the Owner and includes the Contractor's legal representatives, successors and persons assigned with prior approval of the Owner.

  - Contractor’s Representative: The Contractor’s Representative shall mean the person or party duly appointed by the Contractor, act for and on its behalf on a day-to-day basis during the construction of the Work and the Project. Any action to be taken by the Contractor may be taken on the Contractor’s behalf by the Contractor’s Representative. The Contractor’s Representative shall be considered a “key person” for purposes of the General Terms of Contract. The Contractor shall provide an authority letter designating the Contractor’s Representative for the project.

  - Contract Documents: The Contract Documents shall collectively mean the documents to be listed in the Contract between the Owner and the Contractor and all modifications thereof and additions thereto incorporated in and made to any of those documents during the term of the Contract.

  - Contract Price:  Shall mean the total of price referred to in the Contract Documents for the Contractor’s performance of the Work. The prices mentioned in the order are firm and not subject to any escalation for any reason whatsoever unless specifically agreed by us. The charges for delivery at site and installation complete and the freight, insurance, loading, unloading, packaging and all other applicable charges involved in delivery of finished and installed product at site is included in the rates and the same shall be the responsibility of the Contractor. The total cost mentioned above shall cover cost of all equipment/ material, labour, wastage, transport of equipment/ materials to site, profit, custom clearance (if applicable), transit insurance (if applicable), installation, testing, commissioning and all incidentals complete. The bidder should quote their prices inclusive of all Taxes & levies. No extra claim for taxes will be entertained. The total cost is also inclusive of any shop drawings preparation (till the same are approved by consultants), engineering and site visits during the execution. The Contract is neither a fixed lump sum contract nor a piece work contract, but is an item rate contract to carry out the Work according to the actual measured quantities at the rates contained in the schedule of rates and probable quantities as provided in the Priced Bill of Quantities with Detailed Specifications. Item rates quoted in the bid proposal will be firm until the end of the contract. The Contract Price shall not exceed the amount as indicated in the Letter of Intent/Purchase Order. Amounts in excess of this number, not approved in advance by the Owner’s Representative shall be at the Contractor’s expense. The Contractor has to closely monitor the quantities and cost and obtain an Approval from the Owner/Project Consultant well in advance for any change outside the scope of the Work which would cause the cost of the Work to exceed the Contract Price as indicated in the Letter of Intent. No escalation in prices shall be allowed for any reason whatsoever during the period of the project.

  - Consultant: Shall mean any person or agency duly appointed by the Owner. Project consultants’ to act as ‘CONSULTANT’ to render consultancy services in any area/field of activity connected with and arising out of the Contract under a separate agreement setting out the consultant(s) responsibilities and terms.

  - Defect (S) Liability Period: Defect(s) Liability Period shall be 12 months after Virtual Completion and any period extended as a result of rectification of the Work/change orders, between the Virtual Completion and the Final Completion of the Work, and during which period the Contractor shall be bound to replace and/or rectify and make good all defective materials, equipment and/or workmanship which arise in the Works or come to notice subsequent to the Virtual Completion of  the Works and prior to the Final Completion of the Works without requiring the Owner to bear any additional charges what so ever.

  - Drawings: ‘Drawings’ means all drawings, details and sketches along with the technical information therein, furnished by the Project consultant/ Consultant to the Contractor under the Contract and any modifications of such drawings or such other drawings as may be from time to time be furnished or approved in writing by IUCAA. All shop drawings, samples, patterns, models, operation and maintenance manuals, Product data and other technical information of a like nature submitted by the Contractor shall also be referred to as 'Drawings'.

  - Final Completion: Final Completion will be deemed to have been achieved when at the end of the Defects Liability Period, all snags identified by the Project consultant have been remedied to the satisfaction of IUCAA, a Final Completion Certificate has been issued by the Project consultant when all the requirements of the Contract have been met and complied with and when all the defective items of Work and defects have been replaced and/or rectified and made good as directed by and to the satisfaction of the Owner.

  - Force Majeure: Force Majeure are risks due to riots (other than those among Contractor's or its subcontractor’s/ supplier’s employees) and civil commotion (in so far as both these are uninsurable), war (whether declared or not), invasion, act of foreign enemies, hostilities, civil war, rebellion, act of terrorism insurrection, military or usurped power, an act of Government, an act of God, such as lightening, earth quake, unprecedented floods, tornado, and damage from aircraft etc.

  - Headings: The headings in these General Conditions of Contract shall not be deemed to be part thereof or to be taken into consideration in the interpretation or construction thereof or of the Contract.

  - Letter of Intent : ‘Letter of Intent’ shall mean the document issued to the successful tenderer by the Owner signifying the Owner’s in-principle intent to enter into the Contract

  - Measurement Books: The “measurement books” shall mean the books maintained during the currency of the project to record all measurements qualifying for payment. The contractor shall maintain measurement books of all work done by them. The contractor shall get the measurement books verified by IUCAA authorities.

  - Nominated Sub Contractor: "Nominated Sub-Contractor" refers to those specialists, tradesmen and others, whose credentials as well as quotations are evaluated and approved by the Owner and then nominated for executing special works or supplying special equipment or materials, for which provisional sums are included in the Contracts. Such agencies shall be deemed to have been employed by the Contractor.

  - Owner:  The Owner shall mean “IUCAA”, and the term Owner includes successors, assigns and affiliates.

  - Owner’s Representative: Owner’s Representative shall mean an employee/consultant of the Owner duly authorized to represent the Owner at site.

  - Project: Project shall mean the total execution of the Work performed under this Contract for the “Internal Electrification Work of New Telescope Building at IGO, Giravali”.

  - Public Holiday : ‘Public Holiday’ shall mean any day, which is declared as a public holiday by the Government of India or the State Government.

  - Project Coordination Services : ‘Project Coordination Services’ refers to those services, which need to be carried out by the Contractor in coordinating its work with the other agencies working at the Site as per instructions of the Owner / Project consultant. Such services shall be at no extra cost to the Owner and must be to the full satisfaction of IUCAA / Project consultant.

  - Project Consultant : The ‘Project Consultant’ mean any person /agency appointed by IUCAA as a project consultant. The Project consultant shall be authorized to represent and act on behalf of the Owner on a day-to-day basis during all stages of the Project. All communications, approvals and decisions to be taken in connection with the Project consultant’s services shall be channeled through IUCAA.

  - Provisional Sum: Provisional sum shall mean a lump sum included in the tender documents representing the estimated value of the Works for which details are not available at the time of issue of tender. For example: Housekeeping, provision of site office etc.

  - Records and Audits : ‘Records and Audits’ shall mean the books and records required to be maintained by the Contractor in such manner, so as to enable the Owner/ Project consultant  to carry out effective financial control.

  - Retention Money : ‘Retention Money’ shall have the same meaning ascribed to it in clause no. 29.3.

  - References and Cross-References To Clause And Sub-Clause Numbers : Unless specifically stated otherwise, all references and cross-references made to clause and sub-clause numbers in these General Conditions of Contract refer to the clauses and sub-clauses of the General Conditions of Contract itself.

  - Schedule of Rates : ‘Schedule of Rates’ shall refer to the rates forming the basis for the Contract Price, as provided in a schedule to the Contract

  - Singular and Plural: Words in the singular also include the plural and vice versa where the context requires.

  - Site: The Site shall mean the location “Internal Electrification work of New Telescope Building at IGO, Giravali.”.

  - Specifications: "Specifications" means the technical specifications for the Work included in the Project consultant’s Drawings and the Electrical/Civil/MEP/ Other Works Technical Specifications, and any modification thereof or addition thereto.

  - Sub-Contractors: “Sub-Contractors” shall mean the persons, firms, companies or agencies who after approval of the Owner/ Owner’s Representative/ Project consultant , have entered into a direct Contract with the Contractor in respect of any part of the Work and any later package of the Project, and include the Sub-Contractors' legal representatives, successors and permitted assignee. The Contractor shall have full responsibility for the actions and work of any Sub-contractor whether contracted by the Contractor to perform portions of the Work or any later.

  - Tender: “Tender” shall mean the Contractor’s priced offer for execution and completion of Work and remedying any defects arising therein, in strict accordance with the Contract Documents as issued with the Tender and as per the agreement signed by the Contractor thereafter.

  - Tender Documents: “Tender Documents” shall mean the Contractor’s Proforma of Bank Guarantee for Performance Bond, the Proforma of Bank Guaranty against Mobilization Advance, , the proforma of Bank Guaranty against Retention Money and Notice Inviting Tender, General Conditions Of Contract, Special Conditions Of Contract, Works Technical Specifications, Bill Of Quantities With Detailed Specifications, Environmental, Health & Safety (EHS) Plan, Preliminary Project Construction Schedule, Drawing – Site Location, Drawings Of Project consultant & M&E Services Works and any other related documents.

  - Temporary Works: Temporary works mean all temporary works of every kind required for the execution of the Work by the Contractor.

  - Terms “and”, “or”, “and/or”: The terms “and, “or”, “and/or” used in context with the description or enumeration of two or more items or components of work of documentation or anything similar shall mean as is relevant and applicable to the text.

  - Tests on completion:   Tests on completion shall mean all the system testing required to be done by the Contractor, to the entire satisfaction of Project Consultant, Owner and Owner’s representative, prior to Handing over the Site.

  - Vendors: “Vendors” shall mean and include all suppliers, contractors, sub-contractors, nominated sub-contractors engaged for the Project.

  - Virtual Completion: Virtual completion will be deemed to have been achieved upon a Virtual Completion Certificate being issued by the Project Consultant, when the Work, according to IUCAA and Project consultant, has been completed in every respect in conformity with the Contract Documents and are ready and fit for the intended purpose, complete with all systems and services having been tested and commissioned.

  - Written Notice: Written Notice shall be deemed to have been duly served if delivered in person to the authorized representative of the firm / company for whom it is intended, or if hand delivered at and a written delivery receipt obtained from such person or if sent through e-mail when confirmed through electronic mail (e-mail) as received by such person.. In case where written notice is sent by fax or courier service or speed post with acknowledgement to the last business address known to the party who gives the notice it shall be deemed to have duly served when it is actually served upon the other party.

  - Works: “Works” shall mean and include all materials, plant and machinery, equipment and labour necessary to execute the Project in full compliance with the requirements of the Contract Document.

  - Working day: A working day is defined as any day between Monday and Saturday, both inclusive, and excluding any Public Holiday as notified by the Government of India/State Government.

2.0 SCOPE, EXTENT, INTENT AND OTHERS

2.1 	Scope: The general character and the scope of the Work shall be as illustrated and defined in the Drawings, Specifications, Schedule of Rates, BOQ and other Contract Documents.

2.2 	Extent: The Contractor shall carry out and complete the Work under the Contract in every respect, and work shall include the supply of all labour, equipment, materials, plant and machinery, tools, transportation, form work, scaffolding and all things necessary for the proper execution and successful completion of the Work in accordance with the Contract Documents to the directions and satisfaction of IUCAA / Project consultant. The Contractor shall be fully responsible and liable for all matters in connection with or arising out of or being a result or consequence of its carrying out or omitting to carry out any part of the Work. Where any parts of the Work may be executed by or through Sub-Contractors, such responsibility and liability of the Contractor shall cover and extend to the work of all such Sub-Contractors.

2.3 	Intent:  The Contract Documents shall be binding on the Contractor/ Contractor’s Representatives/ Sub-Contractors as the case may be. Wherever it is mentioned in the Contract Documents that the Contractor shall perform certain work or provide certain facilities and services, it is understood that the Contractor shall do so at its own cost. Materials or work described in the Contract Documents which have a well known technical or trade meaning, shall be held to refer to such recognised standards as are applicable to them.

2.4 	Instructions of  Estate  Manager: The Project consultant may from time to time, through the Estate Manager, issue further supplementary Drawings, written instructions, details, directions, and explanations, which shall be collectively referred to as the ‘Instructions of  IUCAA authorities. The Contractor shall forthwith comply with and duly execute the work comprised in such Instructions of IUCAA authorities, provided always that verbal instructions, directions and explanations given to the Contractor or Contractor’s Representative by the Project consultant or IUCAA authorities shall, if involving a variation, be confirmed in writing immediately thereafter by IUCAA.

2.5 	Approval of Estate Manager: Approval of the Estate Manager shall always mean approval in writing. The onus shall be on the Contractor to obtain all the necessary approvals in writing. Such approvals, however, shall not relieve the Contractor of any of its responsibilities under the Contract.

  - Increases/Decreases to scope of Work: The Owner reserves the right to increase or decrease the scope of the Work on any or all items or to change the nature of the Work involved in any or all items or to completely delete any items of the Work under the Contract. The Contractor shall not be entitled to claim for loss of anticipated profits, for mobilization of additional resources, or for any other such reason on account of these change orders. In the event that the Owner elects in writing to add an item to scope of the project or to delete an item from its scope, the Owner shall be entitled to increase/ reduce (as the case may be) an appropriate amount from the Contract Price.

2.7 	Items of work for completion: The Contractor is bound to carry out any items of Work necessary for proper execution and completion of the Work even though such items of work may not be expressly be described in the Contract Documents.

2.8 	Access for Owner, Project consultant : The Owner, Owner’s Representative,  the Project consultant, and their respective consultants shall at all times have access to the Work and the Site and to the workshops or other places of the Contractor where the Work is to be so executed and in workshops or other places of Sub-Contractors and suppliers. The Contractor shall by a term in its Sub-Contracts so far as possible, secure a similar right of access to those workshops or places for the Owner, Owner’s Representative, Project consultant, and their respective consultants and shall do everything for the purposes of carrying out inspections to ascertain and ensure that Work is being carried out in conformity with the Contract Documents or for any other purpose in connection with the Work under the Contract.

3.0 	PROJECT CONSULTANT / OWNER’S REPRESENTATIVE, CONTRACTOR & CONTRACTOR’S REPRESENTATIVE:   The status, duties and responsibilities of the Project Consultant / Owner’s Representative, and Contractor/ Contractor’s Representative shall be as detailed below:

3.1 Role and responsibilities of the IUCAA Estate Manager / Department

i. The Estate Manager shall be responsible for the day-to-day supervision, progress monitoring, co-	ordination and direction of the Project, and generally to ensure that the Work is carried out in all respects 	in strict conformity with the Contract Documents and timelines.

ii. The Estate Manager shall have the authority to stop the Work whenever such stoppage may be 	necessary to ensure the proper execution of the Project. The Contractor shall provide all the necessary 	facilities to the Estate Manager in the performance of his duties as a Estate Manager and shall comply with 	all instructions as may be issued by the Estate Manager. The Contractor shall refer all matters relating to 	the performance of the Contract to the Estate Manager. The Contractor shall not be entitled to claim 	extensions, extra costs or losses in this regard.

iii. The Estate Manager shall observe sound and established engineering practices using latest standards, 	codes and regulations, as applicable for the purpose specified and suitable for respective uses intended. 	Supervision over the Contractor shall be maintained by Estate Manager who shall exercise constant and 	continuous supervision and control over quality, workmanship and materials, plant, machinery, equipment 	etc. used for the Project as and when may be required.

iv. Estate Manager will work in close co-operation and co-ordination with the Project consultant for the 	execution of the Project in accordance with the Contract Documents.

v. All communication by the Contractor with the Owner or the Owner’s consultants shall be done through 	the Estate Manager.

3.2 	Decisions: The Estate Manager in consultation with the Project consultant/ Consultant shall make decisions on all matters relating to the execution and progress of the Project, including the claims and queries of the Contractor. The decision, opinion, direction and interpretation of the Estate Manager (in consultation with Owner and/ or Project consultant/ Consultant), with respect to any or all matters including the following matters shall be final and binding on the Contractor, except for matters involving financial implications which shall be decided in consultation with and with the prior written approval of the Owner. Notwithstanding the generality of the foregoing, unless stated to the contrary below, the decision of the Estate Manager in respect of the following actions shall be binding upon the Contractor:

i. Any discrepancy in the Drawings and Specifications;

ii. The removal and/or re-execution of any work already executed by the Contractor.

iii. The dismissal from the Site of any person employed upon the Work by the Contractor or the Sub-	Contractor.

iv. The opening up for inspection of any part of the Work covered up.

v.  All materials and workmanship used by the Contractor or the Sub-Contractors.

vi. Everything that must be provided or done by the Contractor in order to properly executes and 	successfully completes the Work under the Contract.

vii. Delay and extension of time involved in the execution of the Works (only with prior approval of 	Owner).

viii. Supervising the replacing and/ or rectifying and making good all defective items of work and during 	the Defects Liability Period.

ix. Removal of any material/equipment/plant and machinery brought by the Contractor to the Site for 	execution of the Work.

3.3 Role and Responsibilities of the Contractor’s Representative:

i.The Contractor’s Representative shall represent the Contractor at the Site. The Contractor’s 	Representative shall be on Site at all times during performance of the Work and the Project Coordination 	Services and shall be responsible for the day-to-day interaction with the Estate Managers.

ii. The Contractor’s Representative shall have adequate experience in handling similar kind of projects, competent enough and have the authority to make and communicate all decisions called for in this Contract to be made by the Contractor. The Contractor’s representative may be required to produce appropriate documentation and referrals in respect of previous assignments. The Contractor’s Representative shall be responsible for the day-to-day supervision and oversight of the Project Coordination Services, including, without limitation, the EHS Plan implementation.

iii. The Contractor shall submit to IUCAA the name and other details of the Contractor’s Representative within 7 days of execution of contract.

3.4 	Contractor’s Responsibilities: The Contractor shall have the following responsibilities in carrying out the Work and the Project Coordination Services.

i.The Contractor shall, on the instruction of the Estate Manager, immediately dismiss from the Work any person employed thereon by him who may, in the opinion of the Estate Manager, be incompetent or who engages in unlawful or disorderly conduct, and such persons shall not be re-employed on the Work without the prior written permission of the Estate Manager.

ii. Contractor shall indemnify the Owner for loss suffered by the Owner on account of any act/ omission/ neglect of the Contractor's workers, employees and Sub- contractors etc.

iii. The Contractor shall comply with all safety standards to the satisfaction of the Owner’s  representative/ Estate Manager.

iv. The Contractor shall take full responsibility for the management & supervision of the Sub-contractors and the Nominated Sub-Contractors and the Contractor’s Representative. The Contractor shall act as an independent contractor in the performance of its obligations under the Contract. The employees and the Sub-contractors utilized by the Contractor shall not be construed as the Owner’s employees and shall work under the control and management of the Contractor who shall be solely responsible for their acts & related risk. The Contractor shall be solely responsible for the payment of compensation and all statutory benefits of its employees and the employees shall be informed that they are not entitled to any of the Owner’s employee benefits. The Contractor and not the Owner shall be solely responsible for deduction and/or payment of all statutory payments including without limitation, provident fund, ESI, MLWF, workers’ compensation, disability benefits and unemployment  insurance or for withholding and paying employment taxes viz. Profession tax and Income tax etc for the Employees. The employees and the Subcontractors shall affirm they are not employees of the Owner for any  purpose and that they shall not exercise any rights, seek or be entitled to any benefit accruing to the regular employees of the Owner.

v. The Contractor shall ensure that all Sub-contractors engaged by it exercise such skill, care and technical competence to represent a high standard within their respective professions or trades as is appropriate for the satisfactory execution of their work and services.

vi. The Contractor shall exercise constant and continuous supervision and control over the workmanship, materials, plant, machinery, equipment etc used in the Work and report on the status of the same to the Owner’s Representative and Estate Manager as and when required in terms of the Contract.

vii. The Contractor shall be responsible for obtaining all necessary permits, approvals, certificates and the like and submit the same to the IUCAA Estate Manager prior to the commencement of the Works.

viii. All the obligations and responsibilities of the Contractor under the Contract shall be duly fulfilled subject to the satisfaction of the Owner’s Representative and IUCAA Estate Manager.

ix. Any activity conducted or responsibility assumed by the Owner’s Representative or IUCAA Estate Manager shall not relieve the Contractor of any of its obligations and responsibilities under the Contract.

x. The Contractor shall observe sound and established engineering practices in the execution and completion of the Works in accordance with the Contract. The Contractor shall use latest standards, codes and regulations, as applicable for the purpose specified and suitable for respective uses intended. The Contractor must keep at site the latest IS codes for quick referencing.

4.0 SITE:

4.1 Contractor to satisfy itself about site conditions: The Contractor represents that before tendering for the Work, the Contractor has visited the Site and satisfied itself about the Site conditions for construction and for logistics and smooth flow of workmen and materials as well as permission from appropriate governmental authorities for this purpose. The Contractor has examined the Site and taken note of the correct dimensions of the Work, and facilities for obtaining any special articles called for in the Contract Documents. The Contractor has also made its own assessment and obtained all information on the Site constraints and on all matters that will affect the execution, continuation, progress, and completion of the Works. Any extra claims made in consequence of any misunderstanding, incorrect information on any of these points or on the grounds of insufficient description or information shall not be entertained or allowed at any stage

4.2 Access to site by the Contractor : The access to the Site will be given immediately on award of the Contract to the Contractor and the Site shall be shared with other Vendors as applicable. The Contractor shall upon being given such access commence the Work and diligently proceed with the execution of the Work in accordance with the Contract Documents. Access to the Site by the Contractor shall be merely a licence for carrying out the construction of the Work under the Contract, and the Contractor shall not by his being allowed such entry on the Site, acquire any right, lien or interest either in the Work carried out by them under the Contract or anything appurtenant or attached thereto or to any part of the Site, and its claim will only be in the nature of money found due and payable to them in accordance with the payment certificates under the provisions contained herein. The Work shall be free from all liens, charges and claims of whatsoever nature from any party other than the Owner. The Owner shall have a lien over all work performed by the Contractor, Sub-Contractor and Vendors and also for the materials and equipment brought on Site by them.

5.0 	TYPE OF CONTRACT:  The Contract shall be an item rate Contract only to execute the Project according to the actual measured quantities, at the rates contained in the Schedule of Rates and probable quantities as provided in the Priced Bill of Quantities with detailed specifications. The Contractor shall be entitled to payment, in Indian Rupees, of no more than the Contract Price as stated in the Letter of Intent, in consideration of the Work performed and for the completion of the Work to the satisfaction of the Owner/ Owner’s Representative. The Contractor understands and agrees that the amount payable is assessed on a re-measurable basis in accordance with the tendered rates. However, the Contract Price may be altered on account of a change order issued in accordance with Clause 31 hereto. The Contract Price shall include payment for the supply of all labour (including payment to the Sub-Contractors), equipment, materials, plant and machinery, tools, transportation, framework, scaffolding, construction of civil works and shall also include all applicable taxes including the WCT, duties, octroi, levies, royalties, fees, insurance premiums, contributions towards employees benefits including ESI and PF and funds, provision and distribution of power and water and all services and activities constituting the Scope of Work defined in the General Conditions of Contract. The Contract Price shall also include the Contractor's establishment, infrastructure, overheads and all other charges, and shall generally be inclusive of every cost and expense required by the Contract to be borne by the Contractor and necessary for the proper execution and successful completion of the Work under the Contract in conformity with the Contract Documents and the best engineering and construction practices and to the satisfaction of the Project consultant, IUCAA Estate Manager. No escalation of the prices shall be allowed during the period of the Contract for any reasons whatsoever and the prices quoted by the Contractor shall be deemed to be fixed and constant throughout the duration of the Project and Defects Liability Period.

6.0 	TAXES, DUTIES ETC.: The total cost mentioned above shall cover cost of all equipment/ material, labor, wastage, transport of equipment/ materials to site, profit, transit insurance (if applicable), installation, testing, commissioning and all incidentals complete, inclusive of all Taxes and duties. However, any statutory variation shall be absorbed by you without any impact being passed onto the clients. The total cost is also inclusive of any shop drawings preparation (till the same are approved by consultants), engineering and site visits during the execution.

7.0 	NOTICES, FEES, BYE-LAWS, REGULATIONS, ETC. : The Contractor shall comply with all applicable laws and government acts including the by-laws or 	regulations of local authorities relating to the Work in so far as construction, fabrication and installation 	activities are concerned, and it shall obtain from the local authorities all permissions and approvals 	required for the plying of trucks, construction of machinery etc., and also for construction of temporary 	offices, labour camps, stores and other temporary structures in connection with the Work, and the 	Contractor shall give all notices and pay all fees and charges that are and that can be demanded by law 	there under. In the Contract Price for the Work, the Contractor shall allow for such compliance and work, 	and for the giving of all such notices, and shall include the payment of all such fees and charges. However, 	no title or proprietary interest of any kind shall be created in favour of the Contractor by virtue of erection 	of the temporary structures.

8.0	LICENCES AND PERMITS:  The Contractor shall directly obtain all licences and permits for the materials under Government control, and those required to be obtained by the Contractor for the execution of the Work. The Contract Price shall include all transportation charges and the other expenses that may be incurred in this connection.

9.0 	ROYALTIES AND PATENT RIGHTS: All royalties or other sums payable by the Contractor in respect of the supply and use of any patented articles, processes or inventions for the carrying out of the Work as described by or referred to in the Contract Documents, shall be deemed to have been included in the Contract Price. The Contractor shall keep the Owner indemnified against all such demands as may arise on account of payment of royalties.

10.0 	INSURANCE: Before commencing the execution of the Work, the Contractor, without limiting his obligations and responsibilities under this Contract shall insure in the joint names of the Contractor and Owner, against his liability for any material or physical damage, loss or injury which may occur to any property, including that of the Owner/ IUCAA Estate Manager / Project consultants, Sub-Contractors, Vendors or to any person including any employee of the Owner/ Estate Manager / Project consultant, Sub-Contractors, Vendors or a member of the general public, by or arising out of the execution of the Work or in carrying out the Contract. The contractor shall ensure that the Owner and Project Manager are named as an additional beneficiary in all such insurances obtained. The contractor shall provide a copy of such policy on or before the date of execution of the Contract. The Contractor shall insure against all such liabilities and shall continue such insurance during the currency of the Contract including the Defects Liability Period. Premium for all insurance policies shall be paid and borne by the Contractor and shall not be reimbursable. The Contractor shall produce to IUCAA Estate Manager all certificates of insurance with in 7 (seven) days from the date of letter of intent/award. These certificates shall be fully executed and shall state that the policies cannot be cancelled until completion of the Contract. The Contractor shall obtain written confirmation of similar certificates from all Sub-Contractors and thereby assume responsibility for any claims or losses to the Owner resulting from failure of any of the Sub-Contractors to obtain adequate insurance protection in connection with their work and shall indemnify the Owner accordingly. It shall be obligatory for the Contractor to obtain and retain for all relevant times the insurance cover (in the joint names of the Contractor and Owner) under the following policies:

10.1 	Contractor's All Risk Insurance Policy to inter alia cover the following:

i. The entire contract value (including the Contract Price plus 10% of the Contract Price for the period of 		completion of the Works or any extended period.

ii. Civil commotion, riots, war and other disturbances

iii. All Plant and machinery owned by the Contractor for the project.

iv. Damage insurance against loss or damage by fire or any other disaster to the works.

10.2	Third Party Insurance Policy : The contractor shall take a Third party insurance to cover for any damages to third party. This policy shall be effective up to the end of the Project including any extensions granted and shall include any damage to the properties including surrounding and adjacent properties and/or injury including death to the persons of the general public and anyone else deemed to be third party subject to individual claims not exceeding Rs.5,00, 000/-limited to a maximum sum of Rs.50 Lakhs.

10.3 	Workman’s Compensation Policy :  Policy to cover Contractor's liability under Workmen's Compensation Act 1923, Minimum Wages Act 1948, Contract Labour (Regulation and Abolition) Act 1970 and other relevant Acts listed elsewhere to cover the Contractors liability under the applicable labour laws. This shall be for the period up to Final Completion of the Work. The Contractor’s liability under this policy shall also include the Sub-contractors liability under the applicable labour laws.

10.4 	Failure to insure:  If the Contractor fails to comply with the terms of this clause, the Owner may effect the insurance and deduct the expenses from any moneys that may be or become payable to the Contractor or may, at his option, refuse payment of any monies to the Contractor until the Contractor complies with this condition.

10.5 	No limit to liability: In addition to the liability imposed by law upon the Contractor for injury (including death) to persons or damage to property by reason of the negligence of the Contractor or his agents, which liability is not impaired or otherwise affected hereby, the Contractor hereby assumes liability for and agrees to hold the Owner harmless and indemnifies him from every expense, liability, payment, claim by reason of any injury (including death) to persons or damage to property suffered on account of any act or omission on the part of the Contractor, his employees, agents, servants, workmen, suppliers assigns or any of his Sub-Contractors, or any person directly or indirectly employed by any of them or from the conditions of the Site or any part of the Site which under the control of the Contractor or its employees or any of its Sub-Contractors, or any one directly or indirectly employed by either of them or arising in any way from the Work.

11.0 CONTRACTOR’S SITE ORGANIZATION, INFRASTRUCTURE AND RESOURCES :

11.1  Contractor’s representative and supervisory staff :

i. The Contractor shall at its cost provide and ensure continued effective supervision of the Work with the help of the Contractor’s Representative, assisted by full time qualified, experienced and competent engineers, supervisors, Safety officers, Safety stewards and adequate staff, to the satisfaction of the Owner’s Representative and the IUCAA Estate Manager for the entire duration of the Work.

ii. The Contractor shall submit its proposed site organization chart for the approval of the IUCAA Estate Manager.

iii. The Contractor’s Representative shall be on the Site at all times as the Work and the Project progresses and shall be responsible for carrying out the Work to the true meaning of the Drawings, Specifications, Conditions of Contract, Schedule of Rates, the other Contract Documents, and instructions and directions of the Owner’s Representative and the IUCAA Estate Manager.

iv. The instructions and directions given in writing to the Contractor’s Representative or to any of its assistants at the Site by the Owner’s Representative or the IUCAA Estate Manager shall be deemed to given to the Contractor officially. Attention is called to the importance of the Contractor requesting written instruction from the Owner’s Representative or the IUCAA Estate Manager before undertaking any Work where the IUCAA Estate Manager's and/or Owner’s Representative direction or instructions

are required. Any such Work done in advance of such instructions will be liable to be removed at the Contractor's expense and will not be paid for unless specifically approved in writing by the IUCAA Estate Manager and/or Owner’s Representative, as the case may be. It shall be the Contractor’s responsibility to provide written intimation to Owner’s Representative or the IUCAA Estate Manager, well in advance, all through the execution of the Project, if the work is likely to get disrupted or delayed due to non-issuance of drawings/ instructions.

v. All key staff employed at the Site by the Contractor shall be considered essential to the performance of the Work and the Project Coordination Services, and all key staff shall be subject to the approval of the Owner’s Representative. However such approval shall not relieve the Contractor of any of its contractual obligations with respect to the staff employed by the Contractor. No staff including the resident engineer and other technical supervisory staff shall be removed or transferred from the Work without the prior written permission of the Owner’s Representative or IUCAA Estate Manager.

vi. The Owner’s Representative and IUCAA Estate Manager shall, however, have the authority to order the removal from Site of any undesirable personnel from Contractor’s side due to their misconduct, incompetence or negligence in the performance of their duties. If key staff becomes unavailable for

performing the Work or the Project Coordination Services for reasons beyond the Contractor’s control, the Contractor shall immediately notify the Owner’s Representative to evaluate the impact of the same on the project. Prior to substitution or addition of any key staff, the Contractor shall obtain the Owner’s Representative’s written consent as to the acceptability of replacement or additions to such personnel.

vii. The Contractor shall at all times be solely responsible for the acts, omissions, defaults and neglect of all of its representatives, agents, servants, workmen and suppliers and those of its Sub-Contractors.

11.2 Man-power, plant and machinery:

i. The Contractor shall at its own cost provide and install all equipment, materials, plant, cranes, hoists, ladders, and scaffolding, necessary for the execution of the Work in conformity with the Contract Documents to the satisfaction of the Owner’s Representative and IUCAA Estate Manager. All machines, tools, trucks, formwork material, man-power and every thing else necessary for the proper and satisfactory execution and completion of the Work in accordance with the Contract Documents shall be provided by the Contractor at its own cost.

ii. The Contractor shall within one week of the award of Contract submit a complete list of its manpower, plant and machinery for the approval of the Owner’s Representative and IUCAA Estate Manager, which approval however, shall not relieve the Contractor of any of its responsibilities, obligations and liabilities under the Contract. The Contractor shall augment its manpower, plant and machinery without extra cost to the Owner whenever required or so directed by the Owner’s Representative/IUCAA Estate Manager in order to conform to the approved construction programme for the achievement of milestones and Virtual Completion of the Work.

iii. All the tools, equipment and machinery provided by Contractor for the execution of the Project should be in perfect condition. Any fault or non-operation of the tools, equipment and machinery, shall be rectified immediately by the Contractor and no time extension to the approved construction programme shall be allowed at all in the event of some fault of non-operation of tools, equipment and machinery.

11.3  	Security:  The Contractor shall at its own cost provide at all times adequate number of watchmen/ security personnel to guard the Site, the materials and equipment, to the satisfaction of the Owner’s Representative/ IUCAA Estate Manager. The Contractor shall at all times be fully responsible for the security of all materials and equipment on the Site, whether it’s own or those of any Sub-Contractor. Neither the Owner nor the Owner’s representative / IUCAA Estate Manager shall be responsible for any loss due to theft, fire, accident or any other reasons, whatsoever. Additionally, the Contractor shall, within seven days of the execution of the Contract, provide all necessary details of the security agency providing the watchmen/ security personnel for obtaining the written approval of the IUCAA Estate Manager.

11.4 	Water and electricity: Tap off’s for temporary water and electricity shall be provided on site at single source ( free of cost ).  The Contractor shall make its own arrangement thereafter from the Tap off’s for Works and all costs in relation thereto shall be borne solely by the Contractor.

11.5 	Scaffolding, Staging, Guard Rails, Barricades:  The Contractor shall at its cost provide steel scaffolding, staging, guard rails, barricades and safety barriers around all openings and at all edges, temporary stairs and other temporary measures required during the Project. The supports for the scaffolding, staging guard rails, barricades and safety barriers and temporary stairs shall be strong and adequate for the particular situations, tied together with horizontal pieces and braced properly. The temporary access to the various parts of the building under construction shall be rigid and strong enough to avoid any chance of mishaps. The entire scaffolding arrangement together with the staging, guard rails, barricades and safety barriers, and temporary stairs shall be to the approval of the IUCAA Estate Manager which approval shall not relieve the Contractor of any of its responsibilities, obligations and liabilities in relation to the safety requirements and for timely completion of the Work in accordance with the approved construction schedule. The use of wooden scaffolding on the Site is strictly forbidden.

11.6 	Safety Equipment: The Contractor shall provide all the personal protective equipments like safety helmets, safety boots/shoes, protective clothing, etc., at its own cost to the Owner’s, Owner’s Representatives, IUCAA Estate Manager’s, Project consultant’s & their team within three days from the execution of the Letter of Intent of the Tender

11.7 	Protection of Environment: The Contractor understands that the Site must be free from pollutants at the time of access to the Site and commencement of the Work. The Contractor shall comply with all applicable environmental laws and regulations and shall ensure that the Site is and remains free from pollutants till the end of the Project. The Contractor shall ensure inter alia, that neither the soil nor the ground water is polluted or contaminated by fuels or lubricants emitted by machinery operated on the Site or by other dangerous or poisonous substances which are or are deemed to be hazardous to the environment. Notwithstanding the above, the Contractor shall comply with all the directions and decisions of the IUCAA Estate Manager in this regard and all applicable environmental legislations in relation to the same including obtaining statutory consents and approvals as may be required.

Contractor thereof.

The Contractor shall ensure that all operations by the Contractor, its workmen, employees, Sub-Contractors to complete the Project and the remedying of any defects therein shall, so far as compliance with the requirements of this Agreement permit, be carried on so as not to interfere unnecessarily or improperly with:

a)  the convenience of the public, or

b) the access to, use and occupation of public or private roads, railways and footpaths to or of properties whether in the possession of Owner or of any other person.

c) the Owner’s operation and utilization of the facility at the Site; and

d) the Work of Vendors. If any hazardous or obnoxious materials (as defined by Indian law) are specified for use or are being used by Vendors, the Contractor shall keep record of such material and forthwith give written notice to the Owner and shall ensure that the Sub-Contractors and Vendors, as applicable, use, store and dispose of such hazardous or obnoxious materials strictly in accordance with all applicable laws.

12.0	Additional Safety Regulations: The Contractor shall continuously maintain adequate protection for the Work against fire and other hazards and shall protect the Owner’s property and the Site from damage or loss during the performance of this Contract. The Contractor also shall adequately protect property adjacent to the Site.

The Contractor shall take all necessary precautions for the safety of its employees, Subcontractors and the Vendors performing the Work and shall comply with all applicable safety laws and regulations to prevent accidents or injury to persons on, about, or adjacent to the Site. The Contractor shall be responsible for co-ordinating a safe working programme with the Owner’s Representative and the IUCAA Estate Manager. Such a programme shall include, and the Contractor shall be responsible for maintaining, the following safe working conditions and practices:

i. All combustible material, food matter, garbage, scrap, and other debris generated during the performance of the Work shall be collected and removed from the Site daily. Arrangements for scrap burning should be discussed with Owner’s representative.

ii. An adequate number and type of fire extinguishers shall be provided at the Site for fire control and shall be kept/maintained in satisfactory and effective working condition, at all times.

12.1 Requirement of Fire Extinguishers Each gas welding or burning, arc welding unit, tar pot, or open flame unit requires a fire extinguisher with it during operation.

12.2 Requirement of Equipment

The availability of fire blankets is recommended at the Site. Other equipment related conditions are as follows:

i. The Contractor shall use all equipment, which is in good condition. The Contractor shall not use or permit to be used the Owner's equipment and the Owner shall not use the Contractor's equipment without prior written permission of the other.

ii.When working in an occupied building or area, the Contractor must before commencement of work familiarize itself with the hazards of that area, such as the location of flammable substances and toxic fumes.

iii.  Materials and equipment intended for installation in the Work as well as the Owner's equipment and materials already in place are to be protected at all times from debris, weather, or any damage. The Contractor shall take all steps necessary to ensure the preservation condition of such equipment.

iv.  The Contractor's materials, tools, and equipment shall be stored only in areas approved by the Owner for this purpose.

v. Site access and parking by the Contractor's personnel shall be at locations designated by the Owner/ IUCAA Estate Manager. Only the Contractor's personnel necessary for the performance of the Work shall be permitted access to the Site. The Contractor and its employees and Sub-contractors shall adhere to all speed limits and traffic regulations at the Site.

vi. The Contractor and its employees and subcontractors shall strictly obey all "No Smoking" restrictions.

vii. The Contractor shall not operate or use or manipulate utilities at the Site without the Owner's prior written approval.

viii. No valves shall be turned off or on, or electrical disconnect switches operated except in an emergency. Any required utility "shut downs" will be scheduled and co-ordinated by the Owner’s Representative.

ix. The Contractor shall make any requests for utility manipulation or "shut downs" in writing to the IUCAA Estate Manager at least five days advance notice.

12.3. 	Safety with regard to site and housekeeping:

i. The use of intoxicants or unlawful drugs at the Site, in any degree, shall be strictly prohibited. The Contractor shall rigorously enforce this regulation.

ii. When overhead work is in progress in or around an occupied area, signs to denote such work prominently displaying “Overhead Work” shall be used or the area shall be protected by barricade.

iii. Dusty work, such as concrete breaking or demolition, in or near occupied areas, shall proceed only after wetting down the area and taking steps necessary to prevent dust from penetrating occupied areas and creating a nuisance.

iv. Care shall be taken not to block any door, passageway, safety exit, fire fighting equipment, or safety equipment with materials or equipment.

v.  Contractor shall maintain general cleanliness at site. All waste and debris shall be stored at designated place and disposed regularly. Site should be cleaned as per instruction given by Estate Manager at the end of day.

vi.  Materials must be piled, stacked, or stored in a neat and orderly manner.  All stacking, whether inside or outside a building, shall be parallel to or at right angles to the building line or fence.

vii.  When noisy operations of a prolonged nature are necessary in or near an occupied area, arrangements must be made with the Owner’s Representative for scheduling to minimize any nuisance in the occupied area.

12.4 	Non-compliance of Regulations

If the IUCAA Estate Manager or the Owner’s Representative notifies the Contractor  of non-compliance with the foregoing regulations, the Contractor shall immediately, if so directed, or in any event not more than Twenty four (24) hours after receipt of such notice, make all reasonable efforts to correct/ rectify such non-compliance. If the Contractor fails to do so, the Owner may suspend all or any part of the Work. The, Owner shall lift the suspension of the Work only upon the satisfactory corrective action undertaken by the Contractor in this regard. The Contractor shall not claim any extension of time to complete the Work or additional fees due to any such work suspension.

12.5 Implementation of Safety Measures Notwithstanding anything herein before contained, particularly in clause 12.5,

12.6 	and 12.7, the Contractor shall be liable to ensure and implement all safety measures, whether or not statutorily prescribed, to safeguard, preserve and protect the life, health and welfare of every workman employed/deployed/engaged directly or indirectly by the Contractor on the Site and in relation to or connected with the Work and all Vendors employed in later phases of the Project in addition to installing, providing every prescribed safety and protective equipment, clothing etc., and the mere absence of any reference to or specification of a particular statute or rule or regulation in this Contract shall not absolve the Contractor of an obligation to comply with every such law, rule or regulation. The Contractor shall be liable for all consequences/liabilities arising out of its violating any of the aforesaid provisions, including fines, penalties, compensations, damages, prosecutions, proceedings, medical expenditure and costs, rehabilitation costs and all other expenses connected therewith.

13.0 	CONTRIBUTION TOWARDS EMPLOYEE BENEFITS, FUNDS ETC.: The Contractor shall include in the Contract Price all expenses necessary to  meet its obligations for making contributions toward employee benefits funds (Such as provident fund, ESI benefits, old age pension and/or any other benefits/compensation legally payable) in compliance with all the statutory regulations and requirements. All records in this connection shall be properly maintained by the Contractor and produced for scrutiny by the concerned authorities, IUCAA Estate Manager and the Owner whenever called for.

14.0 	SETTING OUT AND SITE SURVEYS: The Contractor shall establish, maintain and assume responsibility for all bench marks and grid lines, and all other levels, lines, dimensions and grades that are necessary for the execution of the Work, in conformity with the Contract Documents. The Contractor shall establish its relation to the permanent benchmarks and boundary lines established at the Site. The Contractor shall verify and co-relate all the survey data available at the Site before commencing the Work and shall immediately report in writing any errors or inconsistencies to the IUCAA Estate Manager. Commencement of Work by the Contractor shall be regarded as its acceptance of the correctness of all survey and setting out data available at the Site and no claims shall be entertained or allowed in respect of any errors or discrepancies found at a later date. If at any time error in this regard appears during its progress of the Work, the Contractor shall at its own expense rectify such error to the satisfaction of the IUCAA Estate Manager/ Owner.The approval by the IUCAA Estate Manager of the setting out by the Contractor shall not relieve the Contractor of any of the responsibilities, obligations, and liabilities under the Contract.

The Contractor shall be entirely and exclusively responsible for the horizontal, vertical and other alignment for all levels and dimensions and for the correctness of every part of the Work, and he shall 	rectify effectively any errors or imperfections therein. All such rectifications shall be carried out by the Contractor at its own cost and to the instructions and satisfaction of the IUCAA Estate Manager. The 	Contractor shall employ qualified surveyors to carry out all the surveys and setting out works in this regard.

15.0 	DRAWINGS, SPECIFICATIONS, INTERPRETATIONS ETC.: Within 10 days from the issue of Letter of Intent/ Purchase/Work Order, the Contractor shall be furnished by the IUCAA Estate Manager and/or Owner’s Representative with one copy each of the Conditions of Contract, Specifications, and Schedule of Rates, without cost to Contractor for its own use and for the use of its Sub-Contractors until the completion of the Contract. Additional copies of Contract Documents will be supplied on payment at actual cost basis. Three copies of the working drawings shall be provided by the Project consultant through IUCAA Estate Manager to the Contractor as the Work progresses. The time and the date for the provision of the Drawings shall be mutually agreed between the Contractor and Owner’s Representative / IUCAA Estate Manager / Project consultant in conformity with the construction programme and with due regard for the need to order and specify materials and equipment to the Site. In general, the Drawings shall indicate the dimensions, positions and type of construction, the Specifications shall stipulate the quality and the methods and performance criteria, and the Schedule of Rates shall indicate the rates for each item of work for evaluating change orders. However, the above Contract Documents being complementary, what is called for by any one shall be binding as if called for by all. Matters not contained in the Specifications and in case of any ambiguities in the written Specifications of the Contract, the Works shall be executed as per relevant BIS codes and CPWD Specifications in that order of preference. If such codes have not been framed, the decision of the Project consultant in the matter shall be final and binding on the Contractor. Any Work indicated in the Drawings and not mentioned in the Specifications or vice versa, shall be deemed as though fully set forth in the Drawings or Specifications as the case may be. Work not specifically detailed, called for, marked or specified, shall be the same as similar parts that are detailed, marked or specified. From time to time during the progress of the Work, the Contractor will be issued with revisions of Drawings and written instructions by the IUCAA Estate Manager in connection with and necessary for the proper execution and successful completion of the Work. All such revisions of Drawings and written instructions shall be part of the Contract Documents and the Contractor shall be bound to carry out the work that is shown and detailed on all such Drawings and shall be bound to follow and comply with all such  Instructions. All Drawings and their subsequent revisions will be issued to the Contractor by listing such Drawings on the transmittals by the Project Manager. The Contractor shall maintain a Drawing register listing all Drawings and their latest revisions. All superseded Drawings shall be so stamped and withdrawn from circulation at the Site. It shall be the responsibility of the Contractor to ascertain and ensure that all the Work is carried out in accordance with the latest revisions of the Drawings issued to him. Should the Contractor fail to do so, all the rectifications and remedial work that may be required to conform to the latest revisions of the Drawings shall be at the Contractor's sole expenses.

Wherever it is mentioned in the Conditions of Contract, Specifications, and other Contract Documents that the Contractor shall perform certain work or provide certain facilities, it is understood that the Contractor shall do so at its own cost, unless otherwise provided in the said Documents.

The Contractor shall immediately in writing bring any errors or inconsistencies in the Drawings and Specifications to the attention of the IUCAA Estate Manager for interpretation or correction before proceeding with the affected portion of the Work, and no claims or losses alleged to have been caused by such discrepancies shall be entertained or allowed at any stage. Local conditions, which may affect the Work, shall likewise be brought to IUCAA Estate Manager attention at once. If at any time it is discovered that work, which has been done or is being done is not in accordance with the approved Drawings and Specifications, the Contractor shall correct the work immediately. Correction of such work shall be at the expense of the Contractor and shall not form a basis for any claims for payment or extension of time. The Contractor shall carry out all the rectification work only after obtaining the approval for the same from IUCAA.

The Contractor, in the execution of the Work, shall make no deviations from the Drawings, Specifications, and other Contract Documents. Interpretations and clarifications shall be issued by the Project Consultant / IUCAA, which shall be binding on the Contractor.

No scaling of any Drawing shall be done to obtain the dimensions. Figured dimensions on the Drawings shall be used for carrying out the Work. Drawings with large-scale details shall take precedence over small scale Drawings. Where any Drawings and details have not been provided but are necessary for the execution of the Work, it shall be the responsibility of the Contractor to seek these drawings and details in writing from IUCAA Estate Manager at least four weeks prior to the latest date by which the Contractor needs these drawings and details to suit the programmed execution of the Work. No extension of time shall be allowed for any delays caused due to the Contractor's failure to seek such details.

Drawings, Schedule of Rates, Specifications, and other Contract Documents, and all copies thereof furnished by the Project Manager shall be treated the Owner's property at all times. Such Drawings, Schedule of Rates, Specifications, and other Contract Documents shall not be used on any other work and shall be returned to the Owner at its request or at the completion of the Work in accordance with the Contract. In case of any discrepancy in the interpretation of drawings, the decision of IUCAA shall be binding.

16.0 	ASSIGNMENT AND SUBLETTING

The Contractor shall not assign this Contract or any part of it. The Contractor may, however, sub-contract any part of the Work with the prior written consent of IUCAA. The Owner/ Owner’s representative/ Project consultant/ Estate Manager  reserves the right to review and approve each Sub-contractor which the Contractor recommends at any time to engage to perform any services before such Sub-contractor is hired or performs any service. Any permission to sub-contract any parts of the Work shall not relieve the Contractor from any of its responsibilities, obligations, and liabilities under this Contract.

17.0 	NOMINATED SUB-CONTRACTORS:

As soon as practicable, but at least one week before awarding any sub-contract, the Contractor shall submit to the Project consultant, IUCAA Estate Manager and the Owner’s Representative in writing the names of the Nominated Sub-Contractors proposed for any part of the Work, for the approval of the same by the Project consultant / IUCAA . The Contractor shall employ such Sub-Contractors only after he has received confirmation in writing of such approval from Estate Manager and the Owner’s Representative. Such approval, however, shall not relieve the Contractor of any of its responsibilities, obligations and liabilities under the Contract. The Contractor shall be responsible for the acts, defaults, omissions and neglect of all Sub-Contractors and their agents, servants and workmen. The Contractor shall not employ 	any Sub-Contractor to whom Estate Manager or the Owner’s Representative object and/or does not approve. The Project consultant may by written instruction inform the Contractor, waiving the need for the Project consultant to specifically approve the Sub-Contractors in addition to the approval of IUCAA.

18.0 	SEPARATE  CONTRACTS: The Owner reserves the right to enter into separate other contracts in connection with the Project. The Contractor shall afford other contractors reasonable opportunity for their access to the Site, for the storage of their materials, and for the execution of their work, or if specified give assistance to such contractors for such purposes as are specified. The Contractor shall properly connect and co-ordinate its Work with that of the other contractors that may be employed or engaged by the Owner. If any part of the Contractor's Work depends for its proper execution or results upon the work of any other contractor, the Contractor shall inspect and promptly report in writing to IUCAA, any defects in such work that render it unsuitable for such proper execution and results. The Contractor's failure to inspect and report such defects shall constitute as an acceptance of the other contractor's work as fit and proper for receiving the work of the Contractor.

19.0 	CO-ORDINATION OF WORK :  At the commencement of the Work, and from time to time, the Contractor shall cooperate with other contractors, Sub-Contractors, persons engaged on separate contracts in connection with the Project, Vendors and the Project consultant and with the Owner’s Representative for the purpose of the co-ordination and execution of various phases of the Project. The Contractor shall determine and ascertain from the Vendors and persons engaged on separate contracts, in connection with the Project, the extent of all chasings, cutting and forming of all openings, holes, details of all inserts, sleeves, etc. that are required to accommodate the various services.

The Contractor shall determine and ascertain the routes of all services and positions of all floor and wall openings, outlets, traps, the details of all inserts, equipment and services and shall carry out the construction and making good of all "builder's work" in accordance with and as shown, described and/or measured in the Drawings, Specifications, and other Contract Documents. Also, the Contractor shall ensure that all required services, inserts, sleeves, embedment etc. are in place/position before he proceeds with its work. Should the Contractor fail to comply with these requirements and the consequence of such failure necessitates the breaking, re-doing and making good of any work, then the cost of all such breaking, re-doing and making good of any work shall be to the account of the Contractor and shall be borne by him. No breaking and cutting of completed work shall be done unless specifically authorized in writing by IUCAA Estate Manager. No work shall be done over broken or patched work without first ascertaining that the broken surface is adequately prepared and reinforced to receive and hold further work, as determined by Estate Manager. In order to ensure proper co-ordination is being undertaken, weekly meetings, chaired by SAO / IUCAA authorities will be held with the various contractors and at which coordination will be discussed and minutes of actions proposed circulated.

20.0	WORK ON NON WORKING DAYS:  If it is necessary for the Contractor or any Sub-Contractor to work on days other than Working Days or outside the normal working hours in order to keep up to the time schedule and meet the Construction Programme, the Contractor shall obtain the prior approval of IUCAA in writing. Even if any work is carried out at site on a non Working day with prior written permission of IUCAA, the Contractor shall be solely responsible for extra cost including but not limited to wages. Applicability of all other terms and conditions of contract on such days would be same as applicable for a Working day.

21.0	MATERIALS, WORKMANSHIP, STORAGE, INSPECTIONS ETC.:

21.1 Materials and workmanship: The Contractor shall be responsible for the establishment of a full and comprehensive quality control system for the Work. The system shall include, but not be limited to, the means of controlling the testing and receipt of materials, the inspection of the Work, the filing and 	ordering of Drawings and correspondence and the duties and responsibilities of staff members.

All materials and equipment to be incorporated in the Work shall be new and original. The materials, equipment, and workmanship shall be of the best quality of the specified type, in conformity with Contract Documents and the best engineering and construction practices, comply with the Specifications and to the entire satisfaction of IUCAA. This requirement shall be strictly enforced at all times and stages of the Work and no request for change whatsoever shall be entertained on the grounds of anything to the contrary being the prevailing practice. The Contractor shall immediately remove from the Work any materials, equipment and/or workmanship which, in the opinion of IUCAA Estate Manager  are defective or unsuitable or not in conformity with the Contract Documents and best engineering and construction practices, and the Contractor shall replace such rejected materials, equipment and/or workmanship with proper, specified, and required and approved materials, equipment and/or workmanship, all at its own cost within a period of seven (7) days from the date of  issuance of such notice. The Contractor shall, whenever required to do so by IUCAA Estate Manager   immediately submit satisfactory evidence and necessary test results as to the kind and quality of the materials and equipment.

21.2 Special makes or brands:

Where special makes or brands are called for, they shall be mentioned as a standard brand or make. Others brands or special makes of equivalent quality may be used provided the substituted materials are equivalent to the brand specified, and prior approval for the use of such substituted materials is obtained in writing from IUCAA Estate Manager. Unless substitutions are approved by the IUCAA in writing in advance, no deviations from the Specifications and other Contract Documents shall be permitted. The Contractor shall indicate and submit written evidence of the substituted material or equipment called for in the Specifications and other Contract Documents that

are not obtainable for incorporation in the Work within the time limit of the Contract. Failure to indicate this in writing within two weeks of the signing of the Contract will be deemed as sufficient cause for denial of any request for an extension of time because of the same. Alternative equivalent brands if suggested by the Contractor during construction may be considered provided the suggested brand fully meets the requirements and is acceptable to IUCAA. Any variation in price due to the use of alternate brands shall be permissible provided it is pre-approved in writing by the Owner’s Representative’s.

21.3 Proper scheduling and delivery of materials: All materials and equipment shall be scheduled and delivered so as to ensure a speedy and uninterrupted progress of the Work, and the same shall be properly stored.

21.4 List of Materials: Within seven (7) days of the signing of the Contract, the Contractor shall submit for the approval of the IUCAA a complete list of all materials and equipment the Contractor and its Sub-Contractors propose to use in the Work, of definite brands or makes, which differ in any respect from those specified, or the particular brand where more than one is specified as standard. The Contractor shall also list items not specifically mentioned in the Contract Documents but which are reasonably inferred and are necessary for the proper execution and successful completion of the Work.

21.5 Right Type of Workmen, Plant And Machinery, Jigs, Tools, Etc.: The Contractor shall employ the right type of workmen, plant and machinery, jigs, tools etc. to fabricate and/or install all materials and equipment. Such material and equipment shall be fabricated and/or installed without any damage and in accordance with the material/ equipment manufacturer's instructions and manuals, and to the satisfaction of IUCAA Estate Manager.

21.6 Inspection: All materials, equipment, and workmanship shall be subject to inspection, examination and testing at all times and stages during construction, manufacture and/or installation, by IUCAA Estate Manager and they shall have the right to reject and order the removal and replacement of any defective material, equipment and / or workmanship or require its correction and rectification. The Contractor shall not proceed with any operation or sequence or trade of the Work until the previous operation or sequence or trade has been inspected and approved by IUCAA. No embedded items or any other work shall be covered up unless these have been inspected and approved by IUCAA Estate Manager. The onus shall be on the Contractor to get such inspections carried out and obtain such approvals. Should the Contractor fail to comply with these requirements, then all additional or redoing of work necessitated as a consequence thereof shall be at the Contractor's cost and expense. No inspection or approval shall relieve the Contractor of any of its responsibilities, obligations and liabilities under the Contract. No defective workmanship shall be repaired or patched up in any way without inspection and direction of IUCAA Estate Manager.

Rejected workmanship shall be immediately corrected and rectified and rejected materials and equipment shall be removed and replaced with proper, specified and required materials and equipment, by the Contractor to the approval and satisfaction of IUCAA. The cost of all such correction and rectification and such removal and replacement shall be to the account of the Contractor and shall be borne by him, and also, the Contractor shall be responsible for all delays in this regard. The Contractor shall promptly segregate and remove the rejected materials and equipment from the Site and shall not reuse them in the Work. If the Contractor fails to proceed at once with the correction and rectification of rejected workmanship and/or the removal and replacement of rejected materials and equipment, the Owner shall have the right to employ other persons / agencies to correct and rectify such workmanship and/or remove and replace such materials and equipment, and recover the cost there of from the Contractor, or the Owner may terminate the right of the Contractor to proceed further with the Work.

The Contractor shall furnish promptly and without any charge, all facilities, access, labour, materials, plant and tools required and necessary for enabling IUCAA Estate Manager, to carry out inspections and tests in a safe and convenient manner. The Contractor shall ascertain and ensure that the facilities and access provided for the carrying out of all inspections are completely safe in every respect and the Contractor shall be fully responsible and liable for all matters in connection with such safety.

21.7	Testing: All the tests on materials, equipment, and workmanship that shall be necessary in connection with the execution of the Work, as decided by IUCAA and as called for in the Contract Documents, shall be

carried out at the cost of the Contractor at the place of work or of manufacture or fabrication or at the Site or at an approved testing laboratory or at all or any such places. The Contractor shall provide all transportation, assistance, instruments, machines, labour and materials as are required for the examining, measuring and testing as described above, and all expenses connected with the tests as described above shall be borne by the Contractor.

21.8	Certificates: The Contractor shall furnish, at its own cost, test certificates for the various materials and equipment as called for. Such test certificates shall be from the manufacturer for the particular consignment/lot/piece and shall be duly authenticated by respective consultants. The details in respect of the test certificates shall be as decided by IUCAA (in consultation with consultants) for the relevant items.

22.0 CONSTRUCTION  DOCUMENTATION:

22.1 Procedure for documentation : The Contractor shall have a well established system for all kinds of construction documentation generated on the Project. The Estate Manager ( IUCAA) shall conduct an alignment session with Contractor at the time of kick-off meeting, explaining to the Contractor with respect to the Standardized procedures to be adopted for specific documentation like Technical Submittals, Request for Information, Non-conformance notices, Change requests, Schedules, Drawings, etc. The Contractor shall be responsible to follow those procedures, wherever applicable to them, for the execution of work. Immediately after the contract award, Estate Manager shall arrange for a Kick-off meeting and contractor shall be bound to fulfill all the requirements mentioned in that meeting.

22.2 Submission of Material Samples, Shop drawings etc  : After the award of the Contract, the Contractor shall furnish for the approval of the Project consultant, all samples of materials and shop drawings called for in Contract Documents or required by IUCAA Estate Manager, which are required for immediate start of Work. During the project execution, the material samples shall be submitted well in advance of the upcoming activity. The samples and shop drawings shall be delivered as directed by IUCAA Estate Manager. No extra payment shall be due to the Contractor for submission of material sample and preparation of shop drawings. A schedule giving dates of the submission of samples and shop drawings shall be included in the time schedule. Samples / materials approved by the Project Manager/ Project consultant/ Consultant, shall be kept at Site under safe custody of Contractor and on completion of the Work handed over to the Owner.

22.3 	As built drawings : The Contractor shall during the course of execution, prepare and keep updated a complete set of " as-on-date as built drawings” reflecting current status of construction, marked with each and every change from the Contract drawings. Three sets of "as built" drawings as agreed shall be supplied to IUCAA Estate Manager  upon completion of project, along with a soft copy of the drawings in AutoCAD format (specified version) at no extra cost to the owner.

23.0 CONSTRUCTION PROGRAMME, SCHEDULES AND PROGRESS REPORTS:

23.1 Construction Programme:

i. Every Contractor must furnish along with its tender a bar chart clearly showing all timelines of site activities. The construction programme shall clearly show all the sequential activities of work required to be carried out from the commencement of the Work up to the Virtual Completion. Work associated with each of the packages works shall be clearly identifiable.

ii. The Tenderers proposed construction programme and payment milestones shall elaborate in detail on relevant milestones and comment on Construction Programme enclosed.

iii. Every week, or sooner if required by the Estate Manager, the approved programme charts shall be reviewed in relation to the actual progress of the Work, and shall be updated as necessary. If at any time it appears to the Estate Manager that the actual progress of the Work does not conform to the approved programme, the Contractor shall produce, at its expense and without reimbursement therefore, a revised programme showing the modifications to the approved programme and the additional input of resources by the Contractor necessary to ensure completion of the Work within the time stipulated for completion.

iv. The submission to and approval by the Project Manager of such programmes or the furnishing of such particulars shall not relieve the Contractor of any of its responsibilities, obligations and liabilities under the Contract.

23.2 Construction Schedules:    Along with the construction programme described in Clause 23.1, the Contractor shall also submit the following schedules :

i. Manpower Schedule

ii. Plant and Equipment Schedule

iii. Materials Schedule (including status and mobilization programme)

iv. Material samples Schedule

v. Shop drawings Schedule (including status and delivery)

23.3	Daily site reports:  The Contractor shall throughout the contract period, submit daily site reports to the Project Manager and the Owner’s Representative. The reports will include, but not be limited to:

i. Record of the Site progress

ii. Number of employees, workmen. Labour engaged on the Site

iii. Number of men employed on individual trades

iv. Plant and machinery at site (including an indication as to whether the plant is working or standing)

v. Notification of accidents

vi. Material received at site on that specific day

vii. Events influencing the progress of the Work

23.4 Employee Records :  The records should include all staff employed by the Contractor as Sub-contractors

23.5 Site Register: The Contractor shall maintain a site register that records the name and time of arrival and departure, at the gate, of any visitors and entry of material.

23.6 	Progress Reports: At the end of each fortnight, the Contractor shall submit a fortnightly progress report in a format agreed with the Project consultant. The reports shall include 2 sets of progress photographs taken from pre-determined locations, which illustrate the progression of the Work.

24.0 	BUREAU OF INDIAN STANDARDS: ( BIS ) Indian Standards Specifications A reference made to any Indian Standards Specifications in the Contract Documents shall imply reference to the latest version of that Standard, including such revisions / amendments as may be issued, during the currency of the Contract, by the Bureau of Indian Standards and the corresponding clause/s therein shall hold valid in place of those referred to. The Contractor shall keep copies at the Site of all latest publications of relevant Indian Standard Specifications applicable to the Work at the Site, as listed in the Specifications.

24.1. Amendments to BIS : If any Amendments to BIS codes is announced after finalization of the Contract the same shall be deemed to be incorporated into the specifications, wherever applicable.

24.2. Tolerances: In case the work does not conform to the dimensions and limits of tolerances specified in the Contract Documents and/or the Indian Standard Specifications the Contractor shall be liable for all costs and expenses incurred for rectifications and/or replacements of any other Contractor's and/or Sub-Contractor's work required, in accordance with the directions of the Estate Manager, for the proper installation of the finishing elements and/or equipment, and/or for structural purposes. The Estate Manager’s decision in this respect shall be final and binding on the Contractor and Sub-Contractors, and all such costs and expenses shall be recovered from the pertinent Contractors and Sub-Contractors and shall be deducted by the Owner from any money that may be payable or that may become payable under the Contract to such pertinent Contractors and Sub-Contractors for and on behalf of the Contractor.

25.0	PROTECTION OF WORKS:  The Contractor shall take full responsibility for the proper care and protection of the Work carried out in respect of the Project from commencement until completion and handing over of the Project to IUCAA. The Contractor shall protect and preserve the work carried out in respect of the Project in every way from any damage, fire or accident, including by providing temporary roofs, boxing or other construction as required by IUCAA. This protection shall be provided for all property on the Site as well as adjacent to the Site. The Contractor shall adequately protect, to the satisfaction of the Estate Manager, all the items of finishing work to prevent any chipping, cracking, breaking of edges or any damage of any kind whatsoever and to prevent such work from getting marked or stained or dirty. Should the Contractor fail to protect the work in respect of the Project or any part thereof and should any damage be caused to the same, the Contractor shall be responsible for all replacement and rectification, as directed by the Estate Manager, and all costs and expenses in connection with such replacement and rectification shall be to the account of the Contractor and shall be borne by it. The Contractor shall in connection with the Work provide and maintain at its own cost all lights, security guards, fencing and anything else necessary for the protection of the Work and for the safety of the public and everyone associated with the Work, all to the approval and satisfaction of the Estate Manager. All operations necessary for the execution of the Work shall be carried out so as not to interfere with the convenience of the public, or with the traffic, or the access to, use and occupation of public or private roads and footpaths or of properties whether in the possession of the Owner or of any other person. The Contractor shall hold the Owner harmless and indemnify the Owner in respect of all claims, proceedings, damages, costs, charges, and expenses whatsoever arising out of or in relation to any such matters.

26.0 	CLEANING OF WORKS AND CLEARING OF SITE:

The Contractor shall maintain the Site and all Work thereon in neat, clean and tidy-conditions at all times. 	The following shall be ensured by the contractor in the regard:

i. The Contractor shall remove all rubbish and debris from the Site on daily basis and as directed by the 	Estate Manager. Suitable steel skips shall be provided at strategic locations around the Site to receive 	waste and packaging materials.

ii. Just prior to the Virtual Completion of the Work, or whenever so directed by the Estate  Manager, the 		Contractor shall carry out all the work necessary to ensure that the Site is clear and the Work are clean in 		every respect, the surplus materials, debris, sheds and all other temporary structures are removed from the 	Site, all plant and machinery of the Contractor are removed from Site, the areas under floors are cleared of 	rubbish, the gutters and drains are cleared, the doors and sashes are eased, the locks and fastenings are 	oiled, all electrical, plumbing and other services are tested and commissioned, the keys are clearly labelled 	and handed to the Estate Manager, so that at the time of Virtual Completion the whole Site and the Work 	are left fit for immediate occupation and use, to the approval and satisfaction of the Estate Manager, and t	he Owner’s Representative.

iii. Should the Contractor fail to comply with the cleaning requirements, whether progressively or before 	completion, or fail to clear the Site as directed and required, then the Estate Manager, after giving due notice in writing to the Contractor, shall have the right to employ other persons or agencies to carry out the cleaning and/or clearing work and all costs incurred on such work shall be recovered from the

Contractor and shall be deducted by the Owner from any money that may be payable or that may become payable to the Contractor.

27.0 	METHOD OF MEASUREMENT: To evaluate any additional work instructed under change orders by the Estate Manager or the Owner’s Representative, the standard method of measurement shall be in accordance with the Standards laid down by CPWD Specifications and Bureau of Indian Standards (IS:1200) shall be followed. However if definite methods of measurements are stipulated in the Schedule of Rates or Specifications, then the same shall supersede CPWD specifications / BIS methods and shall be followed. In the event of any dispute with regard to the method of measurement of any work, the decision of the Estate Manager shall be final and binding and no extra claims shall be entertained or allowed at any stage in this regard.

28.0 	COVERING UP : The Contractor shall give at least 24 hours clear notice in writing to the Estate Manager before covering up any of the Work in foundations or any other such areas in order that inspection of the Work may be carried out for maintaining proper quality control. In the event of the Contractor failing to provide such notice he shall, at its own expense, uncover such Work as required to allow the inspection to be taken and thereafter shall reinstate the Work to the satisfaction of the Estate Manager.

29.0  PAYMENTS AND SECURED ADVANCE:

a)	No advance will be paid before commencing the work.

b)	Only two RA bills will be allowed to raised before final billing, which should not be less than Five 		Lakhs each.

c) 	On submission of final bill 75% of assessed bill value shall be paid on ad hoc basis and balance 			will be released after verification from accounts.

29.1 Running Bills : The Contractor shall prepare measured bills as directed by the Estate Manager (detailed measurement, abstract sheet, deviation statement for ongoing and completed work, materials reconciliation statement and any specific instructions which may be given in this regard by the Estate Manager and other supporting documents) .

29.2 Payment Certificate : The Estate Manager shall issue a payment certificate within the number of working days as reflected in tender documents, from the date of the bill received from the Contractor for the value of work (net amount due to the contractor after deductions) executed by the Contractor, provided all supporting detailed measurements, abstract sheets and other supporting documents requested by the Estate Manager are furnished at the time of submission of such bills. Thereafter, the Contractor shall be paid by the Owner of certified amount (after deduction of applicable retention, TDS and WCT), within 15 days as per IUCAA standard terms.

29.3 Retention Money & Final Bill  :  The Retention Money will be held @ 5% of the final bill value. Security 	Deposit will be converted to Retention amount and it will be released only after completion of defect 	liability period of one year. Final Bill will be released only after completion of the project and duly certified by the Project consultant/	Estate Manager. Payment of final bill will be made within one month subject to submission of complete documents.

29.4 Withholding of payments : The Estate Manager may withhold payment on account of subsequently discovered evidence, and nullify the whole or a part of any payment certificate to such extent as may be necessary to protect the Owner from loss on account of including but not limited to the following:

i. Defective work not remedied by the Contractor, Non Compliance notices not attended by the Contractor.

ii. Failure of the Contractor to make payments properly and regularly to its own workers, to its Sub-Contractors, to its suppliers.

iii. Damage by the Contractor to the work of other Contractors, Sub-Contractors or Vendors.

iv. A reasonable doubt that the Contract cannot be completed for the balance unpaid amount.

v. A reasonable doubt that the Contractor intends to leave work items incomplete.

vi. Failure of the Contractor to execute the Work in conformity with the Contract Documents.

vii. Failure of the Contractor to meet or keep-up with the approved Construction/excution Programme on which the agreed payment schedule is based.

viii. Failure of the Contractor to comply with and fulfill all contractual obligations and liabilities  stipulated in the Contract Documents.

ix. Failure of the contractor to submit proofs of payment of necessary ESI, PF payments for his workers.

30.0 	RECTIFICATION OF IMPROPER WORK NOTICED:  If it shall appear to the Estate Manager or the Owner’s Representative during the progress of the Work that any work has been executed with unsound, imperfect or unskillful workmanship or with materials of any inferior description or that any materials or articles provided by the Contractor for the execution of the Work are unsound or of a quality inferior to that contracted for or otherwise not in accordance with the Contract, the Contractor shall, on demand in writing from the Estate Manager, specifying the work, materials or articles complained of, notwithstanding that the same may have been passed and certified by the Estate Manager, forthwith rectify or remove and reconstruct the work so specified in whole, or in part as the case may require or , remove the materials or articles so specified and provide other proper and suitable materials or articles at its own proper charge and cost and in the event of its failing to do so within a period so specified by the Estate Manager in its demand aforesaid, the Estate Manager may rectify or remove and re-execute the work or remove and replace the materials or articles complained of as the case may be by engaging a third party contractor at the risk and expense in all respects of the Contractor, and deduct the expenses from the Retention Money or any sums that may be due at any time thereafter may become due to the Contractor or from the performance bond executed by the Contractor.

31.0 	CHANGE ORDERS:

31.1 Change in scope of work: The Owner reserves the right to alter the Scope of Work (as defined in Clause 2.6 above) and consequently the Contract Price shall be suitably adjusted for such changes by reference to the rates in the Schedule of Rates. The Estate Manager shall issue all change orders only after obtaining the prior written consent of the Owner’s Representative. The Contractor shall not proceed with additional scope of work without prior approval from Owner/ Owner’s representative through Project Consultant.

31.2 Rates for additional, altered or substituted work If the rates for the additional, altered or substituted work are not specifically provided in the Schedule of Rates then such rates shall be derived from the rates that are specified for a similar class of work in the Contract. The Estate Manager’s interpretation in consonance with the Owner as to what is a similar class of work and its decision on the method in which the rate is to be derived shall be final and binding on the Contractor. If the rates for the additional, altered or substituted work cannot be determined in the manner specified above, then the rates for such work shall be determined on the basis of actual consumption of materials, and actual use of labour and plant and machinery, as detailed below:

i. Cost of materials supplied by the Contractor, at not more than prevailing market rates, actually incorporated in the Work.

ii. Cost of labour actually used at the Site on the Work at prevailing rates of labour.

iii. Cost allocation toward the Work for the use of any plant and machinery at the Site, on actual basis.

iv. 15% of the actual costs in respect of (i), (ii), and (iii) above, towards Contractor's establishment and all other costs and overhead and profit plus taxes as applicable shall be reimbursed. Contractor's overheads and profit shall not be allowed on free issue items.

31.3 Schedule of Plant rates  -  N.A.

31.4 Approval from Owner/Owner’s representative : Before the Contractor undertakes any extra work, he shall ensure that he has received a specific Change Order, signed by the Estate Manager. No additional payments shall be made to the Contractor without prior agreement and receipt of the necessary signed Change Order. Each Change Order shall clearly state the value of the additional work agreed to and signed for by the Owner. The Contractor shall at weekly  intervals submit to the Estate Manager an account giving particulars, as full and detailed as possible, of additional work ordered in writing by the Owner and which the Contractor has executed during the preceding month. If any Change Order instructed by the Estate Manager causes a delay in the completion of the Work causing the Contractor to overrun the time fixed for completion of the Work, the Owner shall agree, following joint review of the circumstances with the Estate Manager as to the extent of the delay, to postpone the time for completion of the Work by the period of delay, provided the Contractor has notified the Owner in writing, of such expected delay before such Change Order is actually issued by the Estate Manager..

32.0 	DEDUCTIONS FOR UNCORRECTED WORK: If the Estate Manager deems it inexpedient to get corrected or rectified any work of the Contractor which is defective or damaged or of substandard quality or is generally not in accordance with the Contract Documents, then an equitable and appropriate deduction shall be made thereof from the Contract Price, and the Project consultant’s and Estate Manager’s decision in this respect shall be final and binding on the Contractor. Furthermore if, by reason of any accident, or failure, or other event occurring to, in or in connection with the Work, or any part thereof, either during the execution of the Work or during the Defects Liability Period, any remedial or other work or repair shall, in the opinion of the Estate Manager, be urgently necessary for the safety of the Work, or any part thereof, and the Contractor is unable or unwilling to immediately do such work or repair, the Owner may employ and pay other persons or agencies to carry out such work or repairs as the Estate Manager may consider necessary. If the work or repair so done by the other persons or agencies is work which, in the opinion of the Estate Manager, the Contractor was liable to do at its own expense under the Contract, then all expenses incurred by the Owner in connection with such work or repair shall be recovered from the Contractor and shall be deducted by the Owner from any money that may be payable or that may become payable to the Contractor or from the Contractor’s Performance Bond, executed by the Contractor in favour of the Owner.

33.0 	TIME FOR COMPLETION: Eight months from the 7th (seventh) day after the date of issue of letter of award of work .

33.1 Time-essence of contract:  The time allowed for carrying out the Work as entered in the tender shall be strictly observed by the Contractor and shall be deemed to be of the essence of the Contract and shall be reckoned from the date of award of the Contract. The Work shall proceed with due diligence until Final Completion. The Contractor shall prepare a Construction Programme with time schedule keeping in view the completion period stipulated for specific portions of the Work and also the overall completion time and submit the same for the approval of the Estate Manager and the Project Consultant. The Contractor shall comply with the time schedule as approved by the Estate Manager and the Project Consultant. In the event of the Contractor failing to comply with the overall and individual milestones contained in the time schedules, he shall be liable to pay liquidated damages as provided for in this Contract.

33.2 Causes of delay for which claims for extension of time may be considered;  The Contractor may request claim for extension of time, subject to the conditions stated herein, should he be delayed or impeded in the execution of the Work by reason of the following (decision of IUCAA authorities in this regards will be binding on the contractor):

i. Force Majeure;

ii. Any approved changes in the scope of work directed by Owner, Project consultant, which in the opinion of the Estate Manager entail the requirement of additional time for completion of the Work.

33.3 Extension of Time

33.4 Claim of Extension of Time

33.5 Deletions or changes in the scope of the Work : Should any deletions or changes in the scope of the Work reduce the time required to complete the Work under the Contract, then the time savings accruing from such deletions may be considered by the Estate Manager in offsetting the durations awarded for an extension of time.

34.0	NO FINANCIAL OR OTHER COMPENSATION FOR DELAYS BY CONTRACTOR:  The Contractor shall not be entitled to any compensation for any loss suffered by him on account of delays in commencing or in executing or in completing the Work, whatever might be the cause of the delay if such delay is on account of the Contractor.

35.0 	COMPENSATION FOR DELAYS CAUSED BY OWNER:    Deleted

36.0 	PROPRIETY OF EXECUTED WORK: All executed work, whether in part or in whole shall be the exclusive property of the Owner. The Estate Manager, the Owner, the Contractor or any of its Sub-Contractors or their employees or workmen or servants or agents shall not be entitled to the use of any such work except for the purpose of carrying out subsequent work that is required to be carried out under the Contract or to complete the Project. The Owner shall have the right to occupy and take over the Work or any part thereof at any time during the progress of the Work or upon their completion, irrespective of any pending claims or disputes that the Contractor may have against the Owner.

37.0 	INDEMNITY:

37.1 Indemnity by Contractor:   The Contractor shall indemnify, defend and hold and keep indemnified, the Owner from and against all actions, suits, claims costs, liabilities and demands brought or made against the Owner in respect of any matter or thing done or omitted to be done by the Contractor or any of its Sub-Contractor(s) or their employees, workmen, representatives, agents, servants or suppliers in the execution of or in connection with the Work or the Contractor's or Sub-Contractor's performance under this Contract and against any loss or damage to the Owner in consequence of any action or suit being brought against the Contractor or any of its Sub-Contractor(s) or their employees, workmen, representatives, agents, servants or suppliers for anything done or omitted to be done in execution of the Work and the Project Coordination Services under this Contract, including but not limited to meeting the Project milestones, noncompliance with the applicable laws and regulations of the government and local authorities, not obtaining the relevant licences and permits, infringing any patents rights and specifically regarding use, storage and disposal of hazardous materials. The obligations of the Contractor under this clause shall survive till the closure of Defects Liability period.

37.2 Indemnity by Sub-Contractors:  The Contractor shall ensure that the Sub-Contractors indemnify, defend and hold, and keep indemnified the Owner harmless from all actions, suits, claims, costs, fines, judgments and liabilities in respect of any matter or thing done or omitted to be done by the Sub-Contractors or their employees, workmen, representatives, agents, servants and suppliers in execution of or in connection with the Work or arising out of or in any way alleged to be in connection with Sub-Contractors' performance under this Contract, including but not limited to, not meeting the Project milestones, non-compliance with the applicable laws and regulations of the government and local authorities, not obtaining the relevant licenses and permits, infringing any patents rights and specifically regarding the storage, use or disposal by the Sub-Contractors of hazardous materials in, on or under the Site or at any location whatsoever in connection with the Project in any way. The Sub-Contractors' responsibility under this indemnification shall also include any and all hazardous materials introduced to the Site by their agents, representatives, employees, workmen, servants and suppliers. The obligations of Sub-Contractors under this clause survive till the closure of Defects Liability period.

38.0 	CORRECTION OF WORK BEFORE VIRTUAL COMPLETION OF WORKS:  The Estate Manager and the Project consultant shall jointly conduct an extensive inspection just prior to the Virtual Completion of the Work and shall prepare a list of materials, equipment, and workmanship which are defective or damaged or of substandard quality or improperly executed or generally unacceptable due to not being in conformity with the requirements stipulated in the Contract Documents. The Contractor shall promptly remove, replace, re-execute, rectify and make good, to conform to the requirements stipulated in the Contract Documents and to the satisfaction of the Estate Manager and the Owner’s Representative all such materials, equipment, and/or workmanship included or itemized in the said list and the Contractor shall bear and pay for all expenses in connection therewith and consequent thereon and incidental thereto, including the cost for all remedial work on the work of other contractors destroyed or damaged by such removal, replacement, re-execution, rectification and making good. If the Contractor fails to remove, replace, re-execute, rectify and make good the rejected materials, equipment, and/or workmanship within a reasonable time, fixed by written notice, the Owner may employ and pay other persons or agencies to carry out such removal, replacement, re-execution, rectification and making good and all expenses incurred in connection therewith, including all damages, losses and expenses consequent thereon and incidental thereto shall be recovered from the Contractor and shall be deducted by the Owner from the Contract Price or any money that may be payable or that may become payable to the Contractor.

39.0 	VIRTUAL COMPLETION OF WORKS:

i. The Works shall be considered as virtually complete only upon fulfillment of the procedure laid down in clause 38 above, and only after the Work has been completed in every respect in conformity with the Contract Documents and after all the systems and services have been tested and commissioned, and after the Site has been cleared and the Work cleaned in accordance with Clause 26 and when the Estate Manager has certified in writing that the Work is Virtually Complete. The Defects Liability Period shall commence from the date of such Certificate of Virtual Completion.

ii. Prior to the Virtual Completion, if the Owner decides to occupy any portion of the Work or use any part of any equipment, the same shall not constitute an acceptance of any part of the Work or of any equipment, unless otherwise so stated in writing by the Estate Manager.

iii. Prior to the issue of the Virtual Completion Certificate, the Contractor shall submit and hand-over to the Owner’s Representative the keys to all locks, all operation and maintenance manuals for systems and services, any spares called for in the Contract, and everything else necessary for the proper use and maintenance of the Work complete with all systems and services.

40.0 	LIQUIDATED DAMAGES / PROGRAMME CHART / MILESTONES: Subject to the provision under clause 40, any unexcused delay by the supplier in maintaining its contractual obligations towards delivery of goods and performance of services shall render the supplier liable to any or all of the following sanctions:

a)deduction of liquidated damages amounting to a sum of  0.5% of the total contract price of the delayed/undelivered stores/services mentioned above for every week of delay or part of a week, subject to the maximum of 5% of the contract value.

b)forfeiture of its performance security and termination of the contract for default

41.0 	PENALTY / FINE:

41.1 Non Compliance to Safety codes : If the Estate Manager notifies the Contractor of non-compliance with safety codes, the Contractor shall immediately if so directed or in any event not more than 12 hours after receipt of such notice, make all reasonable effort to correct such noncompliance.

41.2 Levy of penalty/ fines:  Levy of fines-Consumption of Pan, Gutkha, Tobbacco, alcohol, drugs, etc is strictly prohibited on-site. Violation of this shall imply an immediate penalty of Rs.10,000.00 per instance and twice the amount there after Post 3rd instance, client reserves the right the terminate the contract without further notice.

If the Contractor fails to do so, the Estate Manager shall have authority to levy penalty/ fines as may be determined based on the severity of the violation. The Estate Manager shall establish the list of violations and the fines associated with non-compliance of the safety codes. Each such non-compliance shall be treated as a breach of the contract.

41.3 Penalty :   If the contractor fails to complete the work as per committed schedule, there shall be a penalty as per clause No.40.

41.4 Delay :   In case the delay is not acceptable to the owner, owner reserves the right to terminate the contract and enter into fresh contract with other agencies at the cost of defaulting agency.

42.0 	GUARANTEES:

i. The Contractor understands and agrees that the Owner is expressly relying and will continue to rely on the skill and judgment of the Contractor in executing the Work and remedying any defects in the Work. The Contract represents and warrants that (i) it shall perform the Work in a timely manner, in strict accordance with the Contract Documents, and consistent with generally accepted professional, construction and construction-supervision practices and standards provided by an experienced and competent professional contractor and construction supervisor rendered under the same or similar circumstances, and (ii) it is and will be responsible to the Owner for the acts and omissions of all Sub-Contractors and their respective employees, agents and invitees and all the persons performing any of the Work.

ii. Besides the guarantees required and specified elsewhere in the Contract Documents, the Contractor shall in general guarantee all work executed by the Contractor and the Sub-Contractors for a period of 12 months from the date of issue of the Virtual Completion Certificate. Those parts of the Work or equipment or installations, for which extended guarantee periods are stipulated elsewhere in the Contract Documents, shall be guaranteed for such periods that are so stipulated. The duration of the Defects Liability Period, unless specified otherwise, shall be the extent of length of such guarantee periods.

iii. The Contractor represents warranties and guarantees to the Owner, inter alia that:

• the construction of the Project shall be approved and would be capable of use, operation, performance and maintenance for accomplishing the purpose for which it has been built and acquired.

• the Work shall comply with the Specifications, Drawings, and other Contract Documents.

• the Work shall, for a period of 12 months from the date of issue of the Virtual Completion Certificate, be free from all defects and the Project shall be of structural soundness, durability, ease of maintenance, weather tightness etc.

• the materials, workmanship, fabrication and construction shall be of specified and agreed quality and all materials shall be new.

• the Work performed for the Owner shall be free from all liens, charges, claims of whatsoever nature from any party other than the Owner.

iv. Where, during such guarantee periods as mentioned above, any material or equipment or workmanship

or generally any item of work fails to comply or perform in conformity with the requirements stipulated in the Contract Documents or in accordance with the criteria and provisions of the guarantee, the Contractor shall be responsible for and shall bear and pay all costs and expenses for replacing and/or rectifying and making good such materials, equipment, workmanship, and items of work and, in addition, the Contractor shall be also responsible for and shall bear and pay all costs and expenses in connection with any damages and/or losses suffered as a consequence of such failure.

v. All guarantees required under the Contract shall be in the format approved by the Owner and submitted to the Project consultant and the Owner by the Contractor when requesting certification of the final bill.

43.0 	STATUTORY APPROVALS FOR BUILDING WORKS:    N.A.

44.0 	PROJECT CLOSE-OUT DELIVERABLES:

The Contractor shall be responsible to provide all the Project closeout deliverables as per the Tender Documents, prior to submitting its final bill. Such deliverables shall include but not be limited to:

i. As-Built Drawings

ii. O&M Manuals;

iii. Guarantees/ Warrantees;

iv. Special warranties;

v. Extra material/ Attic stock;

vi. Operations Training for the Facilities Management staff of the Owner;

vii. Statutory approvals;

viii. Testing and commissioning reports;

ix. Contact list;

x. Handing over/ taking over certificate duly accepted by Owner.

45.0 	DEFECTS LIABILITY:

45.1 Maintenance by contractor during Defects Liability Period: All defective items of work and defects noticed and brought to the attention of the Contractor during the Defects Liability Period shall be promptly and expeditiously attended to and replaced and/or rectified and made good by the Contractor at its own cost, to the complete satisfaction of the Estate Manager and the Project Consultant.

45.2 Replacement and/or rectification and making good by contractors of all defective materials, equipment and/or workmanship during defects liability period: The Contractor shall replace and/or rectify and make good, at its own cost, and to the satisfaction of the Estate Manager and the Owner’s Representative, all defective items of work and defects arising, in the opinion of the Estate Manager, from materials, equipment, and/or workmanship not performing or being in accordance with the Drawings or Specifications or the instructions of the Estate Manager and or other Contract Documents or the best engineering and construction practices, and which may appear or come to notice within 12 months after Virtual Completion of the Work, that is within the Defects Liability Period as per the following:

i. Any item, material or matter repaired or replaced shall receive a new Defects Liability Period of the same duration (12 months) beginning upon the date on which the said item is repaired or replaced , material or matter is returned for use to the Owner, provided that the aggregate guarantee period shall not exceed 12 months.

ii. The Contractor shall be also liable for all costs associated with damages and/or losses which are a consequence of such defective items of work and defects, and such costs shall be recouped by Estate Manager from the Contractor and shall be recovered from the Retention Money held and/or from the Contractor's final bill (if the final bill has not been certified and paid for at the time). Such defective items of work and defects as mentioned above shall, upon instruction and direction in writing of the Estate Manager and within such time as shall be specified therein, be replaced and/or rectified and made good by the Contractor at its own cost.

iii. In case of default or failure by the Contractor to replace and/or rectify and make good such defective items of work and defects, the Owner may employ and pay other persons or agencies to replace and/or rectify and make good such defective items of work and defects, and all costs, damages, losses and expenses therefore, consequent thereon and incidental thereto shall be to the account of the Contractor and such costs, damages, losses, and expenses shall be recouped by the Owner from the Contractor and shall be recovered from the Retention Money held and/or from the Contractor's final bill (if the final bill has not been certified and paid for at the time).

iv. Should the Retention Money held (and the amount in respect of the final bill if it has not been certified and paid for at the time) be insufficient to meet such costs, damages, losses and expenses, as determined by the Estate Manager and Project consultant, the Contractor shall be legally bound to pay the balance amount due under the claim to the Owner within one month of receiving notification to that effect from the Project consultant and Estate Manager. In the event of failure on the part of the Contractor to pay the balance amount due within one month as stated above, the Owner shall be entitled to invoke the performance bond and the Contractor shall raise no objection in this regard.

v. In respect of those parts of the Work for which longer guarantee periods are stipulated elsewhere in the Contract Documents, the Defects Liability Period for such parts of the Works shall be until the end of the respective guarantee period that is stipulated for each such part.

46.0 	FINAL COMPLETION OF THE WORK:  The Work shall be considered as finally complete at the end of the Defects Liability Period subject to the Contractor having replaced and/or rectified and made good all the defective items of work and defects in accordance with clause above, to the satisfaction of the Estate  Manager, Project consultant, Owner and provided that the Contractor has performed all its obligations and fulfilled all its liabilities under the Contract, and when the Estate Manager has certified in writing that the Works are finally complete. Such Final Completion in respect of those parts of the project for which extended guarantee periods are stipulated elsewhere in the Contract Documents, shall be achieved at the end of such stipulated guarantee periods.

47.0 	FORCE MAJEURE:

47.1 The right of the Contractor to proceed with the Work shall not be terminated because of any delay, subject to the time limits set forth in this clause, in the execution of the Work due to unforeseeable causes beyond the control and without the fault or negligence of the Contractor, or the Sub-Contractors, being Acts of God or that of the public enemy, act of terrorism restraints of Governing States, fires and floods. The following events are explicitly excluded from Force Majeure and are solely the responsibilities of the non-performing party: a) any strike, work-to-rule action, go-slow or similar labour difficulty (b) late delivery of equipment or material (unless caused by Force Majeure event), (c) economic hardship and (d) changes in applicable laws.

47.2 If  the Contractor is wholly prevented from the performance of the Contract for a period in excess of thirty (30) consecutive days because of a Force Majeure, the Owner may terminate this Contract by Twenty (15) days written notice delivered to the Contractor, and if the period of the Force Majeure exceeds one hundred and twenty (120) consecutive days, the Contractor may terminate this Contract by Twenty (15) days written notice to the Owner. In the event this Contract is so terminated, the Contractor shall be paid for the costs of the Work actually executed up to the date of termination as certified by the Estate Manager. Such costs shall not include loss of profits or for any other expenses of the Contractor or Sub-Contractors such as salaries or wages of the employees or workers, hire charges for plant and machinery, expenses towards maintenance of establishment, demobilization, break charges or any other expense. Failure to agree on an equitable settlement shall be deemed to be a dispute under this Contract.

48.0 	TERMINATION OR SUSPENSION OF THE CONTRACT BY THE OWNER:

48.1 If the Contractor shall be adjudged bankrupt or if he should make a general assignment for the benefit of its creditors, or if a receiver shall be appointed on account of its insolvency /bankruptcy, or if he should persistently or repeatedly refuse to carry out the Works diligently, or if he should fail to provide enough skilled workmen or materials or equipment or plant and machinery or tools or anything else necessary for the progress of the Work in accordance with the approved Construction Programme, or if he should fail to make prompt payments to Sub-Contractors or to suppliers for materials or equipment or to its workers, or if he should persistently disregard laws or ordinances of the Central / State or local governments or disregards the instructions of the Estate Manager or the Owner’s Representative, or if he should be guilty of a violation or breach of any provision of the Contract, or if he has abandoned the Contract, or if he has failed to commence the Work within the time specified or if he has suspended the Work, then the Owner, may without prejudice to any other right or remedy, and after giving the Contractor seven days notice in writing, terminate the Contract and take charge of all materials, equipment, tools, and plant and machinery thereon and use these as the Owner’s property for the completion of the Project. In such case the Contractor shall be entitled to receive any payment for the Work completed by him only after the Project is completed. If the amount due to the Contractor for the Work carried out by him as per the Contract terms exceeds the expenses incurred by the Owner, including for additional management and administrative services, for completing the Project and in respect of the damages and/or losses suffered by the Owner due to the Contractor's default, then such excess shall be paid to the Contractor within three months of the final completion of the Project. If such expenses for completing the Project and in respect of the damages and/or losses suffered by the Owner exceed the amount due to the Contractor, then the Contractor shall pay the difference to the Owner within one month of receiving the a notice to that effect from the Estate Manager or the Owner’s Representative. The expenses incurred by the Owner for completing the Work and in respect of the damages and/or losses suffered by him due to the Contractor's default, shall be certified by the Estate Manager and its decision on this matter shall be final and binding on the Contractor.

48.2 The Owner may terminate the Work for convenience at any time for reasons other than for cause, without prejudice to any claims that the Owner may have against the Contractor, by giving the Contractor at least seven days’ prior written notice thereof. In such event, the Owner shall pay the Contractor for such portions of the Work as are completed and properly invoiced under the provisions for final payment in Clause 30 hereof for Work performed prior to termination. In no event, shall the total payments made to the Contractor exceed the Contract Price, and, prior to full payment, the Contractor shall comply with the requirements for the release of claims and other documentation as appropriate as provided for under the provisions for final payment in Clause 30 hereof. The Owner’s sole liability to the Contractor for termination pursuant to this Clause 48.2 shall be determined in accordance with this Clause 48.2 only and the Contractor shall not be entitled to any further payments, including without limitation, loss of anticipated profits.

48.3 The Estate Manager or Project Consultant  may suspend at any time and for any reason any part of or the whole of the Work by giving at least 24hours’ written notice thereof to the Contractor, specifying the part of the Work to be suspended and the effective date of such suspension. The Contractor shall cease work on said part of the Work on the effective date of such suspension but shall continue to perform any unsuspended part of the Work. During a suspension, the Contractor shall only be reimbursed for the cost of the unsuspended Work related to (a) the Contractor’s employees whose work has been approved by the Estate Manager, and (b) such other items authorized by the Owner pursuant to a Change Order. The Owner may, at any time, authorize resumption of the suspended part of the Work by notifying the Contractor of the part of the Work to be resumed and the effective date of suspension withdrawal. The work should be properly resumed by the Contractor after receipt of such notice. The Owner’s sole liability to the Contractor for suspension shall be determined in accordance with this Clause 48.3 and any approved Change Order, and the Owner shall not be liable for any other damages, including without limitation, loss of anticipated profits.

49.0 	INTELLECTUAL PROPERTY RIGHTS:

49.1 It is hereby acknowledged and agreed that the Owner has commissioned the Work in connection with the Project and accordingly ownership of all intellectual property rights, including but not limited to property rights in the design and in all Drawings, Specifications and documents prepared by the Project consultants, the Contractor and any Sub-Contractors or Vendors belongs and shall be assigned solely to the Owner who shall be entitled to deal with the designs, Drawings, Specifications and documents in whole or in part, in any manner in the Owner's sole discretion. The Contractor hereby disclaims any right

What so ever on these intellectual property rights in which cases the Owner shall be duly informed in that regard. This intellectual property right entitlement shall extend to any maintenance, repair and renewal, reinstatement and enlargement of the Project. The Contractor shall ensure that any provisions of this type necessary to protect the intellectual property rights of the Owner are included in all its contracts with Sub-Contractors.

49.2 All communications, whether written or oral, including but not limited to this Contract, its Annexure, Drawings, data sheets, Specifications, bills of material, sketches, calculations, designs and all other materials shall be treated as confidential and shall be the exclusive property of the Owner unless otherwise agreed in writing and must be given to the Owner upon request, but in any event all such materials shall be delivered to the Owner upon termination/expiry of this Contract.

49.3  The Contractor agrees that it and its employees, agents, Sub-Contractors and consultants shall not (without the prior written consent of the Owner) during the term of this Contract or thereafter, disclose, make commercial or other use of, give or sell to any person, firm or corporation, any information received directly or indirectly from the Owner or the Project consultant or acquired or developed in the course of the Work, Project or this Contract, including by way of example only, ideas, inventions, methods, designs, formulae, systems, improvements, prices, discounts, business affairs, trade secrets, products, product specifications, manufacturing processes, data and know-how and technical information of any kind whatsoever unless such information has been publicly disclosed by authorized officials of the Owner. The Contractor agrees that prior to assigning any employee or agent or hiring any Sub -Contractor or consultant to work on this Project, such employee, agent, Sub-Contractor or consultant shall be required to execute a document containing in substance and form, a confidentiality provision similar to this provision.

49.4 The Contractor shall not, without the Owner's prior consent:

• take any photographs or videos of the Project (or any part thereof) for use otherwise than in connection with carrying out and completion of the Project;

• write for publication, or cause, information or comment or pictures about the Project;

• supply to any third person such as actual and prospective Owners, contractors, publishers, other interested parties and the like, the designs and any articles or information relating to the Project; and

• give interviews to the press including television, radio print and the like regarding the Project or the Contractor’s involvement in the Work.

49.5 Notwithstanding the foregoing, this provision shall not limit the obligation of the Contractor to take photographs and/or videos on a regular basis for the purpose of providing the progress reports required by this Contract.

49.6 The Contractor, Sub-Contractors and their respective employees, representatives, agents, servants, workmen and suppliers shall not, during or after the termination/expiry of this Contract, disclose any information pertaining to this Contract or the Project to any person without the prior written consent of

the Owner except when called upon to do so by a valid and lawful direction or order of a statutory or Government authority or an order of a court of law or where any of the parties require production of this document and related information for establishing their respective legal rights.

50.0 	SETTLEMENT OF DISPUTES / ARBITRATION:

50.1 All disputes and differences of any kind whatsoever arising out of or in connection with this Contract whether during the progress of the work or after their completion shall be referred in writing by the Contractor to the Owner’s Representative, and the Owner shall within 10 days from receipt make and notify its decisions thereon in writing to the Contractor.

50.2 Decisions, directions, clarifications, measurements, drawings and certificates with respect to any matter the decision for which is specially provided for by these or other special conditions to be given and made by the Owner’s Representative or by the Estate  Manager are matters which are referred to hereinafter as exempted matters and shall be final and binding upon the Contractor and shall not be set aside on account of non-observance of any formality, any omission, delay or error in proceeding in or about the same or on any other ground or for any reason and shall be without appeal. They shall be specifically excluded from the scope of arbitration proceedings hereinafter referred to. In case of any ambiguity/dispute in arising out of or related to(including the  interpretation of any of the clauses in this Tender Document/purchase order/contract, decision of the Director IUCAA or his nominee shall be final and binding on all parties.

50.3 Subject to the aforesaid in the event of any dispute or difference between the parties hereto as to the construction or operation of this Contract, or the respective rights and liabilities of the parties on any matter in question, dispute or difference on any account or as to the withholding by the Owner of any certificate to which the Contractor may claim to be and entitled to or if the Owner fails to make a decision within the aforesaid time, then and in any such case, but except in any of the exempted matters referred to in the above clause, the Contractor after 90 days of its presenting final claim on the disputed matters, may demand in writing that the dispute or difference be referred to and settled by a sole arbitrator mutually acceptable to the Owner and the Contractor. In the event the parties fail to appoint a mutually acceptable arbitrator, the parties shall approach the appropriate court for appointment of the sole arbitrator. The award of the Arbitrator, shall be final and binding on both the parties. The provision as per the Arbitration and Conciliation Act 1996 shall apply to such arbitration. The arbitration venue shall be at Pune. The procedure for the arbitration shall be determined by the arbitrator. Costs of such arbitration shall be equally shared between the Owner and the Contractor.

50.4 The Contractor shall not, except with the consent in writing of the Owner, the Project consultant, in any way delay the carrying out of the Work by reason of such matter, question or dispute being referred to arbitration but shall proceed with the work with all due diligence and shall, until the decision of the arbitrator is given, abide by the decision of the Project consultant and no award of the arbitrator shall relieve the Contractor of its obligations to adhere strictly to the Owner, the Owner’s Representative’s or the Estate Manager’s instructions with regard to the actual carrying out of the Work except as specifically affected by such award.

51.0 	GOVERNING LAW: The governing law of the Contract shall be Indian law. Any disputes related or arriving out this agreement shall be subject to the exclusive jurisdiction of courts of Pune.

52.0 	STANDARDS OF CONDUCT:

52.1 Maintenance of appropriate Business standards The Contractor, in performing its obligations under this Contract, shall establish and maintain appropriate business standards, procedures and control, including those necessary to avoid any real or apparent impropriety or adverse impact on the interests of the Owner. The Owner will in no event reimburse the Contractor for any costs incurred for purposes inconsistent with such policies.

52.2 Compliance with laws, rules and regulations: Contractor represents, warrants, certificates and covenants that in connection with performance under this Contract that:

i. It shall, and the Work to be provided hereunder shall, comply with all applicable local, State, and Central laws, rules and regulations, including but not limited to those governing building constructions, environmental, safety of persons and property, Employees State Insurance, Workmen’s Compensation, Provident Fund and applicable industrial/labour laws, and land development laws, rules and regulations.

ii. No services provided hereunder will be produced using forced, indentured or convicted labour or using the labour of persons in violation of the minimum working age law in the country where the Work are rendered;

iii. It shall comply with all laws regarding improper or illegal payments, gifts or gratuities; and Contractor agrees not to pay, promise to pay or authorize the payment of any money or anything of value, directly or indirectly, to any person or entity for the purpose of illegally or improperly inducing a decision or obtaining or retaining business or any advantage in connection with this Contract;

iv. It has not paid or provided and shall not pay, any gratuity for the benefit of any agent, representative or employee of the Owner other than in accordance with the Owner’s applicable policies; and

v. It has not, and shall not, engage in any sharing or exchange of prices, costs or other competitive information or take any other collusive conduct with any third party supplier or bidder in connection with the preparation or submission of any bid or proposal to the Owner or the negotiation of this Contract.

vi. It will also comply with all rules and regulations of the Owner which may be in effect at the Facility site regarding employment, passes, badges, smoking, fire prevention, safety and conduct or property. On

behalf of the Owner, Contractor shall request and monitor that any Contractor, Sub-Contractors, vendors and each of their employees observe such.

53.0 	WARRANTY AS TO DOCUMENTS SUBMITTED TO OWNER AUDIT:  The Contractor represents that all Documents, including invoice, vouchers, and financials to settlements, billings and other reports submitted or to be submitted by the Contractor to the Owner in support of an application payment are true, correct, complete and accurate in all respects. Upon request of the Owner, the Contractor agrees to cooperate fully with the Owner in the conduct of a joint audit of the billings by the Contractor for the Work.

54.0 	ACCOUNTS AND AUDIT: The Contractor agrees to maintain true and accurate financial statements and books of accounts, recording all income and expenditure in relation to the Project (“Books of Accounts”). The Books of Accounts shall, at all times, be maintained at the Site or at the office of the Contractor. The Contractor agrees that the Owner, Project consultant and the Estate Manager shall have the right to conduct (or cause to be conducted) an independent audit of the Books of Accounts at any time during the subsistence of the Contract. Additionally, the Contractor agrees that the Books of Accounts shall be maintained for a minimum of 60 months subsequent to the expiry/termination of the Contract.

55.0	 Tender Validity : The tenders shall remain valid for acceptance for a period of 90 days (Ninety days) after the date of tender opening prescribed in the tender document. Any tender valid for a shorter period shall be treated as unresponsive and rejected.

56.0 	Signing and Sealing of Tender  :  The tenderers shall submit their tenders as per tender clause.

i. The original copies of the tender shall either be typed or written in indelible ink and the same shall be signed by the tenderer or by a person(s) who has been duly authorized to bind the tenderer to the contract. The letter of authorization shall be by a written power of attorney, which shall also be furnished along with the tender.

ii. All the copies of the tender shall be duly signed at the appropriate places as indicated in the tender documents and all other pages of the tender including printed literature, if any shall be initialed by the same person(s) signing the tender. The tender shall not contain any erasure or overwriting, except as necessary to correct any error made by the tenderer and, if there is any such correction, the same shall be 	initialed by the person(s) signing the tender.

iii. The tenderer is to seal the original copy of the tender in separate envelopes writing the address of the purchaser and the tender reference number on the envelope. The sentence “NOT TO BE OPENED” before 23/02/2015 (the tenderer is to put the date & time of tender opening) are to be written on these envelopes. The inner envelopes are then to be put in a bigger outer envelope, which will also be duly sealed, marked etc. as above. If the outer envelope is not sealed and marked properly as above, the purchaser will not assume any responsibility for its misplacement, premature opening, late opening etc.

The envelopes must be super-scribed with the following information:

a) Tender Reference Number    b) Due Date  c) Name of the Vendor  d) Signature & Seal of Vendor    e ) Date

FORM -I

# ( To be printed on letterhead )

# Undertaking

1.	I,  ____________________________________________   son/ daughter/ wife of Shri.

______________________________________________________________________

Proprietor/ Director/authorized signatory of the Company/Firm mentioned above, is competent to sign this declaration and execute this tender document.

- I have carefully read and understood all the terms and conditions of the tender and undertake to abide to them.

- The information/documents furnished along with the above tender form are true and authentic to the best of my knowledge and belief. I am well aware of the fact that furnishing of any false information/ fabricated document would lead to rejection of my tender at any stage besides liabilities towards prosecution under appropriate law.

Place : Pune                                                                                          Authorised Signotory

Sign and Seal

Date :

FORM -II

# ( To be printed on letterhead )

DECLARATION

Declaration letter on official letterhead stating the following:

- We are not involved in any major litigation that may have an impact of affecting or compromising the delivery of services as required under this tender.

- We are not black-listed by any Central/State Government/Public Sector Undertaking in India.

## Yours faithfully,

(Signature of the Authorized person)

Date:	Name:

Place:	Designation:

Seal:

FORM -III

# ( To be printed on letterhead )

## EMD refund request form

To

Administrative Officer (Purchase)

Inter-University Centre for Astronomy & Astrophysics

Post bag - 4, Ganeshkhind,

Pune University Campus,

Pune -  411007.

## Sub :- Request for refund of EMD deposited for tender Internal Electrification Work Of New Telescope Building At IGO

Sir,

I/We request you that EMD deposited by me/us against the tender above tender due on                      23rd February , 2015 vide DD No.                     dated                     for Rs.20,000/- for providing Internal Electrification Work Of New Telescope Building At IGO  may kindly be refunded.

Yours faithfully,

For M/s

(Signature & Seal)

ANNEXURE - A

(UNDERTAKING TO BE GIVEN BY THE TENDERER)

It is to certify that:

- I / We have sealed the tender documents properly before submitting the same.

- I / We have submitting the cost of tender along with the EMD.

- I / We have read carefully and understood the important instructions to the all Tenderers

- It is certified that  I/we have inspected the site and surroundings of the work specified in the tender documents and we have satisfied ourselves by carefully examining before submitting this tender as to the nature of the surface, strata, soil, subsoil and grounds, the form and nature of the site and local conditions, the quantities, nature and magnitude of the work, the availability of labour and materials necessary for the execution of work, the means of access to the site, the supply of power and  water thereto and the accommodation we may require. We have made local and independent enquiries and have obtained complete information as to the matters and things referred to  or  implied in the tender  documents or having any connection therewith and have considered  the nature and extent of all the probable and possible situations, delays, hindrances or interferences to or with the execution and completion of the work to be carried out under the contract. We have examined and considered all other matters, conditions, things, probable  and possible contingencies, generally all matters incidental thereto ancillary thereof affecting the  execution and completion of the work and which might have influenced us  in making this tender.

Dated :	      /       /			                                         Contractor Sign with seal

SCHEDULE - B

TECHNICAL SPECIFICATIONS

INDEX

| SR. NO. | CONTENTS | PAGE NO. |
| --- | --- | --- |
| 01 | ELECTRIC POWER DISTRIBUTION AND WIRING | 52 - 68 |
| 02 | NON-METALLIC CONDUIT WIRING SYSTEM | 68 - 72 |
| 03 | TRUNKING CABLE MANAGEMENT SYSTEM | 72 - 75 |
| 04 | M.V. PANEL, D.B., RISING MAINS, BUS TRUNKING AND OVERHEAD BUS BAR SYSTEM | 75 - 86 |
| 05 | ADVANCED LIGHTNING PROTECTION SYSTEM | 87 - 89 |
| 06 | CAPACITOR PANEL | 90 - 91 |
| 07 | EARTHING | 92 - 93 |

ELECTRIC POWER DISTRIBUTION AND WIRING

1.0  Introduction

The electric power will be received and distributed in a building, through following means:-

(i) Cabling and switchgear to receive power.

The building is divided into convenient number of parts, each part served by a

rising main system to distribute power vertically/horizontally.

(ii) Power flows from rising main through tap-off box to floor main board to final DBs

and then to wiring.

(iii) Dedicated circuit for different loads such as lighting, HVAC, power plug loads shall be provided, wherever possible.

(iv) Rising main, which takes care of general lighting and power outlet load of the building, should have independent cables for lighting as well as power, wherever possible. Other loads like lifts, water pump sets, other motor loads are fed by independent cables of suitable capacity fed from properly designed essential/ nonessential LT power panels with suitably designed switchgear having necessary control and safely features.

(v) Therefore the distribution/wiring system essentially consists of provision of cables,

switchgear, rising main, bus-ducting, earthing, laying of pipes/ conduits etc. (in surface or recess) based on proper detailed designing to decide on various sizes/capacities of these components and various controls and safeties involved, to provide an efficient, reliable, safe and adequate electrical distribution and wiring system.

(vi) A typical schematic diagram of power distribution of a building is enclosed. (See Fig. 3)

  - System of Distribution and Wiring.

(i) The wiring shall be done from a distribution system through main and/or branch distribution      boards. The system design and location of boards will be properly worked out.

(ii) Each main distribution board and branch distribution board shall be controlled by an incoming circuit breaker/linked switch with fuse. Each outgoing circuit shall be controlled by a circuit breaker/switch with fuse.

(iii) For non-residential and residential buildings as far as possible DBs shall be separate for light and power.

(iv) Only MCCB/MCB/HRC fuse type DBs shall be used. Rewirable type fuses shall not be used.

(v) Three phase DBs shall not be used for final circuit distribution as far as possible.

(vi) ‘Power’ wiring shall be kept separate and distinct from light wiring, from the level of

circuits, i.e., beyond the branch distribution boards. Conduits for light/power wiring shall be separate.

(vii) Essential/non-essential/UPS distribution each will have a completely independent and separate distribution system starting from the main, switchboard up to final wiring for each system. As for example, conduit carrying non-essential wiring shall not have essential or UPS wiring. Wiring for essential and UPS supply will have their own conduit system. No mixing of wiring is allowed.

(viii) Generally, no switchboard will have more than one source of incoming supply. More than one incoming supply will be allowed only at main board with proper safety and interlocking so that only one source can be switched on at a time.

(ix) Each MDB/DB/Switch Board will have reasonable spare outgoing ways for future expansion.

(x) Balancing of 3-phase circuit shall be done.

3.3 Wiring

3.3.1 Submain & Circuit Wiring

(a) Submain Wiring:

Submain wiring shall mean the wiring from one main/distribution switchboard to another.

(b) Circuit Wiring

Circuit wiring shall mean the wiring from the distribution board to the 1st tapping point inside the switch box, from where point wiring starts.

3.3.2 Measurement of Submain and Circuit Wiring:

(i) Circuit and submain wiring shall be measured on linear basis along the run of the wiring. The measurement shall include all lengths from end to end of conduit or channel as the case may be, exclusive of interconnections inside the switchboard etc. The increase on account of diversion or slackness shall not be included in the measurement.

(ii) The length of circuit wiring with two wires shall be measured from the distribution board to the nearest switch box from which the point wiring starts. Looping of switch boxes also will be counted towards circuit wiring, measured along the length of conduit/channel.

(iii) When wires of different circuits are grouped in a single conduit/ channel, the same shall be measured on linear basis depending on the actual number and sizes of wires run.

(iv) Protective (loop earthing) conductors, which are run along the circuit wiring and the submain wiring, shall be measured on linear basis and paid for separately.

Note: Conduit carrying submain will not carry circuit/point wiring. Similarly conduit carrying circuit wiring will not carry submain/point wiring. Conduit carrying point wiring will not carry submain/circuit wiring.

3.3.3 Measurement of Other Wiring Work

Except as specified above for point wiring, circuit wiring and submain wiring, other types of wiring shall be measured separately on linear basis along the run of wiring depending on the actual number and sizes of wires run.

3.4 Point Wiring

3.4.1 Definition

A point (other than socket outlet point) shall include all work necessary in complete wiring to the following outlets from the controlling switch or MCB.

(a) Ceiling rose or connector (in the case of points for ceiling/exhaust fan points, prewired light fittings, and call bells).

(b) Ceiling rose (in case of pendants except stiff pendants).

(c) Back plate (in the case of stiff pendants).

(d) Lamp holder (in the case of goose neck type wall brackets, batten holders and

fittings which are not prewired).

3.4.2 Scope

Following shall be deemed to be included in point wiring:

(a) Conduit/channel as the case may be, accessories for the same and wiring cables between the switch box and the point outlet, loop protective earthing of each fan/light fixture.

(b) All fixing accessories such as clips, screws, Phil plug, rawl plug etc. as required.

(c) Metal or PVC switch boxes for control switches, regulators, sockets etc, recessed or surface type, and phenolic laminated sheet covers over the same.

(d) Outlet boxes, junction boxes, pull-through boxes etc. but excluding metal boxes if any, provided with switchboards for loose wires/conduit terminations.

(e) Control switch or MCB, as specified.

(f) 3 pin or 6 pin socket, ceiling rose or connector as required. (2 pin and 5 pin socket outlet shall not be permitted.)

(g) Connections to ceiling rose, connector, socket outlet, lamp holder, switch etc.

(h) Bushed conduit or porcelain tubing where wiring cables pass through wall etc.

(Note: In areas where false ceiling are provided, termination of wires should be at the fittings. Flexible conduits from ceiling junction box to the fi ttings shall be provided duly coupled at both ends. This shall be included within the scope of point wiring.)

(i) Interconnecting wiring between switches within the switch box on the same circuit.

3.4.3 Measurement

(a) Point Wiring (other than socket outlet points)

(i) Unless and otherwise specified, there shall be no linear measurement for point wiring for light points, fan points, exhaust fan points and call bell points. These shall be measured on unit basis by counting, and classified as laid down in 3.4.4.

3.4.4 Classification

Points measured under 3.4.3 on unit basis shall be classified as under according to the type of building:

(a) Residential Buildings

(i) Group ‘A’, for point wiring for type I, type II and type III residential quarters and hostels.

(ii) Group ‘B’, for point wiring for type IV and above type of residential quarters and barracks.

(b) Non-residential Buildings

Group ‘C’ for all types of non-residential buildings such as offices, hospitals, laboratories, educational institutions, libraries etc.

(c) For any Other Type of Building

The group under which the points are to be classified shall be decided by the concerned Chief Engineer (Elect.).

3.4.5 Point Wiring for Socket Outlet Points

(i) The light plug (6 A) point and power (16 A) point wiring shall be measured on linear basis, from the respective tapping point of live cable, namely, switch box, another socket outlet point, or the sub-distribution board as the case may be, up to the socket outlet.

(ii) The metal/PVC box with cover, switch/MCB, socket outlet and other accessories shall be measured and paid as a separate item.

Note: There shall normally be no “on the board” light plug point.

(iii) The power point outlet may be 16 A/6 A six pin socket outlet, where so specified in the tender documents.

3.4.6 Group Control Point Wiring

(i) In the case of points with more than one point controlled by the same switch, such points shall be measured in parts i.e. (a) from the switch to the first point outlet as one point and classified according to 3.4.4, and (b) for the subsequent points, the distance from that outlet to the next one and so on, shall be treated as separate point(s) and classified according to 3.4.4.

(ii) No recovery shall be made for non-provision of more than one switch in such cases.

3.4.7 Twin Control Light Point Wiring

(i) A light point controlled by two numbers of two way switches shall be measured as

two points from the fitting to the switches on either side and classified according to 3.4.4.

(ii) No recovery shall be made for non-provision of more than one ceiling rose or connector in such cases.

3.4.8 Multiple Controlled Call Bell Point Wiring:

(i) In the case of call bell points with a single call bell outlet, controlled from more than one place, the points shall be measured in parts i.e.

(a) from the call bell outlet to one of the nearest ceiling roses meant for connection to bell push, treated as one point and classifi ed according to 3.4.4, and

(b) from that ceiling rose to the next one and so on, shall be treated as separate point(s) and classified according to 3.4.4.

(ii) No recovery shall be made for non-provision of more than one ceiling rose or connector for connection to call bell in such cases.

3.5 Wiring System:

(i) Wiring shall be done only by the looping system. Phase/live conductors shall be looped at the switch box. For point wiring, neutral wire/earth wire looping for the 1st point shall be done in the switch box; and neutral/earth looping of subsequent points will be made from point outlets.

(ii) In wiring, no joints in wiring will be permitted any where, except in switch box or point outlets, where jointing of wires will be allowed with use of suitable connector.

(iii) The wiring throughout the installation shall be such that there is no break in the neutral wire except in the form of linked switchgear.

(iv) Light, fans and call bells shall be wired in the ‘lighting’ circuits. 15A/16A socket outlets and other power outlets shall be wired in the ‘power’ circuits. 5A/6A socket outlets shall also be wired in the ‘power’ circuit both in residential as well as nonresidential buildings.

(v) Colour Coding

Following colour coding shall be followed in wiring:

Phase : Red/Yellow/Blue.(Three phase wiring)

Live : Red (Single phase wiring)

Neutral : Black

Earth : Yellow/Green.

(vi) Termination of Circuit into Switchboard

Circuit will consist of phase/neutral/earth wire. Circuit will terminate in a switch board

(first tapping point, where from point wiring starts) in following manner: Phase wire terminated in phase connector.Neutral wire terminated in neutral connector.

Earth wire terminated in earth connector. The switchboard will have phase, neutral and earth terminal connector blocks to receive phase/ neutral/ earth wire. See Fig 4.

3.6 Run of Wiring:

(i) The type of wiring shall be as specifi ed in the tender documents namely, surface conduit/recessed conduit, steel/PVC, channel.

(ii) Surface wiring shall run as far as possible along the walls and ceiling, so as to be easily accessible for inspection.

(iii) Above false ceiling, in no case, open wiring shall be allowed. Wiring will be done in recessed conduit or surface steel conduit.

(iv) In recessed conduit system, routes of conduit will be planned, so that various inspection boxes provided don’t present a shabby look. Such boxes can be provided 5 mm above plaster level, and they can be covered with plaster of paris with marking of junction boxes.

(v) Where number of electrical services like electrical wiring, telephone wiring, computer cabling, pass through corridors, it may be proper to plan such service with properly designed aluminium/PVC channels duly covered by a false ceiling, so that subsequently such service can be maintained and additional cables can be provided.

(vi) Generally conduits for wiring will not be taken in fl oor slabs. When it is unavoidable special precaution to be taken to provide fl oor channels with provision for safety and maintenance. Alternatively false fl ooring can be provided.

3.7  Passing through Walls or Floors:

(i) When wiring cables are to pass through a wall, these shall be taken through a protection (steel/ PVC) pipe or porcelain tube of suitable size such that they pass through in a straight line without twist or cross in them on either porcelain, PVC or other approved material.

(ii) All fl oor openings for carrying any wiring shall be suitably sealed after installation.

3.8  Joints in Wiring:

(i) No bare conductor in phase and/or neutral or twisted joints in phase, neutral, and/or protective conductors in wiring shall be permitted.

(ii) There shall be no joints in the through-runs of cables. If the length of fi nal circuit or submain is more than the length of a standard coil, thus necessitating a through joint, such joints shall be made by means of approved mechanical connectors in suitable junction boxes.

(iii) Termination of multistranded conductors shall be done using suitable crimping type thimbles.

3.9  Ratings of Outlets

(to be adopted for design).

(i) Incandescent lamps in residential and non-residential buildings shall be rated at 60W and 100W respectively.

(ii) Ceiling fans shall be rated at 60W. Exhaust fans, fluorescent tubes, compact fluorescent tubes, HPMV lamps, HPSV lamps etc. shall be rated according to their capacity. Control gear loses shall be also considered as applicable.

(iii) 6A and 16A socket outlet points shall be rated at 100W and 1000W respectively, unless the actual values of loads are specified.

3.10 Capacity of Circuits

(i) Lighting circuit shall feed light/fan/ call bell points. Each circuit shall not have more than 800 Watt connected load or more than 10 points whichever is less. However, in case of CFL points where load per point may be less, number of points may be suitably increased.

(ii) Power circuit in non-residential building will have only one outlet per circuit.

(iii) Each power circuit in residential building can feed following outlets:

(a) Not more than 2 Nos. 16A outlets.

(b) Not more than 3 Nos. 6A outlets.

(c) Not more than 1 No.16A and 2 Nos. 6A outlets.

(iv) Load more than 1 KW shall be controlled by suitably rated MCB and cable size shall be decided as per calculations.

(v) Power Wiring with Bus Trunking

It is permitted to meet large-scale power requirement in a hall, or fl oor, with use of single phase or 3 phase bus bars running inside a metal enclosure. This will be provided with careful design and use of factory fabricated bus-trunking of reputed make, conforming to relevant BIS standards and with standard accessories like End feed unit, tap off with necessary safety features like over current, short-circuit and earth fault protection. Such trunking will be of specified breaking KA rating.

3.11 Socket Outlets

(i) Socket outlets modular type shall be 6A 3 pin, 16 Amp 3 pin or 16/6 Amp 6 pin. 5pin socket outlets will not be permitted.

The third pin shall be connected to earth through protective (loop earthing) conductor. 2 pin or 5 pin sockets shall not be permitted to be used.

(ii) Conductors connecting electrical appliances with socket outlets shall be of flexible type with an earthing conductor for connection to the earth terminal of plug and the metallic body of the electrical appliance.

(iii) Sockets for the power outlets of rating above 1KW shall be of industrial type with associated plug top and controlling MCB.

(iv) Where specified, shutter type (interlocking type) of sockets shall be used.

(v) Every socket outlet shall be controlled by a switch or MCB, as specified. The control switch/MCB shall be connected on the ‘live’ side of the line.

(vi) 5A/6A and 15A/16A socket outlets shall be installed at the following positions, unless otherwise specified.

(a) Non-residential buildings – 23 cm above fl oor level.

(b) Kitchen – 23 cm above working platform and away from the likely positions of stove and sink.

(c) Bathroom – No socket outlet is permitted for connecting a portable appliance thereto. MCB/IC switch may be provided above 2 m for fixed appliances, and at least 1 m away from shower.

(d) Rooms in residences: – 23 cm above floor level, or any other level in special cases as desired by the Engineer-in-charge / IUCAA authorities.

(vii) Unless and otherwise specifi ed, the control switches for the 6A and 16A socket outlets shall be kept along with the socket outlets.

3.12 Cables : (i) Copper conductor cable only will be used for submain/ circuit/ point wiring.

(ii) Minimum size of wiring:

Light Wiring : 1.5 sq.mm.

Power Wiring : 4.0 sq.mm.

Power circuit rated : More than 1 KW, Size as per calculation.

(iii) Insulation : Copper conductor cable shall be PVC insulated conforming to BIS Specification.

(iv) Multi stranded : Cables are permitted to be used.

3.13 Flexible Cable

(i) Conductor of flexible cables shall be of copper. The cross sectional area of conductor for flexible cable shall be as per design.

(ii) Only 3 core flexible cables shall be used for connecting single-phase appliances.

(iii) Unless the flexible cables are mechanically protected by armour, or tough rubber, or PVC sheath, these shall not be used in workshops and other places where they are liable to mechanical damage.

(iv) Flexible cable connection to bell push from ceiling rose shall be taken through steel conduit/metallic casing and capping.

3.14 Wiring Accessories:

(a) Control Switches for Point

(i) Control switches (single pole switch) carrying not more than 16A shall be modular type. The switch shall be ‘On’ when the knob is down.

(ii) (a) In type I, II & III quarters, Barracks & school buildings (except principal’s & staff rooms) etc. Piano type switches shall be provided (unless specifi cally asked for by the user department / Architect.)

(b) Modular type switches to be provided for remaining types of buildings i.e. in all types of remaining non-residential buildings & residential buildings of type IV & above & Transit hostel or as may be decided by the Architect/ user department. (Note: Provision is meant for new

constructions and in existing buildings during rewiring if the building work renovation is also in progress in the area. Otherwise existing type of piano switches will be continued.)

(iii) It is recommended to provide double pole MCB in proper enclosure as power outlet for window type AC units, geysers etc.

(b) Switch Box

(i) Switch box shall be hot dip galvanized, factory fabricated, suitable in size for surface/ recess mounting and suitable in size for accommodating the required number of switches and accessories (where required to be used for applications other then modular switches/ sockets).

(ii) Switch box also can be of non-metallic material. The technical sanctioning authority will approve specified makes of reputed quality and specifications.

(c) Switch Box Covers (for application other than modular type)

Phenolic laminated sheets of approved shade shall be used for switch box covers. These shall be of 3 mm thick synthetic phenolic resin bonded laminated sheet as base material and conforming to grade P- I of IS 2036 : 1974.

Note: Specification for switch boxes is covered in the chapters on the various types of wiring.

(d) Ceiling Rose:

(i) A ceiling rose shall not be used on a circuit, the voltage of which normally exceeds 250V.

(ii) Only one flexible cord shall be connected to a ceiling rose. Specially designed ceiling roses shall be used for multiple pendants.

(iii) A ceiling rose shall not embody fuse terminal as an integral part of it.

(e) Lamp Holders:

(i) Lamp holders may be batten, angle, pendant or bracket holder type as required. The holder shall be made of brass and shall be rigid enough to maintain shape on application of a nominal external pressure. There should be sufficient threading for fixing the base to the lamp holder part so that they do not open out during attention to the lamp or shade.

(ii) Lamp holders for use on brackets and the like shall have not less than 1.3 cm nipple, and all those for use with flexible pendant shall be provided with cord grips.

(iii) All lamp holders shall be provided with shade carriers.

(iv) Where center contact Edison Screw lamp holders are used, the outer or screw contact shall be connected to the ‘middle wire’, or the neutral conductor of the circuit.

(f) Fittings:

Types : The type of fittings shall be as specified in tender documents.

Indoor Type Fittings

(i) Where conductors are required to be drawn through tube or channel leading to the fitting, the tube or channel must be free from sharp angles or projecting edge, and of such size as will enable them to be wired with the conductors used for the final circuit without removing the braiding or sheathing. As far as possible all such tubes or channels should be of sufficient size to permit

looping back.

(ii) Wires used within prewired fittings shall be flexible with PVC insulation and 14/0.193 mm (minimum) copper conductors. The leads shall be terminated on built-in-terminal block, ceiling rose or connector, as required.

(iii) Fittings using discharge lamps shall be complete with power factor correction capacitors, either integrally or externally. An earth terminal with suitable marking shall be provided for each fitting for discharge lamps.

(iv) Fittings shall be installed such that the lamp is at a height of 2.4m above floor level, unless otherwise directed by the Engineer-in-charge.

(v) Fittings made of CRCA shall be phosphatized and powder/epoxy painted.

For coastal areas and humid area like toilets, kitchen, for prolonging the life of such fittings, corrosion free materials like engineering plastic, aluminium, stainless steel etc. should be used.

Outdoor Fittings Outdoor fittings shall have suitable IP protection. It is preferable that street light fittings are of cast aluminium body of IP 65, for reducing recurring maintenance cost and improved performance. Where required IP 66 fittings also can be provided for reducing maintenance frequency and cost. Other fittings, which are not available with tested IP 65/54 protection, can be properly fabricated with weatherproof features, proper gasketing etc. As far as

possible corrosion free material like cast aluminium, stainless steel, engineering plastics may be used for fabrication of such fittings, to prolong life of such fittings. There should not be any exposed wiring in such outdoor fittings.

3.15 Attachment of Fittings and Accessories

(a) Conduit Wiring System

(i) All accessories like switches, socket outlets, call bell pushes and regulators shall be fixed in flush pattern inside the switch/regulator boxes. Accessories like ceiling roses, brackets, batten holders etc. shall be fixed on outlet boxes. The fan regulators may also be fixed on outlet boxes, if so directed by the Engineer-in-charge.

(ii) Aluminium alloy or cadmium plated iron screws shall be used to fix the accessories to their bases.

(iii) The switch box/regulator box shall normally be mounted with their bottom 1.25 m from Floor level, unless otherwise directed by the Engineer-in-charge.

(b) Fixing to Walls and Ceiling

(i) Wooden plugs for fixing to wall/ceiling will not be allowed. Fixing will be done with the help of PVC sleeves/Rowel plugs/ dash fasteners as required.

(ii) Drilling of holes shall be done by drilling machines only. No manual drilling of hole will be allowed.

3.16 Fans, Regulators and Clamps:

(a) Ceiling Fans: (i) Ceiling fans including their suspension shall conform to relevant Indian Standards.

(ii) The capacity of a ceiling fan to meet the requirement of a room with the longer dimension D meters should be about 55 D m3/min.

(iii) The height of fan blades above the fl oor should be (3H + W)/4, where H is the height of the room, and W is the height of the work plane.

(iv) The minimum distance between fan blades and the ceiling should be about 0.3 meters.

(v) When actual ventilated zone does not cover the entire room area, then optimum size of ceiling fan should be chosen based on the actual usable area of the room, rather than the total         floor area of the room.

(vi) The number of fans and the optimum sizes for rooms of different dimensions are given in the following table:

Note : This table is indicative only. Case specific design should be done by field officers based on site conditions & constraints.

(vii) Energy Efficient fans with BEE 3-5 star rating or complying with IS 374: 1979,shall be used. The minimum service value of fans shall be 3.5 m3/min/W and air delivery 200 m3/min. The values of service factor and air delivery for ceiling fans with 1200 mm sweep are given in the table below:

Star Rating Index Calculation for Ceiling Fans (1200 mm sweep)

* Where x is the base service value as per IS 374 : 1979. BEE has proposed a base service value of 3.2 at present and would upgrade it to higher value once the BIS value is finalised.

* The BIS has proposed from the year 2010 the service value of 3.5.

* All ceiling fans covered under this standard shall comply with minimum air Delivery of 210 m3/min. For other fan size (mm) the following table may be considered

Standard Power with Air Delivery of Fan as per the IS 374 Code

Note: Air delivery values are on the basis of air velocity measurements up to 15m/min.

(viii) Step Type Electronic regulators should be used instead of resistance type regulators for controlling speed of fans.

(ix) All ceiling fans shall be wired to ceiling roses or to special connector boxes, and suspended from hooks or shackles, with insulators between hooks and suspension rods. There shall be no joint in the suspension rod.

(x) For wooden or steel joists and beams, the suspension shall consist of GI fl at of size not less than 40 mm x 6 mm, secured on the sides of the joists or beams by means of two coach screws of size not less than 5 cm for each fl at. Where there is space above the beam, a through-bolt of size not less than 1.5 cm dia, shall be placed above the beam from which the flats are

suspended. In the latter case, the flats shall be secured from movements by means of another bolt and nut at the bottom of the beam. A hook consisting of MS rod of size not less than 1.5 cm dia shall be inserted between the MS fl at through oval holes on their sides. Alternatively, the flats may be bent inwards to hold tightly between them by means of a bolt and nut, a hook of ‘S’ form.

(xi) In the case of ‘I’ beams, flats shall be shaped suitably to catch the flanges and shall be held together by means of a long bolt and nut.

(xii) For concrete roofs, a 12 mm dia. MS rod in the shape of ‘U’ with their vertical legs bent horizontally at the top at least 19 cm on either side, and bound to the top reinforcement of the roof shall be used, as shown in Fig. 5.

(xiii) In buildings with concrete roofs having a low ceiling height, where the fan clamp mentioned under sub-clause (v) above cannot be used, or wherever specified, recessed type fan clamp inside metallic box, as shown in Fig. 6 shall be used.

(xiv) Canopies on top of suspension rod shall effectively hide the suspension.

(xv) The leading in wire shall be of nominal cross sectional area not less than 1.5 sq. mm. and shall be protected from abrasion.

(xvi) Unless otherwise specified, all ceiling fans shall be hung 2.75 m above the floor.

(xvii) In the case of measurement of extra down rod for ceiling fan including wiring, the same shall be measured in units of 10 cm. Any length less than 5 cm shall be ignored.

(xviii) The wiring of extra down rod shall be paid as supplying and drawing cable in existing conduit.

(b) Exhaust Fans:

(i) Exhaust fans shall conform to relevant Indian Standards.

(ii) Exhaust fans shall be erected at the places indicated by the Engineer-incharge. For fixing an exhaust fan, a circular opening shall be provided in the wall to suit the size of the frame, which shall be fixed by means of rag bolts embedded in the wall. The hole shall be neatly plastered to the original finish of the wall. The exhaust fan shall be connected to the exhaust fan point, which shall be wired as near to the opening as possible, by means of a flexible cord, care being taken to see that the blades rotate in the proper direction.

(iii) Exhaust fans for installation in corrosive atmosphere, shall be painted with special PVC paint or chlorinated rubber paint.

(iv) Installation of exhaust fans in kitchens, dark rooms and such other special locations need careful consideration; any special provisions needed shall be specified.

(c) Regulators

The metallic body of regulators of ceiling fans/exhaust fans shall be connected to earth by protective conductor.

3.17 Marking of Switch Boards

(i) Schematic Diagram

First a comprehensive schematic diagram for each building is to be prepared, starting from Main LT Panel, rising main, submain boards, DBs, etc. and the  manner in which they are connected. This will include essential, non-essential and UPS systems. Sizes of interconnecting main/ submain cables shall be indicated.

(ii) Marking of each Main Board

Each main board/submain board shall be marked indicating rating of each incoming/outgoing switch and the details of load/area it feeds. Detail/size of incoming and outgoing cable also shall be marked indicating from where the incoming cable has originated.

(iii) Marking of Distribution Board

Each Distribution Board shall be marked indicating detail of incoming switch (Size of cable and from where it is fed) and marking of each outgoing MCB indicating the area it feeds. Suitable marking sticker will be suitably fi xed to indicate such details.

(iv) Marking of Power/Light DBs

Power/light DBs shall be marked ‘P’ and ‘L’ respectively.

(v) Marking for Non-essential/Essential/UPS/Switch Boards

Each switchboard shall be marked essential/non-essential/UPS to indicate the nature of such switchboards.

(vi) Marking of Main Earthing Terminal

Main arthing terminals in main/submain switchboard shall be permanently marked,  as “Safety Earth – Don’t Remove”.

3.18 LT Distribution Switchgear

Only following type switchboards will be used:

(a) Main/Submain switchboard of cubicle type.

(b) DBs – Conventional DBs of reputed makes can also be used with the approval of technical sanctioning authority in addition to prewired DB.

(c) Specially designed switchboards.

Also specially designed switchboards can be used with detailed specification and fabrication drawings approved by the technical sanctioning authority.

(d) Specifications of cubicle panel and pre-wired DB are given in Clause 7.1.2 of Chapter 7.

3.19 Location of Switchboards:

(i) Switchboards are to be located in common areas like corridors, lobby etc. and not to be located in locked room.

(ii) Switchboard shall be located only in dry situation and in well-ventilated space. They shall not be placed in the vicinity of storage battery or exposed to chemical fume.

(iii) Switchboards shall not be erected above gas stove, or sinks or within 2.5 meter of any washing unit in washing rooms of launderings or in the bath rooms, toilets, or kitchen.

(iv) As far as possible main boards shall not be located in basement. Such main boards can be located in ground fl oor.

(v) It is preferable to locate fl oor main boards in rising main shafts of adequate size, with steel doors (having ventilation) or in suitable room.

(vi) Similarly DBs can be in suitable nitches in corridor walls having doors.

(vii) Locating main boards under staircase or standing open in corridor is not a desirable practice, besides being highly unaesthetic.

(viii) The main switchboard, which receives power to the building, should be invariably located in a switch room, having round the clock access, for emergency attendance to the switchboard.

3.20 Guidelines for Planning Residential Areas

(i) U.G. System of Power Distribution, Street Lighting, Telephone Cabling and TV Cabling

For long-term economical maintenance, better reliability of service, safety, protection against heavy rains, storm, wind etc. and aesthetics, under ground cable system will be generally followed. Also considering the high cost of land, under ground system results in better economic utilization of land area, otherwise substantial land route has to be earmarked for overhead lines.

(ii) Effi cient working of street lights and staircase lighting is required for security of the colony and safety and convenience of the residents. Therefore adequate street lighting, staircase lighting is to be provided. Generally back lanes of residential blocks remain dark. Such areas are also to be covered by basic street lighting for security.

(iii) Kitchen

(i) Exhaust fans opening with one point outlet to be provided irrespective of yardstick of provision of exhaust fans.

(ii) In addition to one 16 A 6-pin power outlet for kitchen, one 3 pin 6 Amp. Outlet to be provided for water filter.

(iv) Washing Machine

Location to be fi nalized in consultation with the Architect. A power outlet plus water supply/drainage to be coordinated with Architect/Civil Engineer.

(v) Meter Board

(For a Block of Quarters)

Generally for a block of quarters of 2/3/4 storied, electric supply for each block is received in a meter board, where a cubicle meter panel is provided with system of power distribution to each quarter.

(See Fig. 7)

At present such meter boards are invariably located under staircase. This is not a desirable practice from technical/aesthetic viewpoint. It is technically desirable to coordinate with Architect to provide separate meter room for each block of quarters or a number of blocks.

(vi) Stair Case Lighting

Stair case lighting is to be treated as an extension of street lighting, for security and convenience of the residents. CFL (1 x 11 Watt) type stair case lighting may be provided to reduce load. As for example, need of 200 quarters can be met with 100 CFL fi tting (each of 11 watt), with connected load of 1.5 KW only. Incandescent stair case lighting and bulk head fi ttings should not be provided, in view of excessive energy consumption and low burning hours.

(vii) Emergency Electric Supply

For ensuring essential water supply and security lighting, a D.G. set to be provided for each colony to take care of water supply pump set, street lighting and essential load requirement of buildings like CGHS Dispensary, Community Center etc.

(viii) Fittings

Subject to limit of yardstick of fittings for various types of quarters following guidelines to be provided:

(i) Every room to be provided with one fluorescent fitting for energy saving.

(ii) Kitchen to be provided with a fluorescent fitting, tapped from a batten holder (through an adopter), so that in case of need batten holder can be used with bulbs.

(iii) Incandescent bulkhead fittings not to be used.

(iv) Quality fittings of reputed make to be used.

(ix) Main Board of Each Quarter

It shall be MCB type with provision of ELCB with the incoming MCB. It shall be located in a nitch with ventilated door cover, in the room connecting to the entry of the quarter. MCB DB shall be pre-wired type, for trouble free service.

(x) Corrosion Free Fittings

Coastal areas and humid areas like kitchen, toilet are subject to corrosion, which substantially reduces the useful life of such fittings, besides giving an ugly look on account of rusting.

Therefore for coastal areas, and other humid areas corrosion free type of fittings (like aluminium, stainless steel, engineering plastic) should be used, for ensuring long life of such fittings and to achieve life cycle economy, after taking into account recurring expenditure on account of painting of fittings.

(xi) Telephone Wiring                                                                                                                    Telephone wiring is to be provided for each quarter. One outlet up to type III quarters,

two outlets up to type IV quarters and three outlets above type IV quarters. Such telephone wiring to be brought to a tag-block at a suitable point in ground floor.Provisions shall be kept for suitable entry-pipe for laying incoming telephone cable.

(xii) TV Cabling

Internal TV cabling shall be provided, with two outlets up to type III quarters and three outlets for type IV quarters and above. Similarly, from suitable point at ground floor, TV cabling shall be provided. With use of suitable splitters, such TV cabling to be connected to each quarter.

(xiii) Lighting for Parks

Colonies are provided with parks. Such parks should be provided with adequate

lights to include area lights, pathway lights etc. so that the parks can be effectively

used by the residents and they remain secure during night time.

(xiv) External Pipe Network for Laying Telephone and TV Cabling for the Colony

Starting from a suitable room, pipe network may be provided to lay telephones/TV cables for the colony. Suitable road cross pipe and manholes to be provided for drawing such cables and their maintenance.

(xv) Preliminary Estimate to Take Care of Telephone/TV Cabling in a Colony

At present, such services are provided in a very crude manner making use of existing poles and hanging cables. Apart from making colonies shabby, such services are subject to damages and unsatisfactory service. Therefore preliminary estimate should provide for such TV/Telephone cabling for the colony.

(xvi) Other Allied Services

Modern residential colonies require support services like CCTV (for Gate and house security), intercom system, basic security system etc. for the safety and convenience of the residents. Therefore, preliminary estimate should provide for basic provisions for such safety/security systems. Most of these services pay for themselves within 3 / 4 years of installation, besides providing security, which sometimes amount to life saving instances.

3.21 Guidelines for Planning Offi ce Buildings

(i) The main objective is to avoid possible fi re hazards, which calls for sound detailed designing and use of quality equipments and materials executed with sound workmanship and supervision.

(ii) All control LT Panels, controlling power supply to the entire building will be located in a centralized room, from where centralized control and monitoring of the entire power supply system can be made.

(iii) Earth fault protection shall be provided for each individual building at the LT receiving point i.e. Main LT Panel. ELCB shall not be provided as a matter of routine in distribution boards. These can be provided, if required, by the Chief Engineer (E), in charge .

(iv) Office buildings are prone to fire hazard during night hours. Therefore, after office

hours, all the LT Panels should be switched off. Based on need of the building, only the             specified LT panel to be kept ‘ON’ which feed the loads during night hours. Such panel, called common service panel, may feed following loads, which are normally used after office hours:-

(a) Some specified lifts.

(b) Staircase/ Corridor/ Compound light.

(c) Fire protection loads.

(d) Pump Sets.

(e) Other loads which are kept ‘ON’ after office hours.

NON-METALLIC CONDUIT WIRING SYSTEM

5.0 Scope

This chapter covers the detailed requirements for wiring work in non-metallic conduits.

This chapter covers both surface and recessed types of wiring work.

5.1 Application

5.1.1 Recessed conduit work is generally suitable for all applications. Surface conduit work may be adopted in places like workshops etc. and where recessed work may not be possible to be done. The type of work shall be as specified in individual works.

5.1.2 Flexible non-metallic conduits shall be used only at terminations, wherever specified.

5.1.3 Special Precautions

(i) If the pipes are liable to mechanical damages, they should be adequately protected.

(ii) Non-metallic conduit shall not be used for the following applications:-

(a) In concealed/inaccessible places of combustible construction where ambient temperature exceeds 60 degrees Cent.

(b) In places where ambient temperature is less than 5 degrees Cent.

(c) For suspension of fluorescent fi ttings and other fixtures.

(d) In areas exposed to sunlight.

5.2 Materials

5.2.1 Conduits

(i) All non-metallic conduit pipes and accessories shall be of suitable material complying with IS 2509 : 1973 and IS 3419 : 1989 for rigid conduits and IS 9537 (Part 5) : 2000 for flexible conduits. The interior of the conduits shall be free from obstructions. The rigid conduit pipes shall be ISI marked.

(ii) The conduits shall be circular in cross-section. The conduits shall be designated by their nominal outside diameter. The dimensional details of rigid non-metallic conduits are given in Table III.

(iii) No non-metallic conduit less than 20 mm in diameter shall be not used.

(iv) Wiring Capacity:

The maximum number of PVC insulated aluminium/copper conductor cables of 650/1100 V grade conforming to IS 694 : 1990 that can be drawn in one conduit of various sizes is given in Table I under clause 4.2.1 (ii). Conduit sizes shall be selected accordingly.

5.2.2 Conduit Accessories:

(i) The conduit wiring system shall be complete in all respect including accessories.

(ii) Rigid conduit accessories shall be normally of grip type.

(iii) Flexible conduit accessories shall be of threaded type.

(iv) Bends, couplers etc. shall be solid type in recessed type of works, and may be solid or inspection type as required, in surface type of works.

(v) Saddles for fixing conduits shall be heavy gauge non-metallic type with base.

(vi) The minimum width and the thickness of the ordinary clips or girder clips shall be

as per Table IV.

(vii) For all sizes of conduit, the size of clamping rod shall be 4.5 mm (7 SWG) diameter.

5.2.3 Outlets:

(i) The switch box shall be made of either rigid PVC molding, or mild steel, or cast iron on all sides except at the front. The regulator boxes shall however be made only of mild steel or cast iron.

(ii) PVC boxes shall comply with the requirements laid down in IS 14772 : 2000. These boxes shall be free from burrs, fins and internal roughness. The thickness of the walls and base of PVC boxes shall not be less than 2 mm. The clear depth of PVC boxes shall not be less than 60 m.

(iii) The specifications for metallic boxes shall be as per requirements of clause 4.2.3.

(iv) 3 mm thick phenolic laminated sheet covers for all types of boxes shall be as per requirements of clause 3.14(c).

5.3 Installation:

5.3.1 Common Aspects for Both Recessed and Surface Conduit Works:

(i) The erection of conduits of each circuit shall be completed before the cables are drawn in.

(ii) Conduit Joints

(a) All joints shall be sealed/cemented with approved cement. Damaged conduit pipes/fittings shall not be used in the work. Cut ends of conduit pipes shall have neither sharp edges nor any burrs left to avoid damage to the insulation of conductors while pulling them through such pipes.

(b) The Engineer-in-charge, with a view to ensuring that the above provision has been carried out, may require that the separate lengths of conduit etc. after they have been prepared shall be submitted for inspection before being fixed.

(iii) Bends in Conduit:

(a) All bends in the system may be formed either by bending the pipes by an approved method of heating, or by inserting suitable accessories such as bends, elbows or similar fittings, or by              fixing non-metallic inspection boxes, whichever is most suitable. Where necessary, solid type           fittings shall be used.

(b) Radius of bends in conduit pipes shall not be less than 7.5 cm. No length of conduit shall have more than the equivalent of four quarter bends from outlet to outlet.

(c) Care shall be taken while bending the pipes to ensure that the conduit pipe is not injured, and that the internal diameter is not effectively reduced.

(iv) Outlets: All switches, plugs, fan regulators etc. shall be fitted in flush pattern. The fan regulators can be mounted on the switch box covers, if so stipulated in the tender specifications, or if so directed by the Engineer-in-charge.

(v) Painting

After installation, all accessible surfaces of metallic accessories shall be painted.

5.3.2 Additional Requirements for Surface Conduit Work:

(i) Conduit pipes shall be fixed by heavy gauge non-metallic saddles with base, secured to suitable approved plugs with screws in an approved manner, at an interval of not more than 60 cm, but on either side of couplers or bends or similar fittings, saddles shall be fixed at a closer distance from the centre of such fittings. Slotted PVC saddles may also be used where the PVC pipe can be pushed in through the slots.

(ii) Where the conduit pipes are to be laid along the trusses, steel joists etc. the same shall be secured by means of saddles or girder clips as required by the Engineering-charge. Where it is not possible to use these for fixing, suitable clamps with bolts and nuts shall be used.

(iii) If the conduit pipes are liable to mechanical damage, they shall be adequately protected.

5.3.3 Additional Requirements for Recessed Conduit Work:

(i) Making Chase

Requirements under clause 4.3.3 (i) shall be complied with

(ii) Fixing Conduits in Chase

(a) The conduit pipe shall be fixed by means of staples, or by means of nonmetallic saddles, placed at not more than 60 cm apart, or shall be fixed by any other approved means of fixing.

(b) At either side of the bends, saddles/staples shall be fixed at a distance of 15 cm from the centre of the bends.

(iii) Erection in RCC Work

Requirements under clause 4.3.3 (iii) shall be complied with.

(iv) Fixing Inspection Boxes

Requirements under clause 4.3.3 (iv) shall be complied with.

(v) Fixing Switch Boxes and Accessories

Requirements under clause 4.3.3 (v) shall be complied with.

(vi) Fish Wire

Requirements under clause 4.3.3 (vi) shall be complied with.

(vii) Bunching of Cables

For ease of maintenance, cables carrying direct current or alternating current shall always be bunched so that the outgoing and return cables are drawn in the same conduits.

5.3.4 Earthing Requirements

(i) A protective (earth) conductor shall be drawn inside the conduit in all distribution

circuits to provide for earthing of non-current carrying metallic parts of the

installation. These shall be terminated on the earth terminal in the switch boxes,

and/or earth terminal blocks at the DBs.

(ii) Gas or water pipe shall not be used as protective conductors (earth medium).

TABLE III

Dimensional Details of Rigid Non-metallic Conduits

[Clause 5.2.1(ii)]

(All dimensions in mm)

TABLE IV

Ordinary Clips or Girder Clips

[Clause 5.2.2(vi]

TRUNKING CABLE MANAGEMENT SYSTEM

6.0 Scope

This chapter covers the requirements of mini trunking (casing wiring) and adaptable metallic or PVC trunking (“otherwise also called wire ways”).

6.1 Adaptable trunking shall be used for power cables and data cables to run parallel in two different compartments with partition.

6.1.1 Mini Trunking is suitable for surface wiring work indoors where necessitated, either

due to aesthetics or technical requirements, such as case of extension of existing wiring, avoidance of recessed wiring in RCC columns etc. PVC insulated cables and / or other approved insulated cables conforming to IS 694 : 1990 shall be used in this type of work.

Wherever data cables are used for information outlets, adaptable trunking shall be used.

6.1.2 (i) This system using PVC trunking shall be adopted in residential buildings, or office

building where there is a need of tidy wiring system.

(ii) PVC trunking for distribution of Voice Data and Power should be used for cable management and should accept RJ45 Data socket and Power socket or other wiring accessory like switches, indicators etc.

(iii) Where the trunking has to be necessarily adopted in situations under (i) above,

PVC trunking shall be used.

(iv) Preferred size of the mini trunking should be 25 x 16 mm, 32 x 16 mm,40 x 25 mm, 40 x 40 mm and for adaptable trunking it should be 100 x 34 mm or 100 x 50 mm or 160 x 50 mm or 200 x 50mm for making up to four isolated compartments.

(v) Trunking should be equipped with rail on its surface on which clip-on partition can be clipped which should accept frames/plates for wiring devices upto 6/8 modules.

(vi) Trunking should have insulation rating of 5 mega Ohm. Trunking should have the

following fire resistance characteristics:

- Operating temperature between – 40 Deg to 60 Deg. C

- Glow wire test 960 Deg. C

- Oxygen index – 50 ± 5

- UL94 – VO

6.2 Material

6.2.1 The mini trunking and adaptable trunking shall be of the same material, viz. either PVC

or anodized aluminium in extruded sections.

6.2.2 The mini trunking shall have a square or rectangular body. The trunking cover shall be

“CLIP-ON” type with double grooving in the case of PVC wire-ways, and CLIP-ON type

for the metallic wire ways. All surfaces shall have smooth finish inside and outside. The top of the side walls of the body shall be suitable for the above types of fixing arrangement of trunking. PVC trunking or Aluminium trunking should have uniform thickness throughout its length and shall be of factory finish.

6.2.3 PVC trunking shall be of good quality PVC, free from defects like deformation,

unevenness, blisters, cavities etc.

6.2.4 Dimensions

(i) The sizes of mini trunking for the various sizes of cables and the maximum number

of 650/1100 V grade PVC insulated aluminium / copper conductor cables that can be carried in one trunking are given size wise in Table V.

(ii) The thickness of the mini trunking & adaptable trunking shall be 1 mm minimum.

(iii) When mini trunking cover is clipped onto the trunking body, cover should completely

overlap on the base (casing).

6.2.5 Outlet Boxes

The outlet boxes such as switch boxes, regulator boxes and their phenolic laminated sheet covers shall be as per requirements.

6.3 Installation

6.3.1 Attachment to Wall and Ceiling

(i) The mini trunking and adaptable trunking shall be fixed by means of suitable screws to approved type of asbestos or fire fixing plugs, at intervals not exceeding 60 cm or all sizes for mini trunking. In case of Adaptable trunking, the screwing distance shall be such that the weight of the trunking & cable hold firmly on the wall or ceiling. On either side of the joints, the distance of the fixing arrangement shall not exceed 15 cm from the joint.

(ii) All trunking body shall be fixed directly on wall or ceiling as above.

(iii) Trunking shall be used only on dry walls and ceiling, avoiding outside walls as far as possible and shall not be buried in walls not fixed in proximity to gas, steam or water pipes or immediately below the heater.

(iv) Adaptable trunking shall be with pill off cover for protection against dust. Pill off cover shall be removed only on completion of painting of walls.

6.3.2 Passing through Floors or Walls:

When conductors pass through floors, the same shall be carried in an approved PVC conduit, or heavy gauge steel conduit properly bushed at both ends. The conduit shall be carried 20 cm above floor level and 2.5 cm below ceiling level and neatly terminated into the casing. Steel conduit pipes wherever accessible shall be securely earthed.

6.3.3 Joints in Casing and Capping

(i) The wire ways in straight runs should be in single piece as far as possible so as to avoid joints. Trunking shall be of 2 m or 3 m standard length for the ease of installation.

(ii) All joints shall be scarfed or cut diagonally in longitudinal section, and shall be smoothed down by fi ling to make the joints a very close fit as far as possible and without burrs. They shall be screwed at joints with two or more screws as would be necessary.

(iii) Joints arising out of bends or diversion shall be done using standard accessories like Internal angle, External angle, Flat angle (elbows), Flat junction (T) and end caps. For the separation of data and power cables there shall be partition in both trunking and accessories. Internal and external angle shall have variable angle for the alignment at the wall corners. In no case the radius of curvature of the cables inside a bend shall be less than 6 times their overall diameter.

6.3.4 Trunking should be of white colour in case of PVC trunking and of white or grey colour

in case of Aluminium trunking.

(i) Mini Trunking attached to ceiling shall be carried completely across the ceiling/wall whenever required by the Engineer-in-charge, instead of being stopped at an outlet location and in all such cases, dummy mini trunking must be provided.

6.3.5 Attachment of Capping:

(i) Wherever required by the Engineer-in-charge, capping shall not be fixed until the work has been inspected with the wires in position and approved. The inspection will be done from time to time as the work progresses.

(ii) Cover shall be attached to body after all the insulated wires are laid inside.

(iii) No screws or nails shall be used for fixing PVC cover to the body.

(iv) Aluminium cover shall be fixed by using cadmium plated flat head / round head screws with an axial spacing not exceeding 30 cm.

6.3.6 Installation of Cables

(i) For ease of maintenance, cables carrying direct current or alternating current shall always be bunched so that the outgoing and return cables are drawn in the same trunking.

(ii) Mini trunking shall be of such a design that it holds the wires inside the trunking body (casing) at suitable intervals, so that at the time of opening of the trunking cover (capping), the wires may remain in position in the trunking body (casing) and do not fall out.

6.3.7 Earth Continuity

(i) A protective (earth continuity) conductor shall be drawn inside for earthing of all metallic boxes of the installations as well as for connections to the earth pin of the socket outlets.

(ii) In the case of metallic trunking there shall be a metallic link between adjacent trunking covers with screw connections, and also connections from the end casing to the earth terminal of metallic boxes / outlets / switch boards as per the case may be, for the complete body earthing of the system.

TABLE V

Maximum Number of PVC Insulated 650/1100 Volt Grade

Aluminium/Copper Conductor Cable conforming to IS 694 : 1990

[Clause 6.2.4(i)]

Note : Dimensions shown above are outer dimensions of mini trunking.

M.V. PANEL, D.B., RISING MAINS, BUS TRUNKING

AND OVERHEAD BUS BAR SYSTEM

7.0 Scope

This covers supply/ erection/ testing and commissioning of the equipments suitable for 415 Volt, 3 Phase, 50 HZ 4 wire system.

7.1 Requirements

(i) For each equipment, required IP rating and short circuit rating capacity will be specified. Governing BIS also will be specified.

(ii) All the equipments will be factory fabricated in an approved factory having modern fabrication and testing process. It shall have seven tank pre-treatment process comprising of degreasing, rinsing, de-rusting, rinsing, phosphatising, rinsing and passivation followed by powder coat painting having a paint thickness of 60 microns or as specified. The powder paint will be subjected to oven-heated process. All panels will be provided with suitable gasket to make it dust/ vermin proof.

7.1.1 Specification of LT Cubicle Panel

(i) Cubicle panel shall be floor mounted (on a base frame) totally enclosed and extensible type. The general construction shall conform to IS 8623 : 93. The design shall include all provisions for safety of operating and maintenance personnel. Degree of IP protection shall be IP-42 for indoor application and IP-54 for outdoors, unless otherwise specified.

(ii) The panel shall be compartmentalized type having space and arrangement for incoming cable/ bus ducting, incoming switchgear/ switchgears, bus coupler, insulated and properly supported compartmentalized bus bars, outgoing compartmentalized switchgear, bus bar supports, joint shrouds, cable alleys of suitable size for cabling routing, support and terminations, inter-connection between bus bars and switchgear with auxiliary bus bars/ insulated conductors/

strips etc. Also the panel will be provided with necessary instrumentation like CTs, PTs, Ammeters, Voltmeters, phase indicating lamps, other required instruments, wiring, fuses etc.

(iii) It shall be fabricated out of CRCA sheet not less than 2.0 mm thick for load bearing

members and 1.6 mm for doors of LT panels. The framework may be Angle Iron/ Channel/ Bolted type construction. General constructions shall employ the principle of compartmentalization and segregation of each circuit. Unless otherwise approved, incomer and bus section panels shall be separate and independent and shall not be mixed with sections required for feeders. Each section of the rear accessible type board shall have hinged access door at the rear. Operating handle of the highest unit shall be at a height not more than 1.7 mt. Overall height of the board shall not exceed 2.3 metre.

(iv) Arrangement for Incoming/Outgoing Cable Termination

Cable entries shall be provided either from the rear or from the front through cable alleys of suitable size. Removable gland plate to be provided for each cable entry. Cable support arrangement to be provided inside cable alley so that cables are neatly arranged and fixed.      From each outgoing switch, insulated strip/ conductor of suitable size to be provided up to suitable terminal block, which will receive incoming/ outgoing cable termination. It is desirable that cables are not terminated directly to switchgear, but terminated through proper terminal blocks.

(v) Specification of Cable Terminal Block:

Terminal block of reputed make shall be used. The housing material shall be polyamide having unbreakable and fi re-retardant characteristic. All the metal parts shall be made up of copper alloy including the screws. Mounting shall be ‘Din’ or ‘G-rail’ type. Screws shall be self captive type. No protection cover is required, and the block should be touch proof.

(vi) Bus bars/ Supports/ Clearances:

The bus bar system may comprise of a system of main/ auxiliary bus bars run in bus bar alleys. For bus bar material, ratings, current density, insulation, supports, bus bar clearances and joints see para 7.2 (iii).

(vii) Earthing:

2 Nos. 20 x 3 mm copper strip for LT panel upto  400 Amp. capacity or 2 Nos. 20 x 5 mm copper strip for LT panel of higher capacity shall be fixed all around the panel connected to        2 Nos. earth bus copper strips connected to incoming earth conductors.

(viii) Commissioning:

After erection, the LT panel will be commissioned after:

(a) Tightening of all nuts and bolts.

(b) Closing any left out holes to ensure the entire panel is insect proof.

(c) Megger testing.

(d) Earth testing.

7.1.2 Specification of Prewired DB

As a general practice only prewired MCB/HRC type DBs shall be used, on account approved, incomer and bus section panels shall be separate and independent and shall not be mixed with sections required for feeders. Each section of the rear accessible type board shall have hinged access door at the rear. Operating handle of the highest unit shall be at a height not more than    1.7 mt. Overall height of the board shall not exceed 2.3 metre.

(iv) Arrangement for Incoming/Outgoing Cable Termination:

Cable entries shall be provided either from the rear or from the front through cable alleys of suitable size. Removable gland plate to be provided for each cable entry. Cable support arrangement to be provided inside cable alley so that cables are neatly arranged and fixed. From each outgoing switch, insulated strip/ conductor of suitable size to be provided up to suitable terminal block, which will receive incoming/ outgoing cable termination. It is desirable that cables are not terminated directly to switchgear, but terminated through proper terminal blocks.

(v) Specification of Cable Terminal Block:

Terminal block of reputed make shall be used. The housing material shall be polyamide having unbreakable and fi re-retardant characteristic. All the metal parts shall be made up of copper alloy including the screws. Mounting shall be ‘Din’ or ‘G-rail’ type. Screws shall be self captive type. No protection cover is required, and the block should be touch proof.

(vi) Bus bars/ Supports/ Clearances

The bus bar system may comprise of a system of main/ auxiliary bus bars run in bus bar alleys.

For bus bar material, ratings, current density, insulation, supports, bus bar clearances and joints see para 7.2 (iii).

(vii) Earthing

2 Nos. 20 x 3 mm copper strip for LT panel upto 400 Amp. capacity or 2 Nos. 20 x 5 mm copper strip for LT panel of higher capacity shall be fixed all around the panel connected to 2 Nos. earth bus copper strips connected to incoming earth conductors.

(Typical Cubicle Panel is explained in Fig. 8)

(viii) Commissioning

After erection, the LT panel will be commissioned after:

(a) Tightening of all nuts and bolts.

(b) Closing any left out holes to ensure the entire panel is insect proof.

(c) Megger testing.

(d) Earth testing.

7.1.2 Specification of Prewired DB

(a) As a general practice only prewired MCB/HRC type DBs shall be used, on account

vertical power distribution, this is a preferred method, compared to rising cable system and is more reliable and safe from point of view of fire hazard

.

(b) Tap-off arrangements shall be provided on the rising mains with tap-off boxes.

(c) The rising main shall comprise of sheet metal enclosure, bus bars, tap-off  points, tap-off boxes, end feed units, fire barriers, expansion joints, thrust pads, end covers and fixing brackets etc.

(d) The rising main shall conform to IS 8623 and IEC 439 and shall be suitable for 415 V, 3 phase, 50 Hz supply and insulation of rising mains shall be capable of withstanding the voltage of 660 volt AC. Degree of IP protection and short circuit rating shall be specified.

(ii) Enclosure

The enclosure shall be made from sheet steel of 1.6 mm thickness.

(iii) Bus bars

(a) Rating

Bus bars shall be made of wrought aluminium or aluminium alloy, or electric grade copper, conforming to relevant Indian Standard, as specified. The ratings of the bus bars shall be 100A, 200A, 300A, 400A, 500A, 600A, or 800A as specified.

(b) Current Density

Bus bars shall be of sufficient cross-section so that a current density of 130A/sq.cm (800A/sq. inch) is not exceeded at nominal current rating for aluminium bus bars, and 160A/sq.cm (1000A/sq. inch) for copper bus bars. The minimum sizes of sections of bus bars are given in Table VI.

(c) Cross Section of Bus Bars

The cross section of the neutral bus bar shall be the same as that of the phase bus bar for bus bars of capacities upto 200A; for higher capacities, the neutral bus bar must not be less than half the cross-section of that of the phase bus bar.

(d) Insulation

Each bus bar shall be suitably insulated with PVC sleeves/ tapes. The insulation of the rising mains shall be capable of withstanding the voltage of 660 V of AC.

(e) Bus Bar Supports

Bus bar support insulators shall be class F insulators made of  monohygroscopic, non-combustible, track resistant and high strength FRP/ SMC/DMC material, and shall be of suitable size and spacing to with-stand the dynamic stresses due to short circuit currents. The spacing between two  insulators should be provided by the manufacturers according to the design

approved by CPRI for their bus bar supports.

(f) Bus Bar Clearances

(i) The minimum clearance to be maintained for enclosed indoor air insulated bus bars for medium voltage applications shall be as follows:

Between Min. Clearances

Phase to earth 26 mm

Phase to phase 32 mm

Note: For strip connection from bus bars to switchgear, the above clearances don’t apply.

(ii) (a) Bus bar joints shall be thoroughly cleaned and a suitable oxidizing grease shall be applied before making the joint.

(b) High tensile bolts, plain and spring washers shall be provided to ensure good contact at the joints.

(c) The overlap of the bus bars at the joints shall be not less than the area of the cross section of the bus bars.

(g) Bus Bar Marking

Bus bars and main connections shall be marked by color or letter as per Table VII.

(iv) Expansion Joint

Expansion joint made of aluminium/copper strips shall be provided wherever necessary, to take care of expansion and contraction of the bus bars under normal operating conditions. This shall be invariably provided whenever the length of the rising mains exceeds 15 m.

(v) Thrust Pads

(a) The bus bars shall be provided with thrust pads so that the expansion of the conductors is upwards only.

(b) The bus bar clamps and insulators shall be designed to withstand the forces due to short circuit current. They shall also permit free vertical movement of the bus bars during expansion and contraction.

(vi) Mounting

(i) Incoming cable will be connected to the rising main through an end feed unit, consisting of switch fuse unit with HRC fuse/ MCCB/ ACB of required capacity and cable end box.

(ii) Tap-off boxes at specified intervals and height shall be provided on rising main to tap power. The box shall consist of set of HRC fuses or MCCB/Switch fuse unit, so that power from rising main can be switched ON/OFF and provided with suitable overload/ short circuit protection.

(iii) Distribution boards/ switch boards will not be mounted on rising main. Such boards will be separately erected on floor/ wall and connected to   tap-off box with suitable copper conductor cable (See Fig. 10).

(vii) Construction Features

(a) The rising mains shall be manufactured in convenient sections to facilitate easy transportation and installation. The sections shall be connected to form a vertical run at site. Each section shall be provided with suitable wall straps at convenient intervals for fixing to the wall.

(b) The enclosure shall be sturdy so as to withstand the internal and external forces resulting from the various operating conditions.

(c) The front covers shall be detachable. Neoprene gaskets shall be provided between the covers and the side channels.

(d) The enclosure shall have a degree of protection not less than IP 42.

(e) The rising main shall be designed for temperature rise not exceeding 40 degree C over ambient temperature of 45 degree C.

(f) Built-in fi reproof barriers having 2 hr. fi re rating shall be provided to restrict the spread of fi re through the rising mains from one section to the adjacent section.

(g) Necessary provisions for ventilation shall be made at suitable intervals. These shall be complete with welded non-ferrous metallic mesh to prevent entry of vermin.

(h) Two numbers of copper earth strips of 20 x 3 mm (for Rising Main upto 400 Amp.) and 20 x 5 mm (for Rising main above 400 Amp. and upto 800 Amp.) shall be provided along side the rising mains enclosure, and shall be bolted to each section of the rising mains.

(viii) Installation of Rising Mains

(i) Rising mains shall be installed on walls, to which the foundation bolts shall be suitably grouted (in a shaft of adequate size for rising main and floor distribution panel). The foundation bolts shall be provided by the contractor without extra payment.

(ii) (a) No structural member in the building shall be damaged/ altered, without prior approval from the competent authority through the Engineer-incharge.

(b) Structural provisions like openings, cutouts, if any, provided by the department for the work, shall be used. Where these require modifications, or where fresh provisions are required to be made, such contingent works shall be carried out by the contractor at his cost.

(c) All such openings in floors provided by the Department shall be closed by the contractor after installing the cables/ conduits/ rising mains etc. as the case may be, by any suitable means as approved by the Engineer-in-charge without any extra payment.

(d) All chases required in connection with the electrical works shall be provided and fi lled by the contractor at his own cost to the original architectural fi nish of the buildings.

(ix) Commissioning

Before connecting mains supply after installation, pre-commissioning checks comprising megger test, checking the tightness of connections, body earth connection etc. shall be carried out and recorded.

7.3 Bus Trunking

7.3.1 Application

These are generally provided for interconnections between the transformers of 400 KVA and above and DG sets 300 KVA and above and their switch board panels, and also for interconnections between large switch board panels where specified, thereby avoiding use of large sizes of cables for such interconnections.

7.3.2 Materials

7.3.2.1 Enclosure

Sheet steel of minimum 2 mm thickness shall be used for fabricating the enclosure.

7.3.2.2 Bus Bars and Supports

Bus bars and their supports shall comply with clauses 7.2 (iii) of these specifications.

The current rating shall be as specified in individual cases.

7.3.3 Construction

7.3.3.1 Enclosure

(i) The enclosure shall be of bolted type, box type, welded type or any other type as per the manufacturer’s standard practice, and shall be made out from sheet steel of minimum 2 mm thickness. The front cover only shall be detachable. The section of the bus duct shall be rectangular. The enclosure shall be sturdy so as to withstand the internal and external forces resulting from the various operating

conditions.

(ii) The bus trunking enclosure shall be fabricated in convenient sections for easy transportation and installation. The sections shall be connected to form horizontal and vertical runs as required at site. The enclosure shall be provided with flanged ends with drilling arrangements to suit the flanges at the switchgear and transformer terminals. All flanges shall be provided with gaskets, nuts, bolts, washers etc.

(iii) The entire bus trunking enclosure shall be designed for dust and vermin proof construction. The enclosure for outdoor installation shall be additionally in weatherproof construction. The enclosure shall have a degree of protection not less than IP 42 for indoor application, and IP 54 for outdoor application in accordance with IS 2147.

(iv) Bus trunking, if required to be installed outdoors, shall be provided with a metallic protecting canopy of adequate size above the bus trunking, fabricated as part of the enclosure.

(v) Neoprene gaskets shall be provided to satisfy the operating conditions imposed by temperature, weather etc. and durability.

(vi) Provisions for ventilation shall be made as per clause 7.2 (vii) (g) of these specifications.

(vii) Two numbers of Copper earth strips of appropriate size shall be provided alongside

the bus trunking enclosure and shall be bolted with each section of the bus trunking

(See Table VIII).

7.3.3.2 Expansion Joint/ Flexible Termination

(i) Flexible connections shall be provided by braided or multi-leafed conductors for terminations at transformer bushing and switchgear.

(ii) Expansion joints shall be provided as per clause 7.2 (iv) of these specifications.

7.3.4 Installation

(i) Each section of the enclosure shall be suspended from the ceiling slab with suitable

MS suspenders and support angles/ channels. The runs shall be neat and the route shall be as directed by the Engineer-in-charge.

(ii) The bus trunking shall be supported such that its weight does not come on the terminations.

(iii) Danger notice boards shall be provided on the bus trunking enclosure at suitable intervals in every room through which it passes.

(iv) The earthing strips shall be properly terminated to the earth bars at both ends.

(v) Pre-commissioning checks shall be conducted.

7.4 Overhead Bus Bar System

7.4.1 Application

The overhead bus bar system is generally used for distribution of power to a number of

distributed power loads, such as motors, as in a workshop. This system has an in-built

flexibility for meeting additional loads without much change in the distribution system.

These specifications cover indoor application only.

7.4.2 Materials

7.4.2.1 Enclosure

Sheet metal used for fabrication of side channels shall be 1.6 mm thick and the top and

bottom covers 1.2 mm thick.

.4.2.2 Bus Bars and Supports

(i) The bus bars shall comply with clause 7.2 (iii) of these specifications. The bus bars

shall however be rated for 200A, 300A or 400A as specified. Each bus bar shall be individually insulated by means of PVC sleeves.

(ii) The bus bar supports shall comply with clause 7.2 (iii)(e) of these specifications.

7.4.3 Construction

(i) The enclosure shall be sturdy to withstand the internal and external forces resulting from the various operating conditions. The enclosure shall have a degree of protection not less than IP 42 in accordance with IS 2147.

(ii) The top and bottom cover plates shall be detachable, and shall complete with gaskets to make the enclosure totally dust and vermin proof.

(iii) The enclosure shall be fabricated in convenient sections for easy transportation and installation. The bus sections shall be jointed together with flanges and tie bolts. Each section of the enclosure shall be suspended from the ceiling slab with suitable and rigid MS suspenders and brackets as required. Detachable blank sheet steel covers shall be provided for enclosing the free ends of the bus bar run.

(iv) Two numbers of Copper earth strips of appropriate size shall be provided for the complete run of bus bar enclosure and shall be bolted to each section of the bus bar enclosure. Suitable provision should be made to enable earth connection to the plug-in box, when plugged in.

7.4.4 Plug-in Boxes

(i) Each section of the bus bar enclosure shall have plug-in points spaced at intervals of approximately 600 mm for the insertion of plug-in boxes. (ii) The plug-in boxes shall be fabricated as compact sheet steel boxes with hinged doors and shall house the fuse holders/ MCCB/ MCB. The fuse holders/ MCCB/MCB shall be solidly connected to high conductivity copper clip-on contacts and reinforced by spring steel strips. These clip-on contacts shall plug-in directly on to the bus bars at the plug-in points.

(iii) Two earth points shall be located at the ends of the plug-in boxes. While inserting these boxes into the plug-in points, the earth points shall engage first in the special earth bushes provided on the underside of the bus bar enclosure before the main contacts are made. While withdrawing these boxes, the earth contact is maintainedeven after the main contacts are isolated. (iv) The plug-in boxes after insertion into the plug-in points shall be fastened by wing nuts. (v) Each plug-in box shall be fitted with a brass compression gland suitable for the size of the cable specified. It should be possible to provide this gland in any position, i.e. left hand side, right hand side or lower side of the plug-in box.(vi) The unused plug-in points shall be blanked with detachable sheet steel covers.

7.4.5 Installation

(i) The bus sections shall be jointed together with flanges and tie bolts. Each section of the enclosure shall be suspended from the ceiling slab with suitable MS suspenders and support angles/ channels as required.

(ii) Bus trunking shall be suspended at a uniform height of about 2.4 m above floor level. The layout shall be got approved from the Engineer-in-charge before erection. The runs shall be straight, except at points of changes in direction.

(iii) A connector assembly shall be supplied loose with each section of the enclosure for coupling two sections, and it shall comprise a rubber locating ring, bus bar insulating tube and a connector insulating tube.

7.4.6 Earthing

The Copper earth strips of the bus duct shall be connected to the earth bus/ earth terminal(s) of the switchboard controlling the bus ducts, by appropriate protective conductors, notwithstanding the connection by the armouring of the feeder cable.

7.4.7 Danger Notice Board

These shall be provided on the enclosure at suitable intervals and not exceeding 5 m.

7.4.8 Pre-commissioning checks shall be conducted.

TABLE VI

Aluminium / Copper Bus Bar Sections

[Clause 7.2 (iii)(b)]

Note:

(i) In larger bus bars of sizes above 1000 amps, the sections can be accepted in other rectangular cross-sections and numbers also, provided the total cross sectional area offered is not less than the total cross-sectional area shown in the above table against the respective bus bar rating.

(ii) With aluminium bus bars, only aluminium wire/ solid bar connections shall be made for incoming/ outgoing mountings on the switchboards.

(iii) With copper bus bars, only copper wire/ solid bar connections shall be made for incoming/ outgoing mountings on the switchboards.

TABLE VII

[Clause 7.2 (iii)(g)]

- Marking for A.C. Bus Bars & Main Connections

- For D.C. Bus Bars and Main Connections

Note: In the wiring diagram, positive and negative should be indicated by ‘+’ and ‘-’ respectively.

TABLE VIII

[Clause 7.3.3.1(vii)]

A: Earth Continuity Strip for Protective Earthing of Sub-Station Equipment

=-098765B: Earth Continuity Strip for Bus Trunking and Rising Main

C: Neutral Earthing of Transformers and Generators

1.5.7	EARTH LEAKAGE CB/RESIDUAL CURRENT CB :

The ELCB/RCCB shall comply with IS: 12640-1988/IEC: 1008. The ELCB/RCCB shall be current operated independent of the line voltage. ELCB/RCCB shall work on the principle of core balance transformer. The ELCB/RCCB shall be rated for current sensitivity of a min of 30mA and a max of 300 mA at 240/415 V AC. The terminals shall be protected against finger contact to IP:20 degree of protection. The ELCB/RCCB shall have a minimum of 20,000 electrical operations.

Testing Provision :

A test device shall be incorporated to check the integrity of the earth leakage detection system and the tripping mechanism. When the unit is connected to service, pressing the test know shall trip the ELCB and the operating handle shall move to the “OFF” position.

APPENDIX–III PROFORMA FOR CONTRACT AGREEMENT

ARTICLES OF AGREEMENT

ARTICLES OF AGREEMENT made at this  ………………. day of …………………. between  Inter-University Centre For Astronomy and Astrophysics , Post Bag No. 4 , Ganeshkhind, Pune- 411007 having its registered office at the same address, hereinafter called ‘The owner  ( Which expression shall include its successor ) and assigns wherever the context or meaning .…………………………………………………… having their registered office at ...............................                                 ………………………………………………………………………….(hereinafter called the contractor) of the other part.

Project Management & Consultant:

The term ‘Project Management & Consultant’ as employed herein shall mean The Executive Engineer (Electrical) , BSNL Electrical Division , Pune-411016, or his authorized representative or any other technical consultant therein for the purpose of the contract, or in the event of their ceasing to be the ‘Project Management & Consultant’ for the purpose of the contract, such other person as the employer shall nominate for that purpose, not being a person whom the contractor shall object for reason considered to be sufficient by the employer or the arbitrator appointed in accordance with the said conditions. Provided always that no person subsequently appointed to be the ‘Project Management & Consultant’ under this contract shall be entitled to disregard or overrule any certificate or opinion or decision or approval given or expressed by the ‘Project Management & Consultant’ for the time being.

WHEREAS the owner is desirous of constructing the project  ‘Internal Electrification work of New Telescope Building at IGO, at Giravali’ Taluka - Ambegaon, District - Pune and has caused the drawings, specifications and the bill of quantities to be done (herein after called the contractor of works) as per the drawings and specifications.

AND WHEREAS the said drawings and specifications, price schedule of quantities and other documents forming part of this contract, have been signed or on behalf of the parties hereto.

AND WHEREAS upon issue of tender for the works and receipt of the same duly filled in from the contractor and upon further discussions held since the receipt of the tender. The owner had issued to the contractor a letter of intent vide letter no. ………………………………………….. date ……………... to mobilize and execute upon and subject to the conditions and instructions set forth herein (herein after referred to as the conditions) the work shown upon the said drawings and / or described in the specifications and included in the said bill of quantities at the item rate therein set forth (herein after referred to as the Contract Price).

AND WHEREAS the contractor has agreed to execution upon and abide by the conditions stipulated and complete the work.

NOW IT IS HEREBY AGREED AS FOLLOWS :

- In consideration of the said Contract Price to be paid at the time and in the manner set forth in the said conditions, the contractor shall upon and subject to the said condition, execute and complete the work shown upon the said drawings and described in the said specifications and / or the priced Bill Of Quantities.

- The Owner shall pay the Contractor the said Contract Price or such other sum as shall become payable at the time and in the manner herein after specified in the said conditions.

- The said conditions and appendices thereto shall be read and construed as forming part of this agreement and the parties hereto shall respectively abide by and submit themselves to the conditions and perform the Agreement on their part respectively in such conditions contained.

- All disputes arising out of or in any way connected with this agreement shall be deemed to have arisen in Pune and only courts in Pune shall have jurisdictions to determine the same.

- The contract comprises  :

- COVER SHEET

- INDEX

3.1TENDER NOTICE

3.2 INSTRUCTIONS TO TENDERERS

3.3 FORM OF TENDER

3.4 APENDIX TO FORM OF TENDER

4.0 GENERAL CONDITIONS OF CONTRACT

5.0 SPECIAL CONDITIONS OF CONTRACT

6.0 TECHNICAL SPECIFICATIONS

7.0 BILL OF QUANTITIES

7.1 INITIAL SECURITY DEPOSIT TOWARDS PERFORMANCE SECURITY

7.2 PROFORMA OF CONTRACT AGREEMENT (ARTICLES OF AGREEMENT)

8.0 LIST OF APPROVED MAKES

9.0 LIST OF DRAWINGS

- The Owner acting on his own or through the ‘Project Management & Consultant’, reserves for itself the right of altering, adding, editing, omitting or executing departmentally any item of works without prejudice to this contract.

- IN WITNESS WHEREOF the contractor has caused their common seal to be hereunto affixed on the day, month and year first above written and the Owner has caused the same to be executed by the hand of Mr. …………………………… its ………………….. (appointment) and authorized official as herein after appearing.

Signed by or on behalf of the Contractor

Common seal of the Contractor

M/s ……………………………………………………....................................

By the hands of Mr. ……………………………………………………………

Authorized, pursuant to the resolution of the Board Of Directors of the Contractor, passed on their behalf on the …………………………………….

…………………………………………………………………..

…………………………………………………………………..

Signed on behalf of the Owner …………………………….. Common seal of the Owner

By the hand of Mr. …………………………………………………

In the presence of :

…………………………………………………………………..

…………………………………………………………………..