Part - B

Financial Bid

Tender for Interior work of laboratory

at

Inter-University Centre for Astronomy and Astrophysics

# Post Bag -4, Ganeshkhind, Pune University Campus,

Pune 411 007.

Bill of Quantities (BOQ)

Financial Bid

“TENDER FOR INTERIOR WORK OF LABORATORY AT IUCAA, PUNE 411007”

THE INTER UNIVERSITY CENTRE FOR ASTRONOMY & ASTROPHYSICS (IUCAA)

POST BAG 4, GANESHKHIND, PUNE UNIVERSITY CAMPUS,

PUNE 411 007, INDIA

Name of Work   : 	             			INTERIOR WORK –  AT IUCAA

A.	Name of Vendor  / Firm / Company		____________________________

____________________________

Postal Address				       	   ____________________________

____________________________

Telephone Off.					____________________________

Telex / Fax						____________________________

Email ID						____________________________

Signature & seal of Bidder

| Sr. No | Item Description | Unit | Quantity | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| 1 | Armstrong modular ceiling Providing and fixing modular ceiling using mineral fiber tiles 600x600mm ( BIOGUARD RH 95 ) in true horizontal level false ceiling of silhouette grid system with 35mmx15mm(main runner and cross "T") white flanges incorporating a 6mm central reveal in white/black colour manufactured by M/s. Armstrong or approved equivalent make using hot dipped galvanized steel section, exposed surface chemically cleaned capping pre-finished in baked polyester paint wall angle of size 3000 x 19 x 19mm used in the periphery of the ceiling fixed to the wall partition / R.C. Column / band walls with the help of screws at 600 mm C/C. Main runner spaced at a 1200mm C/C suspended by using 2mm dia G.I. wire hanger securely fixed to the structural soffit of RC slab by using 6mm anchor fastener at every 1200mm (max) and 1200mm long cross tee to be interlocked between in Main runner at 600mm C/C (max) to form a grid of 1200 x 600mm. 600mm long cross tee fixed in between 1200mm long cross tee for forming a grid of 600 x 600mm. | sft | 300 |  |  |
| 2 | Gypsum false ceiling Providing and fixing at all height Gypsum false ceiling of 12.5 mm thk gypsum board (India Gypsum) as per architect design and details on G.I. metal frame as per manufacturer's specification ( Orignal Section) & drawing. Main G. I. Channels at 2' 6" c/c and secondary channels at 1'-6" c/c spacing, G. I. adjustable suspenders support up to any height from slab level including all jointing. The cost is including making concealed cove light as per approved drawing. The rate shall be including of opening for light fitting, AC grills, with required GI framing , necessary G.I. support if required for AC grill / light fitting from ceiling etc. Note: Only the plan area will be measured and paid. No extra cost shall be paid for profile works, cutouts, grooves, hidden part etc. | sft | 650 |  |  |
| 3 | Providing & fixing Cabin tables with side credenza 1800mm x 750mm with side table of 1050mm x 450mm One number of prelam side credanza considered of size 1050mm x 450mm. Two number 1200mm x 450mm prelam back credenza considered with all hardware and back in balancing laminate All members of credenza to be made out of 18 mm prelam particle board finished with 2.00 mm Rehau edge banding and top member credenza to be in 25 mm thick prelam board finished with 2.00 mm Rehau edge banding. Accessories One Metal Key Board Tray without mouse pad One 3 drawer Prelam Pedestal on levelers (2B+1F) One Metal CPU Trolley on castors | Nos | 2 |  |  |
| 4 | P/f Full height fully glazed demountable partitions VETRO make with double glazing as per manufacturers specifications. Please refer to detail drawings and elevations for sizes and configuration. All aluminium framing members of Vetro partitioning system to be finished in grey powder coating as per iucaa approval of shade. Glass thickness as per VETRO specifications. | sft | 450 |  |  |
| 5 | P/f solid doors for main entrance with vision panel. Solid doors to be of 35 mm flush doors of century or equivalent make finished with 1.00 mm thikness laminate of approved shade and colour on both sides. Edge of door to be finished in Maple wood section of size 35 x 12 finished with polish. Viion panel of door to have 6 mm glass fixed with 18x18 mm section of maple wood. | sft | 30 |  |  |
| 6 | P/f glazed doors with powder coated aluminium sections on all 4 sides in glass partitions. Make : Doorset brand. Glass thickness and specifications as per VETRO specifications. Item to include hardware, handles, fixing, glass, floor spring,aluminium framing members and locking mechanism complete as per manufacturers specifications. | sft | 42 |  |  |
| 7 | CORNER WORKSTATIONS Providing & Fixing 60 mm to 75 mm thk tile based partition system with 1200mm partition ht. considered. Steel tiles considered for First module ,Second module in fabric finish. One marker board and One Magnetic pin up considered per person. Electrical at skirting level & below worktop level. Table top to be of 25 mm prelaminated particle board finished with 2.00 mm Rehau edge banding. Gable ends and pedestal to be in 18 mm prelam partlce board finished with 2.00 mm Rehau edge banding on edges. Table top sizes are : 1500mm x 1500mm x 600mm x 600mm Accessories One keyboard tray without mouse pad One 3 drawer Prelam Pedestal on levelers (2B+1F) One CPU Trolley on castors considered. | Nos | 08 |  |  |
| 8 | Gypsum Partition Providing & Fixing full height / dwarf height gypsum partitions with India gypsum original GI framework and glasswool infill. Partition thickness to be 100 mm. Both sides of partition to be finished in 2 gypsum boards of 12 mm thickness in staggered joints. Necessary wooden framing required to anchor the framing members above false ceiling height if required to slab to be included in costing. Gypsum partition surfaces to be finished in 3 coats plastic emulsion paint of approved shade. Item also to include P/f door opening of size 900 x 2100 along with p/f flush door of 35 mm thickness finished with 1.00 mm laminate of merino / green make on both sides. All edges of door to be finished with maple wood lipping of 35 x 12 mm size finished with polish, along with necessary hardware, handle, locking arrangement, door closer complete. | Sft | 200 |  |  |
| 9 | STRAIGHT WORKSTATIONS 60 mm to 75 mm thk Tile based partition system with 1200mm partition ht. considered. Steel tiles considered for First module ,Second module in fabric finish. One marker board and One Magnetic pin up considered per person. Electrical at skirting level & below worktop level. Table top to be of 25 mm prelaminated particle board finished with 2.00 mm Rehau edge banding. Gable ends and pedestal to be in 18 mm prelam partlce board finished with 2.00 mm Rehau edge banding on edges. Table top sizes are : 1500mm x 750mm Accessories One keyboard tray without mouse pad One 3 drawer Prelam Pedestal on levelers (2B+1F) One CPU Trolley on castors considered. | Nos | 03 |  |  |
| 10 | P/f carpentry units in 19 mm BWR grade plywood finished with 1.0 mm laminate as per selection on internal and external surfaces. Standard carpentry unit of dimensions 600 x 450 x 1200 to be considered while quoting rates. Plywood to be considered of Green / Century or equivalent make as approved by IUCAA.Laminate tobe considered of Greenlam / Merino or equivalent make as approved by IUCAA. All plywood edges to be finished with 6 mm thick BTC lipping finished with polish. | Sft | 374 |  |  |
| 11 | CONFERENCE TABLE: V Shaped table Providing and fixing Table top : 25 mm thick pre-laminated straight edge table top with flat 2.00 mm Rehau make PVC edgebinding with CRCA understucture considered.The size of the table top considered is as follows.Size -5250 mm x 1800 mm with 4 nos of Access Flap. CRCA members to be as per manufacturers specifications. Table to be of Ergo / Spacewood brand or equivalent as approved by IUCAA | nos | 01 |  |  |
| 12 | CHAIRS Cabin Chairs : KRUZ ( Bluebell Ergonomics ) 1) Multiple-position locking Synchro Tilt Mechanism with "Return-Prevention" facility 2) 5-prong High rise Nylon Base fitted with twin wheel PU castors. 3) Height Adjustable Head Rest for proper Neck Support. 4) Elegant Height Chrome Adjustable PU padded armrest. 5) Class IV gas lift as per DIN Standards. 6) Elegant Fabric upholstery and Imported Nylon Mesh Fabric for Back. 7) Depth and Height Adjustable Lumbar support for Back | nos | 02 |  |  |
|  | Cabin - Visitors Chairs Genesis Mid Back Chair: Bluebell-Model No.BB-GN-02 C 1) Single position locking synchro tilt mechanism. 2) 5-prong High rise Nylon Base fitted with twin wheel nylon castor 3) Elegant Fixed "T" shaped PP armrest. 4) Class IV gas lift as per DIN Standard. 5) Durable Mesh Fabric upholstery for Backrest. | no | 40 |  |  |
| 13 | STEEL STORAGE: Providing & Fixing metal storages with glass doors. Of B P Ergo make or equivalent as approved by IUCAA. Thickness of CRCA and other components as per manufacturers specifications of Ergo ERIC make or equivalent. 750mm x 450mm x 1200mm (H) 900mm x 450mm x 1200mm (H) | no no | 10 06 |  |  |
| 14 | P/F 500 mm x 500 mm tile carpet of InterfaceFLOR make with Glasbac. Tile carpet to have antimicrobial treatment and tufted yarn weight of 576 g/ sqm. Shade and pattern as per IUCAA approval. | sft | 300 |  |  |
| 15 | P/f Vista levelor or equivalent vertical black out blinds as per manufacturers specifications. | sft | 350 |  |  |
| 16 | P/f Vista levelor or equivalent roller blinds for cabin windows as per manufacturers specifications. | sft | 50 |  |  |
|  | Total |  |  |  |  |

( Amount in words: ____________________________________________________________)

Signature & seal of Bidder