Tender for

Estate Management Services

(ELECTRICAL / CIVIL & OTHER SERVICES)

At

INTER – UNIVERSITY CENTRE FOR

ASTRONOMY AND ASTROPHYSICS

POST BAG.4, GANESHKHIND, PUNE UNIVERSITY CAMPUS, PUNE - 411 007.

Tel.  (020) 25604100 / 25691414, Fax: (020) 25604699

Part - A

Technical Bid

INDEX

| SR. NO. | CONTENTS | PAGE NO. |
| --- | --- | --- |
| 01. | Index | 1 |
| 02. | Technical Bid Form | 2-4 |
| 03. | Tender Notice | 5 |
| 04. | Tender Information | 6-8 |
| 05. | List of documents to be attached with technical bid | 9 |
| 06. | Checklist of documents | 10 |
| 07. | Appendix | 11-12 |
| 08 | Terms & Conditions | 13-18 |
| 09 | Undertaking Form - I | 19 |
| 10 | Declaration Form -II | 20 |
| 11 | EMD Refund request form- III | 21 |

Technical Bid - Part A

## Tender for Estate Management Services

THE INTER UNIVERSITY CENTRE FOR ASTRONOMY & ASTROPHYSICS (IUCAA)

POST BAG 4, GANESHKHIND, PUNE UNIVERSITY CAMPUS,

PUNE 411 007, INDIA

Name of Work:  Estate Management Services – at IUCAA, Pune

- Name of Vendor  / Firm / Company	  _____________________________

_____________________________

Postal Address		                           ____________________________

____________________________

Telephone Off.			              _____________________________

Telex / Fax				  _____________________________

Email ID			              _____________________________

Signature & seal of Bidder

Technical Bid Form

## TENDER FOR ESTATE MANAGEMENT SERVICES

Client: Inter-University Centre for Astronomy & Astrophysics, Pune

| 1 | Bidder’s Name (Company Name) and Address |  |
| --- | --- | --- |
| 2 | Shop Act License No. and Validity Period/Date (If applicable) |  |
| 3 | Nature of Business & Establishment Year |  |
| 4 | Telephone Nos. Mobile No. Fax Nos. E-mail |  |
| 5 | Contact Person Name Designation Mobile # E-mail |  |
| 6 | Organizational Capability (staff strength) Project Managers Supervisors Technicians |  |
| 7 | Proposed Team for this Project Project Managers Supervisors Technicians |  |
| 8 | Financial Capacity over last 3 years (Turnover & Profit) Balance Sheet Financial year 2010-11 Financial year 2011-12 Financial year 2012-13 |  |
| 9 | Provide following details of Three major/best jobs completed / ongoing of similar nature (You may be required to arrange for inspections of at least two such projects) a ) Name & address of the project Start date Completion date if any Value Scope of work Client contact details (Name,tele, fax, e-mail). |  |
|  | b ) Name & address of the project Start date Completion date if any Value Scope of work Client contact details (Name tele, fax, e-mail). |  |
|  | c ) Name & address of the project Start date Completion date if any Value Scope of work Client contact details (Name tele, fax, e-mail). |  |
| 10 | Insurance Cover:Provide details of cover availed. |  |
| 11 | PF/ESI Details : Reg. No. PF Reg. No. ESI Reg. No. WCT Reg. No. Service Tax Reg. No. VAT Reg No. CST Reg No of Profession Tax Certificate |  |
| 12 | PAN Details : PAN No. Photocopy of PAN Latest Income tax clearance certificate |  |
| 13 | A brief enlistment of Clients with whom your organization has worked |  |
| 14 | List any arbitration cases/ legal disputes on Current/ previous projects - Mention name of project, reason for dispute, party filing the suit and current status) |  |
| 15 | List any awards, recognitions on previously executed projects |  |
| 16 | Any other documentation relevant to Pre-qualification ( Contractors can modify the tables to create additional space for information if required) |  |
| 17 | Prepared and Submitted by (Name & Signature) |  |
| Notes : 1) The Inter University Centre for Astronomy & Astrophysics, Pune reserves the right to accept or reject any or all quotations without assigning any reasons. 2) The offers from experienced and well qualified firm will only be considered. 3) Every statement made in the pre-qualification format should be supported by documentary proof for consideration. Otherwise the tender is liable to be rejected. 4) Please support Work in hand and completed work information with copy of the Work order/ Service Contract from the client. 5) The agency must have an office at Pune for providing effective and efficient services for at least 5 yrs. 6) Please note that quoting the lowest is not the criteria for selecting the Agency. It shall be based on the qualification, experience of the technician’s and performance of the Agency. |  |  |

Tender Notice

## TENDER FOR ESTATE MANAGEMENT SERVICES AT IUCAA, PUNE CAMPUS, PUNE - 411 007

The Director, IUCAA invites sealed Technical & Commercial bids in 2 bid format from reputed vendors/bidders for “Estate Management Services”.  Tender documents can be obtained from our CASH OFFICE between 1130 hrs - 1530 hrs during 19/08/2014 to 21/08/2014 on payment of Rs.2500/- (Rs. Two Thousand Five Hundred Only) as non refundable tender cost in cash or demand draft in favour of IUCAA, payable at Pune.

Tender document can also be downloaded from web site http://www.iucaa.ernet.in/tenders and demand draft of Rs.2500/- to be enclosed with technical bid as non refundable tender cost.

The Technical & Financial bid along with the EMD of Rs.1,00,000/- ( Rs. One Lakh Only ) should be submitted to Administrative Officer (Purchase), up to 1500 hrs on 03/09/2014 and the Technical  bids will be opened at 1530 hrs on the same day in  presence of the vendors.

IUCAA reserves the right to reject any or all of the tenders without assigning any reasons.

Administrative Officer (Purchase)

TENDER  INFORMATION

Inter-University Centre for Astronomy and Astrophysics (IUCAA), Post Bag 4, Ganeshkhind, Pune 411 007, invites sealed tenders in “Technical & Financial Bid” from eligible and qualified tenderers for “ESTATE  MANAGEMENT SERVICES” at IUCAA, Pune.

Date of sale of tender enquiry document	:  From 19/08/2014 to 21/08/2014   during							          	   11:30 hrs to 15:30 hrs.

Place of sale of tender enquiry documents	:  Cashier’s office, IUCAA

Submission of questionnaire for Pre-Bid	:  26/08/2014 up to 1700 hrs

Pre-Bid Meeting				:  27/08//2014 at 1100 hrs

Closing date & time for receipt of tender	:  03/09/2014 at 1500 hrs.

Tender opening date & time			:  03/09/2014 at 1530 hrs.

Place of tender opening			:  IUCAA’s office

Earnest Money Deposit			:  Rs.1,00,000/- (Rs. One Lakh Only)

1.	Tender enquiry documents may be purchased on payment of a non-refundable fee of Rs. 2500/- (Rupees Two Thousand Five Hundred Only) per set in the form of cash or an account payee demand draft drawn on a Nationalised Bank only, in favour of  Inter-University Centre for Astronomy and Astrophysics (IUCAA) payable at Pune. Tender fees will be waved in case of firms registered under National Small Industries Corporation (NSIC)

2.	Tenderers shall ensure that their tenders, complete in all respects, are dropped in the tender box located at the address given above on or before the closing date and time indicated as above, failing which the tenders will be treated as late and rejected.

3.	In the event of any of the above mentioned dates being declared as a holiday / closed day for IUCAA, the tenders will be sold/received/opened on the next working day at the appointed time.

4.	The tender enquiry documents are not transferable.

5.         IUCAA reserves the right to reject any or all of the tenders without assigning any   reasons.

Administrative Officer (Purchase)

Inter-University Centre for

Astronomy and Astrophysics,

Post Bag 4, Ganeshkhind,

Pune 411 007

Tel. (020) 25604100 / 25691414

Fax (020) 25604699

SUBJECT : NOTICE INVITING TENDER (NIT) For “Tender for Estate Management Services at  IUCAA, PUNE”

1.Owner                      		 : Inter-University Centre for Astrophysics and Astrophysics, Pune.

2. Site Address     		 : Post Bag 4, Ganeshkhind, Pune University Campus, Pune - 411007

3. Description of work 	: Tender for Estate Management Services at IUCAA, Pune

4. Schedule of work  -  	 : The contract will be initially for a period of three months from October 1, 2014.  The contract will be further extended for a period of nine months, if the performance of the agency is found satisfactory.

5. Form of Contract        	: Estate Management Services

6. Bid Documents           	: Tender documents & General Conditions of contract, Scope of Work, Technical bid & Financial bid in hard copy is being issued with this tender documents.

7. Receipt of Bids:-

Bids should be submitted in sealed envelope marked as ‘Technical bid & Commercial bid’ separately for “Tender for Estate Management Services, at IUCAA, Pune” will be received up to 1500 hrs on 03/09/2014 and same will be opened at 1530 hrs on 03/09/2014

8. Earnest Money Deposit / Security Deposit:

EMD of Rs.1,00,000/- in the form of DD in favour of IUCAA from a nationalized bank should be submitted along with the Technical bid. The successful bidder can opt to adjust the EMD amount towards payment of Security Deposit. Security Deposit will be refunded only after completion of the contract period.

9. Acceptance / Rejection of Tenders :–

Tenders missing or with incorrect, inaccurate calculations or generally not complying with the conditions will be rejected. Tenderers must return back all documents issued to them as part of Tender documents. Each document must be stamped and signed as token of acceptance. If the original documents are not returned, the bid shall be summarily rejected. The tenderer must fill the “Technical Bid Form”  attached with tender documents. Tenderers should quote their rates with the totals both in figures & in words. The total of each page along with carried over figures of the previous page shall be given in ink and signed by the tenderer. No blank space shall be left. No over writing or cutting will be accepted. In such cases the quote will be rejected without any other consideration. No alterations, amendments or modifications shall be made by the tenderer in the Notice Inviting Tenders, Instructions to the Contractors, Contract Form, Conditions of the Contract and if any such alterations are made or any special conditions attached, the tender is liable to be rejected without reference to the tenderer. The acceptance of a tender shall rest with the Owner or its authorized representative who does not bind itself to accept the lowest tender and reserves to itself the right to reject any or all the tenders received without assigning any reason(s) whatsoever. Non acceptance of any tender shall not make the Owner liable for compensation or damages.

At any time prior to the Tender submission date, the Owner may, for any reason, whether on its own initiative or in response to a clarification requested by a tenderer amend the Tender documents by an Addendum (The “Addendum”) or issue Clarification memo.

The Addendum as well as clarification memo will be notified in writing to all Tenderers. Tenderers shall promptly acknowledge receipt thereof to the same person at the same address. Only amendments and clarifications to the Tender Documents made through Addendum or clarification memo will form part of the Tender Document.

10. If you have any questions /clarifications etc. it should be sent to administrative officer purchase on email (purchase@iucaa.ernet.in)

This notice inviting tender will form part of the tender document and the agreement executed by the successful tenderer.

Please note that there is an emphasis on completion of all works by the scheduled date of completion with strict adherence to quality and safety norms.

For further information or clarifications, the tenderer may contact the undersigned or IUCAA.

Kind regards,

Administrative Officer (Purchase)

Inter-University Centre for

Astronomy and Astrophysics,

Post Bag 4, Ganeshkhind,

Pune 411 007

Tel. (020) 25604100 / 25691414

Fax (020) 25604699

Documents to be attached along with technical bid:-

The following documents are required to be enclosed with Technical Bid :

Technical bid containing following documents ( Part –A) in sealed envelop.

- The original tender documents must return back all issued to them as part of Tender documents. Each document must be stamped and signed as token of acceptance. If the original documents are not returned, the bid shall be summarily rejected.

- An earnest money D.D. amounting to Rs.1,00,000/- drawn on nationalized bank only.

- Demand draft of Rs.2500/- towards tender cost in case of down loaded from our website. In case, tender documents purchased from IUCAA, a Xerox copy of payment receipt must be enclosed with technical bid.

- Relevant Registration certificate of the firm. ( Shop Act / Company registration )

- Minimum turnover of the firm whole should not less than Rs. 1,00,00,000/- ( One  Crore only) during the last financial year.

- Last three years continuous experience of the firm in the field of providing such services in Central Govt. establishment/Autonomous bodies of GOI/Corporation of GOI/Reputed Public or Private Organizations (Provide details in enclosed tabular form)

- Income Tax Return/Certified Balance Sheet of the firm for last three years of the service Contract.

- Duly certified copies of the satisfactory services where the tenderer is providing the service for the last three years.

- Employees EPF Registration Certificate

- Employees ESI Registration Certificate

- The contractor/agency must have a registration with the Contract Labour (Regulation and Abolition) Act, 1970. The contractor shall obtain the labour license under this act.

- No .of staff/supervisors registered under ESI & EPF separately. Documentary proof of such is required and may be attached.

- Service Tax Registration Certificate issued by the Government.

- Checklist of documents.

Financial bid containing following documents ( Part –B) in sealed envelope.

- Financial bid ( 3 pages ) with sign and seal.

Only those firms will be considered for financial bid who will qualify in the technical bid.

Note : The technical bids and financial bids may be submitted in separate envelops to be sealed and put in a main cover.

## CHECKLIIST OF DOCUMENTS SUBMITTED

| Sl. No. | Documents to be submitted | Submitted | Not Submitted | Remarks |
| --- | --- | --- | --- | --- |
| 1 | Details of EMD enclosed |  |  |  |
| 2 | Cost of bidding document/ Tender fees |  |  |  |
| 3 | Copy of Registration of firms |  |  |  |
| 4 | Copy of Registration Certificate of EPF |  |  |  |
| 5 | Copy of Registration Certificate of ESI |  |  |  |
| 6 | Copy of Labour license |  |  |  |
| 7 | Copy of Income Tax Return for last 3 years |  |  |  |
| 8 | Copy of Service Tax Registration |  |  |  |
| 9 | Copy of PAN/TAN Card |  |  |  |
| 10 | List of clients indicating quantum of work executed with them |  |  |  |
| 11 | Proof of experience |  |  |  |
| 12 | Last 3 years audited statement from Chartered Accountant |  |  |  |
| 13 | Rate quoted complies with the Minimum Wages Act. of Govt. of India (Central Govt) with all other statutory provisions |  |  |  |

##### APPENDIX TO FORM OF TENDER

##### SUMMARY OF COMMERCIAL TERMS

(Please refer Conditions of Contract for detailed explanation of Commercial Terms)

| Sr. No. | ITEM |  | DETAIL |
| --- | --- | --- | --- |
| 1 | Earnest Money |  | Rs. 1,00,000/- (Rupees One Lakh only) in the form of DD on Nationalised Bank in favour of Inter University Centre For Astronomy and Astrophysics payable at Pune in a separate sealed envelope. |
| 2 | Security Deposit |  | Rs.1,50,000/- by a DD on Nationalised Bank within 10 days of issue of LOI/WO. The EMD amount can be converted into Security deposit. |
| 3 | Contract Period |  | The contract will be initially for a period of three months from October 1, 2014. The contract will be further extended for a period of nine months, if the performance of the agency is found satisfactory. |
| 4 | Monthly bills |  | The agency shall submit bills once on 1st of every month. The Centre will make the payment within 10 days. All deductions due to the Centre shall be made from such bills. Statutory payment such as gratuity, bonus, leave with wages etc. will be paid as and when due and after submitting receipt/proof of payment made to the employees. |
| 5 | Deductions |  | Income tax as applicable will be deducted while making every payment. |
| 6 | Statutory dues |  | The agency shall submit the bills excluding the amount towards gratuity , bonus and leave with wages and the same will be reimbursed with the tender conditions clause no. |
| 7 | Minimum Amount of Third Party Insurance (CAR Insurance Policy) Contractors All Risk |  | Bodily injury and Property damage not less than Rs. 1,00,000/- (Rs. One Lakh only) in each accident at each job site and not less than Rs. 5,00,000/- (Rs. Five Lakh only) for all accidents at all job sites as per prevailing Laws. |
| 8 | Workman’s Compensation Insurance |  | As per prevailing Laws Contractor must have policy against this law. |
| 9 | ESI, PF & other regulatory rules & laws. |  | Contractor to cover his workers & staff under ESI & PF scheme and comply with local laws & statutes dealing with employment of persons Necessary reports to be submitted. |
| 10 | Government Taxes |  | Service tax will be reimbursed at the prevailing rates. |
| 11 | Minimum Wages Act |  | Payment of Wages and other conditions of employment of workers should be not inferior to as stipulated in the Minimum Wages Act. All formalities and procedures prescribed under the Contract Labour Act, Minimum Wages Act and other related acts should be strictly adhered to. Inter- University Centre for Astronomy and Astrophysics responsibility as Principle Employer should be fully protected. The necessary legal registers, forms, returns, and liaison with local (concerned authorities) etc. required as per the law are to be maintained by the contractor and should be available for inspection by the Inter-University Centre for Astronomy and Astrophysics at any time. The Agency will have its workers covered under ESI, PF and other Acts as applicable from time to time at its own cost. |
| 12 | Venue of Arbitration and Arbitrator |  | Pune. Sole Arbitrator i.e. The Director, Inter University Centre For Astronomy and Astrophysics, Pune. |
| 13 | Jurisdiction of Courts |  | Pune. |

TERMS AND CONDITIONS

A.   GENERAL CONDITIONS:

- The contract will be initially for a period of three months from October 1, 2014.  The contract will be further extended for a period of nine months, if the performance of the agency is found satisfactory. Either party can terminate the agreement during the operative period by giving one months notice in writing.

- The Centre, however, reserves the right to terminate the said contract at any time on the ground of ineffective services rendered by the agency. The Centre will be the sole judge to determine the facts.

- The agency should obtain the requisite licence for running the establishment from authorities such as municipalities, local authorities, state/central government departments, labour laws department, etc. at its own cost. The Centre shall not be responsible in any way for any breach of these rules and regulations by the agency.

- The agency shall be responsible for taking good care of all equipment. They will employ only those electricians and plumbers who have valid licence issued by appropriate authorities. The agency should employ qualified electrician. The agency will have to intimate the details of persons employed at the Centre along with a passport size photograph. The agency should establish a complaint Centre. One electrician with helper should be available round the clock and he must be able to rectify any electrical defect immediately (3 shifts namely 7am to 3pm, 3pm to 11pm,11pm to 7am with relievers as appropriately needed).

- The carpenter, mason, painter and helper should be available during the working hours (9 am to 5.30 am)

- Plumber with his helper should be available in all the three shifts.

- It will be the responsibility of the agency to store the materials purchased for it in a neat, tidy and hygienic manner, in the space provided by the Centre. The security of such materials will be the sole responsibility of the agency.

- On termination of the contract, the agency shall discontinue use of and hand over peaceful possession of the Centre’s premises together with fixtures and articles therein in good condition and undertake to return all materials/equipments etc. supplied by the Centre.

- The agency shall not transfer or assign to or share benefit of this agreement with any one else without the consent in writing of the Centre.

- The agency shall at all times keep the Centre effectually indemnified against all actions, suits, proceedings, losses, costs, damages, charges, claims and demands in any way arising out of or reason of anything done or omitted to be done by the agency.

- Any dispute arising out of the terms of this contract or in the interpretation of any clause herein shall be settled by mutual discussion between the nominated authorities of the Centre and the authorised representatives of the agency. The Director of Inter-University Centre for Astronomy and Astrophysics will be the last authority in resolving such disputes.

- The agency will cooperate with all other agencies at campus.

- None of the employees of the agency will have any right to various facilities offered by Inter-University Centre for Astronomy and Astrophysics to its staff and participants.

- All the material required for general maintenance of the electrical equipments will be made available by the Centre.

- The agency will have to draw the duplicate keys of all rooms, DB Rooms, Housing Electrical/HVAC Panel/Generator Set, Buildings, etc. as required for its functioning from the security gate after making entry in the appropriate register.

- The Centre reserves the right to reject any or all quotations without giving any reason.

- The Centre may increase or decrease the manpower with the mutual understanding with the agency.

- The agency should submit the copies of all registrations, licenses, code numbers and work orders of leading organizations for providing services.

B.   EMPLOYMENT OF SUPERVISOR/WORKERS:

- The payment of wages and other benefits to the employees of the agency shall be the EXCLUSIVE RESPONSIBILITY OF THIS AGENCY and persons so employed by the AGENCY shall have NO CLAIM whatsoever on the Centre.

- Payment of Wages and other conditions of employment of workers should be not inferior to as stipulated in the Minimum Wages Act. All formalities and procedures prescribed under the Contract Labour Act, Minimum Wages Act and other related acts should be strictly adhered to. Inter-University Centre for Astronomy and Astrophysics responsibility as Principle Employer should be fully protected. The necessary legal registers, forms, returns, and liaison with local (concerned authorities) etc. required as per the law are to be maintained by the contractor and should be available for inspection by the Inter-University Centre for Astronomy and Astrophysics at any time. The Agency will have its workers covered under ESI, PF and other Acts as applicable from time to time at its own cost.

- The employees engaged by the agency should observe the discipline and should see that the decency and decorum are maintained within the course of their employment.

- The agency should furnish a schedule every week.

- The agency shall employ under mentioned employees for rendering satisfactory services:

| Sr. No. | Workers | Requirement | Total |
| --- | --- | --- | --- |
| 1 | Electrician | 1 each in three shifts | 3.5 (including reliever) |
| 2 | Helpers for Sr.No 1 | 1 each in three shifts | 3.5 (including reliever) |
| 3 | Electrician | 1 in general shift | 1.5 (including reliever) |
| 4 | Helper for Sr. No. 3 | 1 in general shift | 1.5 (including reliever) |
| 5 | Plumber | 1 each in three shifts | 3.5 (including reliever) |
| 6 | Helper for Sr. No. 5 | 1 each in three shifts | 3.5 (including reliever) |
| 7 | Carpenter | 1 in general shift | 1 |
| 8 | Helper for Sr. 7 | 1 in general shift | 1 |
| 9 | Mason | 1 in general shift | 1 |
| 10 | Helper for Sr. 9 | 1 in general shift | 1 |
| 11 | Painter | 1 in general shift | 1 |
| 12 | Helper for Sr. No.11 | 1 in general shift | 1 |

- The Electrician should be well qualified and preferably ITI & NCTVT certificate holder and having adequate experience of handling UPS / 500 KVA D.G. set, Transformer 1000 KVA,  320 KVA, 2 Nos. of DG Sets, Pump houses, Telephone line work, EPABX system & Capacitor Panel and  L.T. control panels and Audio- Video equipments. Plumber and carpenter should also have ITI certificates/diploma with adequate experience.

- The Electrician on duty will work as supervisor on behalf of the agency and he will control the overall staff of the agency and he will be held responsible for the work assigned to them.

- All personnel employed by the agency shall be medically fit at the time of employment.

- The agency will provide its workers proper uniform including protective clothing for all seasons (Winter /Summer /Rainy) such as water-proof coats / Umbrellas,Gumboots / Shoes / chappals, Cap,Sweater and safety /shock proof shoes and gloves for electrician  at its own cost. Any employee found improperly dressed or unsatisfactory in performance would be asked to leave the premises. The agency will provide immediate replacement in such cases.

- In case of lapses on the part of its employees, suitable disciplinary action should be taken against them by the agency.

- The Centre shall accept no claim in the event of any of the agency’s employees sustaining any injury, damage or loss to either person or property either inside or outside the Centre’s premises. The agency will produce for verification insurance cover policy in this regard.

- The workers/staff of the agency will have nothing to do with Inter-University Centre for Astronomy and Astrophysics and shall have no presumptive right of absorption in the services of Inter-University Centre for Astronomy and Astrophysics. In order to give effect to this, the agency shall incorporate suitable clause in the appointment orders to be issued to its workers/staff.

- In case, the workers engaged by the agency have any grievances, they will take it up with the agency without creating any disturbance on the campus. Under no circumstances agitation means are to be resorted to by workers of the agency.

- The Centre will have a right to instruct the agency to replace any of its employees if the Centre considers him unsuitable for the task being undertaken by him.

- The Centre has a right to modify any of the conditions as and when required with the mutual understanding with the agency.

- The Centre will supply all spares/equipments/materials/items to the agency for maintenance and has a right to recover the amount from the agency towards the damages caused or loss of any items/equipments during the course of the contract or to impose the penalty in case of any lapses found on the part of agency or the persons employed by the agency.

- The agency will have to complete all the required formalities within 15 days from the award of the work order.

C.   SCOPE OF CONTRACT:

- The work shall consist of maintaining all types of plant, machinery including sub-station, A/C Plants, AHU’s, Auditorium and cables/street lights/ fans etc. in the entire Centre to avoid power failure. In case of power failure the same must be restored immediately.

- To keep liaison with local authorities like PWD, MSEDCL, PMC etc. for smooth functioning of the Centre.

- To liase with MSEDCL and arrange changeover of supply from Khadki to Aundh feeder and vice-versa, when supply of power is interrupted from one feeder.

- To maintain all documents required to be maintained by IUCAA as HT consumer.

- To maintain a register indicating the HT panel readings, UPS reading, Tap changer reading of 1000 KVA transformer.

- Pump house maintenance and daily check-up.

- Maintenance of electrical equipment in the housing colony.

- Repairs and maintenance of all electricity fittings and fixtures of the entire IUCAA complex.

- Filling of water in the radiator and oil in the D.G. Set and maintain the log book.

- Filling of diesel in tank and maintain the record of the diesel consumption.

- Maintenance of D.G. Sets and maintenance of batteries connected with the D.G. sets, UPS and EPABX. Maintenance of telephone cable and instruments.

- Repair and maintenance of water line/sewage line, storm water drains etc.

- To remove any choke up in any of the above supply system.

- To repair doors and windows as and when required.

- To repair & replace any fitting & fixtures to keep the water supply uninterrupted.

- For cable laying / repairing if required digging will be done through unskilled workers. Also work place and near by area should be kept clean and neat.

- The scope of the work may be enlarged or reduced by mutual consent between both the parties.

D. RATES / QUOTATION:

- Tenders should be submitted on the letterhead of the agency indicating the lump sum monthly charges and rates of items required by the Centre before 1500 hrs on 03rd September, 2014 and the same will be opened at 1530 hrs. on the same day.

- The quotation should explicitly state the number of Technicians/ Helpers to be employed including reliever, the emoluments and other facilities payable to its workers at all levels (pay + special pay, medical facilities, P.F., Gratuity, bonus, leave, etc. as shown in Annexure - A)               and the method of making such payments and making such facilities available. The contractor must attach copies of orders of appropriate Government authority detailing the rates based on which payments will be made to its workers and also indicate the service charges payable to the Agency by IUCAA.

- On award of work, the agency shall deposit with the Centre a security deposit of Rs.1,50,000/- (Rupees One Lakh Fifty Thousand Only), which shall bear no interest. This deposit shall be paid by way of demand draft. The Centre shall have the right to deduct out of the above deposit any amount, which the agency may become liable hereunder and shall refund the balance amount, if any, to the agency on the termination/completion of the terms of the contract.

- The agency shall submit bills once on 1st of every month. The Centre will make the payment within 10 days. All deductions due to the Centre shall be made from such bills. Statutory payment such as gratuity, bonus, leave with wages etc. will be paid as and when due and after submitting receipt/proof of payment made to the employees.

- Income Tax as applicable will be deducted at source while making every payment.

- A list of the establishments (with their address, name of the contact person and telephone numbers) where the agency is presently rendering its services/has rendered its services in the last 2 years  along with the performance certificate issued by such establishments and a copy of the contracts with such establishments must be enclosed with the quotation. Quotations without this information will be summarily rejected.

- This tender document is also available on our website http://www.iucaa.ernet.in/tenders. Those using the downloaded version must submit a Demand Draft of Rs.2500/- per tender document, drawn on a nationalised bank only in favour of “IUCAA”, along with their bids. Downloaded versions of the tender documents not accompanied by Demand Draft(s) will be summarily rejected.

- Please note that quoting the lowest is not the criteria for selecting the Agency. It shall be based on the qualification, experience of the technician’s and performance of the Agency.

The agency will be selected based on the following method:

- Technical evaluation of Proposals : On the first stage, the technical proposal will be evaluated on the basis of the documents submitted, experience of staff & qualification,   total strength (Supervisor + Guard), feedback from  the earlier users, confidential reports of the agency, financial soundness of the agency &  site visit etc.,

Only those applicants whose technical proposal scores 70 points or more out of 100 shall be ranked as per the score achieved by them from highest to the lowest technical score.

- Financial evaluation of proposals : In the second stage the financial evaluation will be carried out based on basic cost, additional cost, service charges of the agency, other charges etc.,

The authority will determine whether the financial proposals are complete, unqualified and unconditional.  The cost indicated the financial proposals shall be deemed as final and reflecting the total cost of services. Omission or mistake in calculation of obligatory payments such as ESI, PF, HRA, LWF etc will be disqualified.

- Combined and final evaluation:  Proposal will finally be ranked according to Technical Proposal and Financial Proposal.

____________________

FORM -I

# ( To be printed on letterhead )

# Undertaking

1.	I,  ____________________________________________   son/ daughter/ wife of Shri.

______________________________________________________________________

Proprietor/ Director/authorized signatory of the Company/Firm mentioned above, is competent to sign this declaration and execute this tender document.

- I have carefully read and understood all the terms and conditions of the tender and undertake to abide to them.

- The information/documents furnished along with the above tender form are true and authentic to the best of my knowledge and belief. I am well aware of the fact that furnishing of any false information/ fabricated document would lead to rejection of my tender at any stage besides liabilities towards prosecution under appropriate law.

Place : Pune                                                                                          Authorised Signotory

Sign and seal

Date

FORM -II

# ( To be printed on letterhead )

DECLARATION

Declaration letter on official letterhead stating the following:

- We are not involved in any major litigation that may have an impact of affecting or compromising the delivery of services as required under this tender.

- We are not black-listed by any Central/State Government/Public Sector Undertaking in India.

## Yours faithfully,

(Signature of the Authorized person)

Date:	Name:

Place:	Designation:

Seal:

FORM -III

# ( To be printed on letterhead )

## EMD refund request form

To

Administrative Officer (Purchase)

Inter-University Centre for Astronomy & Astrophysics

Post bag -4, Ganeshkhind,

Pune University Campus,

Pune -  411007.

## Sub :- Request for refund of EMD deposited for tender for Estate Management Services due On 3rd September,  2014.

Sir,

I/We request you that EMD deposited by me/us against the tender above tender due on                      3rd September, 2014 vide DD No                      dated                     for Rs.1,00,000/- for providing Estate Management  services at  IUCAA, Pune  may kindly be refunded.

Yours faithfully,

For M/s

(Signature & Seal)